## Table 12
| Utility | X | Notes:
| Table No. | 12 | Risk-Spend-Efficiency (RSE) is defined as "An estimate of the cost-effectiveness of initiative, calculated by dividing the mitigation risk reduction benefit by the mitigation cost estimate based on the full set of risk reduction benefits estimated from the incurred costs."
| Date Modified |  | CAPEX = Capital expenditure; OPEX = Operating expenditure. In future submissions update planned spend, line miles treated, RSE, etc. with updated projections and actuals. Additional instructions can be found in QR information.
[24 empty] | Actual | Actual | Actual | Actual | Projected | Projected | Projected | Projected | Projected | Projected | Projected | Projected
| Table 12: Mitigation initiative financials |  |  |  | Does PacifiCorp have a program that addresses this initative? |  | Does PacifiCorp anticipate devleoping a program that addresses this initiative? |  | Spend Aggregation | [13 empty] | 7 | CAPEX ($ thousands) | OPEX ($ thousands) | Line miles to be treated | Alternative units (if used) | CAPEX ($ thousands) | OPEX ($ thousands) | Line miles to be treated | Alternative units (if used) | CAPEX ($ thousands) | OPEX ($ thousands) | Line miles to be treated | Alternative units (if used)
| Metric type | WMP Table # / Category | WMP Initiative # | Initiative activity | Yes/No | If yes, where in the WMP is this addressed? (initative ID (e.g., A, B, etc.) and p. #) | Yes/ Exploring Possibility/ No | If so, when? (Quarter and Year) | List all intitative IDs included in spend aggregation (orange cells) | Primary driver targeted | Secondary driver targeted | Year initiated | Estimated RSE in non-HFTD region | Estimated RSE in HFTD Zone 1 | Estimated RSE in HFTD Tier 2 | Estimated RSE in HFTD Tier 3 | If existing: most recent proceeding that has reviewed program | If new: memorandum account | Current compliance status - In / exceeding compliance with regulations | Associated rule(s) - if multiple, separate by semi-colon - ";" | If spend not disaggregated by category, note spend category or mark general operations | Alternative units in which initiative is reported (if not line miles); still required to report line miles | Comments | 2020 | 2020 | 2020 | 2020 | 2021 | 2021 | 2021 | 2021 | 2022 | 2022 | 2022 | 2022
1 | Other | Risk Assessment & Mapping | 7.3.1.1. | A summarized risk map that shows the overall ignition probability and estimated wildfire consequence along the electric lines and equipment | [19 empty] | 0 | 186000 | 0 | 0 | 0 | 186000 | 0 | 0 | 0 | 186000 | 0 | 0
2 | Other | Risk Assessment & Mapping | 7.3.1.2. | Climate-driven risk map and modelling based on various relevant weather scenarios | [19 empty] | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3 | Other | Risk Assessment & Mapping | 7.3.1.3. | Ignition probability mapping showing the probability of ignition along the electric lines and equipment | [19 empty] | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
4 | Other | Risk Assessment & Mapping | 7.3.1.4. | Initiative mapping and estimation of wildfire and PSPS risk-reduction impact | [19 empty] | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
5 | Other | Risk Assessment & Mapping | 7.3.1.5. | Match drop simulations showing the potential wildfire consequence of ignitions that occur along the electric lines and equipment | [18 empty] | not financial: roll costs from 5.3.1.6 into this activiity
6 | Other | Situational Awareness & Forecasting | 7.3.2.1. | Advanced weather monitoring and weather stations | [18 empty] | Includes installation of new (CAPEX)as well as annual calibration and maintenance of existing (OPEX) | 170217.63 | 43797 |  | 9 | 190000 | 43200 |  | 20 | 220000 | 75600 | 14
7 | Other | Situational Awareness & Forecasting | 7.3.2.2. | Continuous monitoring sensors | [22 empty] | 10 |  |  |  | 22 |  |  |  | 14
8 | Other | Situational Awareness & Forecasting | 7.3.2.3. | Fault indicators for detecting faults on electric lines and equipment | [18 empty] | Capital
9 | Other | Situational Awareness & Forecasting | 7.3.2.4. | Forecast of a fire risk index, fire potential index, or similar | [19 empty] | 0
10 | Other | Situational Awareness & Forecasting | 7.3.2.5. | Personnel monitoring areas of electric lines and equipment in elevated fire risk conditions | [19 empty] | 0 | 975913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Other | Situational Awareness & Forecasting | 7.3.2.6. | Weather forecasting and estimating impacts on electric lines and equipment | [18 empty] | REAX | 0 | 19196 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
12 | Grid hardening | Grid Design & System Hardening | 7.3.3.1. | Capacitor maintenance and replacement program | [5 empty] | Equipment failure | Equipment failure | 2019 |  |  |  |  | 2019 GRC | Not new - Standard Operation | Meets | GO95; GO165 | Detailed inspections of distribution electric lines and equipment |  | This is a components of the detailed inspection program
13 | Grid hardening | Grid Design & System Hardening | 7.3.3.2. | Circuit breaker maintenance and installation to de-energize lines upon detecting a fault | [5 empty] | Contact with vegetation | Other contact with object | 2019 |  |  |  |  | 2019 GRC | Not new - Standard Operation | Meets | GO95 |  |  | This is part of the company's standard breaker inspection and maintenance programs - UNITS are breakers | 52 | 96 | NA | 137 | 288 | 144 | NA | 137 | 258 | 144 | NA | 137
14 | Grid hardening | Grid Design & System Hardening | 7.3.3.3. | Covered conductor installation | [19 empty] | 4324197 |  | 1.4 | 1.4 | 15014206 |  | 81.22 |  | 11580000 |  | 49.75
15 | Grid hardening | Grid Design & System Hardening | 7.3.3.4. | Covered conductor maintenance | [18 empty] | none
16 | Grid hardening | Grid Design & System Hardening | 7.3.3.5. | Crossarm maintenance, repair, and replacement | [18 empty] | This is only activity reclassed from expense to capital. Crossarms replaced as part of other capital work are not reflected here. | 272000 | 0 | 0 | 136 | 272000 | 0 | 0 | 136 | 272000 | 0 | 0 | 136
17 | Grid hardening | Grid Design & System Hardening | 7.3.3.6. | Distribution pole replacement and reinforcement, including with composite poles | [5 empty] | Contact with vegetation | Other contact with object | [11 empty] | Proactive Stand-Alone Pole Replacment Program (Augmented Operations - capital) | 244441 |  |  | 29 | 1897513 |  |  | 128 | 2950779 |  |  | 272
18 | Grid hardening | Grid Design & System Hardening | 7.3.3.7. | Expulsion fuse replacement | [18 empty] | Program being done on new and replacement projects
19 | Grid hardening | Grid Design & System Hardening | 7.3.3.8. | Grid topology improvements to mitigate or reduce PSPS events | [5 empty] | PSPS - for sectionalization, etc. | PSPS - for sectionalization, etc. | 2021 |  |  |  |  | 2020 WMP | 2019 WMP Memorandum Account | Exceeds |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
20 | Grid hardening | Grid Design & System Hardening | 7.3.3.9. | Installation of system automation equipment | [19 empty] | 3947681 |  |  | 28 | 2062125 |  |  | 27 | 500000.001 |  |  | 3
21 | Grid hardening | Grid Design & System Hardening | 7.3.3.10. | Maintenance, repair, and replacement of connectors, including hotline clamps | [18 empty] | not incremental
22 | Grid hardening | Grid Design & System Hardening | 7.3.3.11. | Mitigation of impact on customers and other residents affected during PSPS event | [18 empty] | not financial
23 | Grid hardening | Grid Design & System Hardening | 7.3.3.12. | Other corrective action | [18 empty] | Units reflect scope; Work in 2021-2022 is coincident with covered conductor program so no incremental costs will be incurred. Incremental costs possible in 2023. | 0 | 0 | 0 | 0 | 0 | 0 | 3.78 | 0 | 0 | 0 | 2.65 | 0
24 | Grid hardening | Grid Design & System Hardening | 7.3.3.13. | Pole loading infrastructure hardening and replacement program based on pole loading assessment program | [5 empty] | Contact with vegetation | Other contact with object | 2020 |  |  |  |  | 2020 WMP | 2019 WMP Memorandum Account | Exceeds |  |  |  | Pilot project still under evaluation. Future expansion TBD but likely in 2021/2022. | 0 | 0 | 0 | NA | 100 | 0 | 23 | NA | 250 | 0 | 50 | NA
25 | Grid hardening | Grid Design & System Hardening | 7.3.3.14. | Transformers maintenance and replacement | [5 empty] | Equipment failure | Equipment failure | 2019 |  |  |  |  | 2019 GRC | Not new - Standard Operation | Meets | GO95; GO165 | Detailed inspections of distribution electric lines and equipment |  | This is a component of the company's detailed inspection program
26 | Grid hardening | Grid Design & System Hardening | 7.3.3.15. | Transmission tower maintenance and replacement | [5 empty] | Equipment failure | Equipment failure | 2019 |  |  |  |  | 2019 GRC | Not new - Standard Operation | Meets | GO95; GO165 | Detailed inspections of transmission electric lines and equipment
27 | Grid hardening | Grid Design & System Hardening | 7.3.3.16. | Undergrounding of electric lines and/or equipment | [18 empty] | capital
28 | Grid hardening | Grid Design & System Hardening | 7.3.3.17. | Updates to grid topology to minimize risk of ignition in HFTDs | [18 empty] | not financial
29 | Asset inspection | Asset Management & Inspections | 7.3.4.1. | Detailed inspections of distribution electric lines and equipment | [19 empty] | 0 | 211332 | 0 | 10155 | 0 | 167848 | 0 | 9213 | 0 | 190000 | 0 | 9500
30 | Asset inspection | Asset Management & Inspections | 7.3.4.2. | Detailed inspections of transmission electric lines and equipment | [19 empty] | 0 | 51007 | 0 | 1188 | 0 | 27808 | 0 | 666 | 0 | 50000 | 0 | 1188
31 | Asset inspection | Asset Management & Inspections | 7.3.4.3. | Improvement of inspections | [18 empty] | not financial
32 | Asset inspection | Asset Management & Inspections | 7.3.4.4. | Infrared inspections of distribution electric lines and equipment | [18 empty] | expense
33 | Asset inspection | Asset Management & Inspections | 7.3.4.5. | Infrared inspections of transmission electric lines and equipment | [5 empty] | Equipment failure | Contact with vegetation | 2019 |  |  |  |  | 2020 WMP | 2019 WMP Memorandum Account | Exceeds |  |  |  | Pilot Project Continuation | 0 | 167 | 866 | NA | 0 | 80 | 700 | NA | 0 | 80 | 700 | NA
34 | Asset inspection | Asset Management & Inspections | 7.3.4.6. | Intrusive pole inspections | [19 empty] | 0 | 109006 | 0 | 3208 | 0 | 149968 | 0 | 2668 | 0 | 110000 | 0 | 3245
35 | Asset inspection | Asset Management & Inspections | 7.3.4.7. | LiDAR inspections of distribution electric lines and equipment | [18 empty] | CA DIST LIDAR MAP VEG CLEARANCE | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
36 | Asset inspection | Asset Management & Inspections | 7.3.4.8. | LiDAR inspections of transmission electric lines and equipment | [18 empty] | CA XMSN LIDAR MAP VEG CLEARANCE | 0 | 9274 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
37 | Asset inspection | Asset Management & Inspections | 7.3.4.9. | Other discretionary inspection of distribution electric lines and equipment, beyond inspections mandated by rules and regulations | [18 empty] | ?
38 | Asset inspection | Asset Management & Inspections | 7.3.4.10. | Other discretionary inspection of transmission electric lines and | [18 empty] | ?
39 | Asset inspection | Asset Management & Inspections | 7.3.4.11. | Patrol inspections of distribution electric lines and equipment | [19 empty] | 0 | 181456 | 0 | 46281 | 0 | 247149 | 0 | 50603 | 0 | 185000 | 0 | 46281
40 | Asset inspection | Asset Management & Inspections | 7.3.4.12. | Patrol inspections of transmission electric lines and equipment | [19 empty] | 0 | 77286 | 0 | 1654 | 0 | 3465 | 0 | 98 | 0 | 75000 | 0 | 1654
41 | Asset inspection | Asset Management & Inspections | 7.3.4.13. | Pole loading assessment program to determine safety factor | [18 empty] | ?
42 | Asset inspection | Asset Management & Inspections | 7.3.4.14. | Quality assurance / quality control of inspections | [5 empty] | Equipment failure | Contact with vegetation | 2019 |  |  |  |  | 2019 GRC | Not new - Standard Operation | Meets - Enables Compliance with Regulation | GO95; GO165 |  |  | Standard QA/QC process improvement | 0 | 36 |  |  | 0 | 36 |  | 11485 | 0 | 36
43 | Asset inspection | Asset Management & Inspections | 7.3.4.15. | Substation inspections | [18 empty] | Distribution and transmission | 0 | 163090 | 0 | 444 | 0 | 163544 | 0 | 444 | 0 | 165000 | 0 | 444
44 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.1. | Additional efforts to manage community and environmental impacts | [18 empty] | General Operations | 0 | 0 |  |  | 0 |  |  |  | 0
45 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.2. | Detailed inspections of vegetation around distribution electric lines and equipment | [14 empty] | In compliance | GO 95; GO 174 |  |  | General operations | 0 |  | 909 |  | 0 | 293679 | 1380 |  | 0 | 300000 | 1157
46 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.3. | Detailed inspections of vegetation around transmission electric lines and equipment | [14 empty] | In compliance | GO 95; GO 174 |  |  | General operations | 0 |  | 185 |  | 0 | 0 | 181 |  | 0 | 0
47 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.4. | Emergency response vegetation management due to red flag warning or other urgent conditions | [18 empty] | General operations expense
48 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.5. | Fuel management and reduction of “slash” from vegetation management activities | [5 empty] | Equipment failure |  | 2019 | [6 empty] | Exceeding compliance | PRC 4292 |  |  | Alternative unit is #poles cleared | 0 | 0 |  | 2164 | 0 |  |  | 3047 | 0 |  |  | 3047
49 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.6. | Improvement of inspections | [18 empty] | Implemented process to ensure completion of activity milestones are completed and documented. Documentation includes work released and accepted by contractor, work completed and signed off by contractor, and audti findings have been addressed. | 0 | 0 |  |  | 0 |  |  |  | 0
50 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.7. | LiDAR inspections of vegetation around distribution electric lines and equipment | [18 empty] | General operations same as 5.3.4.7
51 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.8. | LiDAR inspections of vegetation around transmission electric lines and equipment | [18 empty] | General opertations same as 5.3.4.8
52 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.9. | Other discretionary inspections of vegetation around distribution electric lines and equipment | [18 empty] | ?
53 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.10. | Other discretionary inspections of vegetation around transmission electric lines and equipment | [18 empty] | ?
54 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.11. | Patrol inspections of vegetation around distribution electric lines and equipment | [5 empty] | Contact with vegetation |  | 2019 |  |  |  |  | 2020 WMP | [5 empty] | Annual inspection prior to fire season. This is incremental. not incremental |  | 299450 | 784 |  |  |  | 1369 |  |  |  | 1369
55 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.12. | Patrol inspections of vegetation around transmission electric lines and equipment | [5 empty] | Contact with vegetation |  | 2019 |  |  |  |  | 2020 WMP | [5 empty] | Annual inspection prior to fire season. This is incremental. not incremental |  |  | 323 |  |  |  | 348 |  |  |  | 348
56 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.13. | Quality assurance / quality control of vegetation inspections | [5 empty] | Contact with vegetation |  | 2019 |  |  |  |  | 2020 WMP | [5 empty] | Audits of annual corrective work conducted prior to fire season incremental to program audits | 0 | 0 | 1107 |  | 0 |  | 1717 |  | 0 |  | 1717
57 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.14. | Recruiting and training of vegetation management personnel | [18 empty] | General operations not financial
58 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.15. | Remediation of at-risk species | [18 empty] | General operations not incremental
59 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.16. | Removal and remediation of trees with strike potential to electric lines and equipment | [18 empty] | General operations not incremental
60 | Vegetation inspection | Vegetation Management & Inspections | 7.3.5.17. | Substation inspection | [18 empty] | General operations not incremental
61 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.18. | Substation vegetation management | [18 empty] | General operations not incremental
62 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.19. | Vegetation inventory system | [18 empty] | ?
63 | Vegetation management project | Vegetation Management & Inspections | 7.3.5.20 | Vegetation management to achieve clearances around electric lines and equipment | [19 empty] | 0 | 6699302 |  |  | 0 | 6561237 |  |  | 0 | 6600000
65 | Other | Grid Operations & Operating Protocols | 7.3.6.1. | Automatic recloser operations | [18 empty] | Costs are captured within the overall PSPS event order structure
67 | Other | Grid Operations & Operating Protocols | 7.3.6.2. | Crew-accompanying ignition prevention and suppression resources and services | [18 empty] | ?
68 | Other | Grid Operations & Operating Protocols | 7.3.6.3. | Personnel work procedures and training in conditions of elevated fire risk | [18 empty] | Costs are captured within the overall PSPS event order structure
69 | Other | Grid Operations & Operating Protocols | 7.3.6.4. | Protocols for PSPS re-energization | [18 empty] | Costs are captured within the overall PSPS event order structure
70 | Other | Grid Operations & Operating Protocols | 7.3.6.5. | PSPS events and mitigation of PSPS impacts | [18 empty] | expense
71 | Other | Grid Operations & Operating Protocols | 7.3.6.6. | Stationed and on-call ignition prevention and suppression resources and services | [18 empty] | Costs are captured within the overall PSPS event order structure | [11 empty] | 0
71 | Other | Data Governance | 7.3.7.1. | Centralized repository for data | [19 empty] | 0 | 181000 | 0 | 0 | 0 | 181000 | 0 | 0 | 0 | 181000 | 0 | 0
72 | Other | Data Governance | 7.3.7.2. | Collaborative research on utility ignition and/or wildfire | [19 empty] | 0 | 0 | 0 | 0 | 0 | 45250 | 0 | 0 | 0 | 45250 | 0 | 0
73 | Other | Data Governance | 7.3.7.3. | Documentation and disclosure of wildfire-related data and algorithms | [19 empty] | 0 | 0 | 0 | 0 | 0 | 45250 | 0 | 0 | 0 | 45250 | 0 | 0
74 | Other | Data Governance | 7.3.7.4. | Tracking and analysis of near miss data | [19 empty] | 0 | 0 | 0 | 0 | 0 | 45250 | 0 | 0 | 0 | 45250 | 0
80 | Other | Resource Allocation Methodology | 7.3.8.1. | Allocation methodology development and application | [18 empty] | ?
81 | Other | Resource Allocation Methodology | 7.3.8.2. | Risk reduction scenario development and analysis | [18 empty] | ?
82 | Other | Resource Allocation Methodology | 7.3.8.3. | Risk spend efficiency analysis | [18 empty] | ?
90 | Other | Emergency Planning & Preparedness | 7.3.9.1. | Adequate and trained workforce for service restoration
91 | Other | Emergency Planning & Preparedness | 7.3.9.2. | Community outreach, public awareness, and communications efforts
92 | Other | Emergency Planning & Preparedness | 7.3.9.3 | Customer support in emergencies
93 | Other | Emergency Planning & Preparedness | 7.3.9.4. | Disaster and emergency preparedness plan
94 | Other | Emergency Planning & Preparedness | 7.3.9.5. | Preparedness and planning for service restoration
95 | Other | Emergency Planning & Preparedness | 7.3.9.6. | Protocols in place to learn from wildfire events
101 | Other | Stakeholder Cooperation & Community Engagement | 7.3.10.1 | Community engagement | [20 empty] | 36474 |  |  |  | 72948 |  |  |  | 72948 |  | 0
102 | Other | Stakeholder Cooperation & Community Engagement | 7.3.10.2 | Cooperation and best practice sharing with agencies outside CA | [19 empty] | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0
103 | Other | Stakeholder Cooperation & Community Engagement | 7.3.10.3 | Cooperation with suppression agencies
104 | Other | Stakeholder Cooperation & Community Engagement | 7.3.10.4 | Forest service and fuel reduction cooperation and joint roadmap | [5 empty] | Contact with vegetation | [12 empty] | There are no planned fuels reduction projects with USFS. | 0 | 0 |  |  | 0 |  |  |  | 0