## Sheet1
Data request for | PacifiCorp
Date sent | 2020-03-13
Response requested by | 2020-03-18
Should you need clarification on this data request, please contact Ryan Arba (ryan.arba@cpuc.ca.gov)
This data request shall be completed according to the process outlined in Resolution WSD 001. In particular: 1. Any discovery or data requests and responses shall be posted on the responding electrical corporation’s website in an easy to follow format that identifies what the discovery was about, what the responses were about, and links to any documents produced. The electrical corporations shall update the website weekly, with an e-mail to the service list of R.18-10-007 with the relevant link and discussion of what is new on the website. The website (or portion of webpage) shall be labeled “2020 Wildfire Mitigation Plan Discovery/Data requests” for each electrical corporation. 2. Electrical corporations must copy any data requests received from or responses to Commission staff to the e-mail address wildfiresafetydivision@cpuc.ca.gov. Requests from staff to the electrical corporations may also come from this address or from individual e-mail addresses. 3. Each electrical corporation shall send to wildfiresafetydivision@cpuc.ca.gov the name of their single point of contact for all data requests and response matters for Commission staff use. 4. Electrical corporations must respond to all data and discovery requests within 3 business days of the request. Both requests and responses shall be sent by e-mail. Exceptions to the 3-business-day requirement will require a letter to the Division Director and a strong showing of the specific reason for the delay. In your response to each data request please specify the relevant item index being responded to, found here in column B. 5. Parties conducting discovery must first analyze the significant data that will be submitted with 2020 WMPs along with the Supplemental Data Request.2 Entities submitting data requests should avoid submissions where such information is contained in the electrical corporations’ WMP filings. 6. All documents the electrical corporation references in its WMP plans shall be collected on the above website in an easy to follow format, with notice to the service list of the location of such documents. This will be in addition to the posting of WMPs on the Commission’s website as required by Pub. Util. Code § 8386(d).
A. Item Index [For CPUC tracking purposes. Please reference this item index with the response provided.] | C. Relevant section of WMP (if applicable) | D. Relevant question in Maturity Survey (if applicable) | E. Relevant meeting or call (if applicable) | F. Specific Data request | G. Format in which the data is to be provided
PC-43900-Z -651 | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Regarding requests PC-43879-Z -253, PC-43879-Z -260, and PC-43879-Z -261, submit equipment age information in whatever formats are available. Despite not being readily available in a GIS format, it would still be useful to have. | GIS file
PC-43900-Z -652 | 6.1: Recent weather patterns | NA | NA | Regarding request PC-43879-Z -267, are direction values provided in any fields of the wind layers? | GIS file
PC-43900-Z -653 | 6.2: Recent drivers of ignitions | NA | NA | In future ignitions data submissions (later in 2020 and 2021 and beyond), include fully spelled-out values for various fields instead of numerical codes. | GIS file
PC-43900-Z -654 | NA | NA | NA | Submit data for circuit risk levels for all transmission lines and distribution lines. | GIS file
PC-43900-Z -655 | Various | NA | NA | Submit locations for near misses (areas where damage and/or faults nearly caused a fire). | GIS file
PC-43900-Z -656 | Various | NA | NA | Submit locations of asset faults. | GIS file
PC-43900-Z -657 | 5.3.5 | NA | NA | Submit locations of vegetation projects (completed in the last 5 years and planned for the future). | GIS file
PC-43900-Z -658 | 5.3.5 | NA | NA | Submit vegetation risk index data as attributes associated with transmission and distribution lines. | GIS file
PC-43900-Z -659 | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit line data showing the current locations of covered conductors. | GIS file
PC-43900-Z -660 | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit additional asset data (fuses, reclosers, splices, transformers, capacitor banks, etc.) beyond what was previously shared and include full field values. The CPUC and CAL FIRE are sensitive to confidentiality concerns, and we are asking for confidential data if that is what is needed to provide available GIS data for all assets. Various other IOUs submitted confidential data as part of their 2020 WMP submissions. The data are intended to be used for internal agency purposes, and we can further discuss confidentiality concerns in the future. Not all data submitted as part of the WMP process are expected to be available to the public or posted online. | GIS file
PC-43900-Z -661 | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit existing non-spatial age data for assets.
PC-43900-Z -662 | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit any remaining data (not previously submitted) for circuit risk levels (including vegetation risk index data) for all transmission lines and distribution lines | GIS file
PC-43900-​I-685 | 5.3.5 | NA | NA | Provide the current versions of all procedures and bulletins relating to enhanced vegetation management or vegetation management practices for both distribution and transmission facilities in relation to wildfire mitigation, including (but not limited to) PacifiCorp’s Transmission & Distribution Vegetation Management Program Standard Operating Procedures. | Narrative
PC-43900-​I-686 | 5.3.5 | NA | NA | In section 5.3.5 on page 212, PacifiCorp states that “In areas without an elevated risk, regular vegetation management work on any particular circuit is done every two years”. In this instance, does PacifiCorp mean “elevated risk” to mean within a HFTD? What else would qualify as an “elevated risk”? | Narrative
PC-43900-​I-687 | 5.3.5 | NA | NA | In section 5.3.5 on page 212, PacifiCorp states that “wider rights-of-way allow PacifiCorp to generally maintain clearances well in excess of the Minimum Vegetation Clearance Distance (MVCD)”. What “wider rights-of-way” does PacifiCorp maintain (i.e. what distances does PacifiCorp follow for such clearances)? | Narrative
PC-43900-​I-688 | 5.3.5 | NA | NA | In section 5.3.5 on page 212, PacifiCorp states that VM work for transmission lines is “scheduled on an as-needed basis.” Provide all procedures PacifiCorp uses in determining whether or not VM transmission work is needed. | Narrative
PC-43900-​I-689 | 5.3.5 | NA | NA | In section 5.3.5 on page 213, PacifiCorp states that VM crews “receive training related to fire prevention and suppression.” Provide all materials used for such training. | Narrative
PC-43900-​I-690 | 5.3.5 | NA | NA | Provide all procedures PacifiCorp has regarding IVM, as discussed on pages 212 and 213 in section 5.3.5. | Narrative
PC-43900-​I-691 | 5.3.5 | NA | NA | Provide all of the “Many other strategies and tactics described in the Standard Operating Procedures” that support reduction of vegetation-related faults, as discussed in section 5.3.5 on page 213. | Narrative
PC-43900-​I-692 | 5.3.5 | NA | NA | Provide a list of all dates in which the VM Standard Operating Procedures, as discussed in section 5.3.5, have been revised | Narrative
PC-43900-​I-693 | 5.3.5 | NA | NA | Provide a description of all of the revisions completed for Revision 07 to the Standard Operating Procedures, as discussed in section 5.3.5. | Narrative
PC-43900-​I-694 | 5.3.5 | NA | NA | 10) In section 5.3.5 on page 213, PacifiCorp states that it “has implemented other new elements to its vegetation management program. Along these lines, PacifiCorp performed specific wildfire mitigation projects in 2018 and 2019.” a. List all “other new elements” PacifiCorp implemented to its VM program. b. Describe how any such elements exceed current regulations. c. Provide a list of all “specific wildfire mitigation projects” relating to VM performed in 2018 and 2019 respectively. | Narrative
PC-43900-​I-695 | 5.3.5 | NA | NA | Provide a list of all vegetation management related permits PacifiCorp received in 2018 and 2019, including dates and participating entities. | Narrative
PC-43900-​I-696 | 5.3.5 | NA | NA | Provide a list with dates and participants of all “Annual meetings” that PacifiCorp “held with some agencies to enhance communication” regarding vegetation management work in 2018 to 2020, as described on pages 213 to 214 in section 5.3.5. | Narrative
PC-43900-​I-697 | 5.3.5 | NA | NA | Provide the MOU on Vegetation Management for Powerline Rights-of-Way, as described on page 214 in section 5.3.5. Has the MOU changed at all as a result of new vegetation management efforts for the WMP? | Narrative
PC-43900-​I-698 | 5.3.5 | NA | NA | 14) In section 5.3.5 on page 215, PacifiCorp states that it “anticipates completion of an O&M Plan with the Klamath National Forest by end of year, 2020.” a. Is PacifiCorp planning on using the same O&M Plan for other agencies? b. Provide a list of all other agencies either working in collaboration on this O&M Plan, or in which PacifiCorp is developing an O&M Plan. c. How does this O&M Plan differ from the Standard Operating Procedures? d. Will the O&M Plan replace, supplement, or cause need to revise the Standard Operating Procedures? | Narrative
PC-43900-​I-699 | 5.3.5 | NA | NA | How is PacifiCorp performing community outreach regarding vegetation management? | Narrative
PC-43900-​I-700 | 5.3.5 | NA | NA | Hoe does PacifiCorp track engagement and input from the community regarding vegetation management practices? | Narrative
PC-43900-​I-701 | 5.3.5 | NA | NA | Provide all procedures relating to a Level 1 and Level 2 assessment, as described in section 5.3.5.2 on page 217. | Narrative
PC-43900-​I-702 | 5.3.5 | NA | NA | How does PacifiCorp define an “Action Threshold”? Provide all procedures relating to determining such. | Narrative
PC-43900-​I-703 | 5.3.5 | NA | NA | In section 5.3.5.3 under the “Prioritization Approach,” PacifiCorp includes “New inspection elements focused on HFTD locations.” Describe what this entails. | Narrative
PC-43900-​I-704 | 5.3.5 | NA | NA | How and what is PacifiCorp tracking to demonstrate effectiveness of the detailed inspections outlined in 5.3.5.2 and 5.3.5.3? | Narrative
PC-43900-​I-705 | 5.3.5 | NA | NA | In section 5.3.5.4 on page 223, PacifiCorp stats that “vegetation management is involved to support the emergency event, generally performing additional inspections and vegetation management or clearing activity with qualified personnel and crews as required by operations.” a. Provide all procedures relating to such involvement. b. Provide all examples of such work performed by PacifiCorp in 2019. c. How does PacifiCorp determine what work will be completed during these times? d. How does PacifiCorp allocate crews and staff to be available or on-standby for such events? | Narrative
PC-43900-​I-706 | 5.3.5 | NA | NA | Is PacifiCorp intending to develop specific Emergency response vegetation management, as described in section 5.3.5.4 on page 223? If so, what is the timeline for that? | Narrative
PC-43900-​I-707 | 5.3.5 | NA | NA | How does PacifiCorp dispose of slash properly? Provide all supporting procedures. Does PacifiCorp currently have any coordination with other entities or agencies for such work? | Narrative
PC-43900-​I-708 | 5.3.5 | NA | NA | What fuel reduction activities adjacent to or within their corridors or around infrastructure does PacifiCorp perform? Provide all such procedures. | Narrative
PC-43900-​I-709 | 5.3.5 | NA | NA | Provide the analysis performed on the 2018 pilot trials discussed on page 225 in section 5.3.5.6 to determine effectiveness of PacifiCorp’s VM program, and discuss how the pilot was different from PacifiCorp's practices and procedures before. | Narrative
PC-43900-​I-710 | 5.3.5 | NA | NA | Regarding page 225 in section 5.3.5.6, what “minimum ending distances applicable to distribution cycle work completed in the HFTD” did PacifiCorp have before and after increasing it as part of the VM program? | Narrative
PC-43900-​I-711 | 5.3.5 | NA | NA | Regarding page 225 in section 5.3.5.6, how did PacifiCorp expand annual pole clearing and on what subject poles as part of the VM program? | Narrative
PC-43900-​I-712 | 5.3.5 | NA | NA | Does PacifiCorp plan on implementing any discretionary inspections of vegetation for distribution or transmission equipment, as described in sections 5.3.5.8 and 5.3.5.9? If so, provide a list of such inspections PacifiCorp is evaluating. If not, provide justification as to why. | Narrative
PC-43900-​I-713 | 5.3.5 | NA | NA | What percentage of VM work is audited, as described in section 5.3.5.13? | Narrative
PC-43900-​I-714 | 5.3.5 | NA | NA | Provide all VM training materials described in section 5.3.5.14, as provided by PacifiCorp. | Narrative
PC-43900-​I-715 | 5.3.5 | NA | NA | In regards to seciong 5.3.5.14: a. Regarding VM personnel, what certifications does PacifiCorp require for both inspectors and tree crew? b. How does PacifiCorp verify contractors and subcontractors meet such criteria? c. What is the number of both inspectors and tree crew PacifiCorp had contracted or employed in 2019? d. What is the number of both inspectors and tree crew PacifiCorp currently has contracted and employed? e. Has PacifiCorp run into constraints due to lack of workforce resources? If so, how does PacifiCorp intend to tackle such contraints moving forward? | Narrative
PC-43900-​I-716 | 5.3.5 | NA | NA | How does PacifiCorp determine whether or not a tree has "strike potential" as described in section 5.3.5.16? | Narrative
PC-43900-​I-717 | 5.3.5 | NA | NA | Regardubg section 5.3.5.19: a. When does PacifiCorp intend to implement an electronic tracking system, as described in section 5.3.5.2 on pg 219? b. What system does PacifiCorp currently use to track VM work? c. If PacifiCorp does not have a defined inventory currently, describe the inventory system PacifiCorp currently has to track VM and inspections. | Narrative
PC-43900-​I-718 | 5.3.5 | NA | NA | Provide a list of all of PacifiCorp's vegetation species' known growth rates, as described in section 5.3.5.20. | Narrative
PC-43900-​I-719 | 5.3.5 | NA | NA | In what cases and by how much would PacifiCorp apply an increased clearance for moderate and fast growing species, respectively? | Narrative
PC-43900-​I-720 | 5.3.5 | NA | NA | What sort of VM training on safety, fire prevention, best practices, etc. is provided to employees or contractors? Provide all such training procedures and documents. | Narrative
PC-43900-​I-721 | 5.3.5 | NA | NA | Provide the data and explanation showing PacifiCorp's "historic succss" as described on pg 244 of section 5.3.5.20. | Narrative
PC-43900-​I-722 | 5.3.5 | NA | NA | What percentage of property owners have prevented VM work from being completed? Provide all procedures and materials on property owner refusals. | Narrative
PC-43900-​I-723 | 5.3.5 | NA | NA | How does PacifiCorp intend to "be more aggressive in generally reducing total inventory"? How will PacifiCorp change current assessments to better identify, address, and remediate hazard trees? | Narrative
PC-43900-​I-724 | 5.3.5 | NA | NA | What are "cycle buster trees" as described on pg 245 of section 5.3.5.20 and what species would fall under such category? Provide all procedures PacifiCorp has on identification and remediation of such trees. | Narrative
PC-43900-​I-725 | 5.3.5 | NA | NA | How many poles is PacifiCorp intending to implement pole clearing for, as described in section 5.3.5.21? | Narrative
PC-43900-​D-759 | 5.3.2 | NA | NA | In the table under section 5.3.2.1 on page 121 under Description, PacifiCorp states that it intends on “placing needed stations to support needed level of granularity”. Has PacifiCorp calculated the “needed level of granularity”? If so, provide such in terms of weather stations needed, location, and number per circuit mile. | Narrative
PC-43900-​D-760 | 5.3.2 | NA | NA | In the table under section 5.3.2.1 on page 121 under Description, provide all “appropriate triggers to initiate specific responses” that PacifiCorp has identified so far, including amounts and responses. | Narrative
PC-43900-​D-761 | 5.3.2 | NA | NA | How is PacifiCorp prioritizing areas within Tier 2, as described under the Prioritization Approach section of the table for section 5.3.2.1 on page 121? | Narrative
PC-43900-​D-762 | 5.3.2 | NA | NA | Regarding the table in section 5.3.2.1 on page 122 under the section titled “General”: a. If the current 10 weather stations installed are not RAWS-quality stations, what do the micro-station installations measure and how do they differ from RAWS stations? b. Would augmenting entail enhancing granularity or would RAWS stations be installed nearby or adjacent to existing micro-stations? | Narrative
PC-43900-​D-763 | 5.3.2 | NA | NA | Regarding the table in section 5.3.2.1 on page 122, under the “Before the next annual update” section: a. How many weather stations does PacifiCorp intend to install in 2020? b. Where will the weather stations be located and how were locations determined? c. Will such stations be RAWS-quality? | Narrative
PC-43900-​D-764 | 5.3.2 | NA | NA | When does PacifiCorp intend to complete its DFA pilot, as described in section 5.3.2.2? | Narrative
PC-43900-​D-765 | 5.3.2 | NA | NA | In the table for section 5.3.2.4 on page 125 under the “Rationale for Program section, PacifiCorp states that “metrics can play an important role in limiting operations that could be inappropriate under elevated fire risk conditions”. a. What are all of the operations that would fall under this category? b. Provide all procedures PacifiCorp enforces for operations under high fire risk. | Narrative
PC-43900-​D-766 | 5.3.2 | NA | NA | What “fire science and weather professionals” evaluated PacifiCorp’s data, as described in the “Plan for audits/quality checks” section in the table for section 5.3.2.4 on page 125? Why is PacifiCorp not planning on any additional audits? | Narrative
PC-43900-​D-767 | 5.3.2 | NA | NA | If PacifiCorp is not using an FPI, what, in detail, is PacifiCorp’s approach? | Narrative
PC-43900-​D-768 | 5.3.2 | NA | NA | Regarding section 5.3.2.5 on pages 127 and 128: a. When would staff be activated to monitor equipment during elevated risk periods? i.e. provide any triggers or decision-making tree PacifiCorp uses to determine the need for such. b. Provide all procedures PacifiCorp uses for evaluations during elevated risk periods. c. How many such evaluations did PacifiCorp use in 2018 and 2019? Provide the number of circuit miles monitored, summaries or notes from such evaluations, dates, and weather at the time of such monitoring activities. | Narrative
PC-43900-​D-769 | 5.3.2 | NA | NA | Provide screenshots of PacifiCorp's weather monitoring systems, including those used for PSPS decisions, as described on the phone call with WSD, CPUC, and CALFIRE on March 12, 2020. | Narrative
PC-43900-​E-783 | 5.3.9 Emergency Planning and Preparedness | NA | NA | “As part of these events, individuals identified with primary or secondary responsibility within the command center structure complete an annual review of the overall disaster response and recovery plan. These individuals are required to contribute to post-crisis and emergency reporting, outlining any issues or concerns regarding their role and responsibilities”. (p304-5 & 307) Describe how PacifiCorp accesses the success of these annual trainings specifically has the annual refresher training deemed adequate? | Narrative
PC-43900-​E-784 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide the number of emergency planning meetings and trainings PacifiCorp attends, include community based organizational meetings. | Narrative
PC-43900-​E-785 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Detail an example where PacifiCorp has incorporated “existing customer service processes and local leaders:” feedback in the 2020 WMP 2020 California Wildfire Mitigation Plan. | Narrative
PC-43900-​E-786 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide an updated Table 29 which contains the missing column heading titled “Total per initiative spend”. | Narrative
PC-43900-​E-787 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide additional details on “information provided to customers regarding wildfire prevention and response to customers” (page 300). Specify topics addressed. For example, if PacifiCorp address wildfire resilience and awareness with their customers? | Narrative
PC-43900-​E-792 | 5.3.9 Emergency Planning and Preparedness | NA | NA | “As part of these events, individuals identified with primary or secondary responsibility within the command center structure complete an annual review of the overall disaster response and recovery plan. These individuals are required to contribute to post-crisis and emergency reporting, outlining any issues or concerns regarding their role and responsibilities”. (p304-5 & 307) Describe how PacifiCorp accesses the success of these annual trainings specifically has the annual refresher training deemed adequate? | Narrative
PC-43900-​E-793 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide the number of emergency planning meetings and trainings PacifiCorp attends, include community based organizational meetings. | Narrative
PC-43900-​E-794 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Detail an example where PacifiCorp has incorporated “existing customer service processes and local leaders:” feedback in the 2020 WMP 2020 California Wildfire Mitigation Plan. | Narrative
PC-43900-​E-795 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide an updated Table 29 which contains the missing column heading titled “Total per initiative spend”. | Narrative
PC-43900-​E-796 | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide additional details on “information provided to customers regarding wildfire prevention and response to customers” (page 300). Specify topics addressed. For example, if PacifiCorp address wildfire resilience and awareness with their customers? | Narrative
PC-43903-Y-11 | 6.6: Planned 2020 WMP initiative activity per year | NA | NA | Provide planned initiative data at the most granular level possible for each initiative activity (e.g., each asset location for each activity under an initiative). The exact schema for the spatial data can be found in the attaced excel file, "20200311_Initiative_schema", in the sheet "Initiative schema for utilities". The priority for each field is listed in the "priority" column. An example of the table is provided in the sheet "Initiative Template". Table should be organized as shown in "Initiative Template" sheet with the column names matching "Field Name Shapefile" column in the "Schema" sheet. Each field is explained in the "Field description" column, and type of data for each field is in the "Field Type". Attached to this dataset should be lat/lon points corresponding to each row in the data | GIS File with same schema as attached (see specfic data request)
PC-43903-Y-12 | 5.3.4 Asset management and inspections | NA | NA | Provide asset spatial data at the individual asset level for each of the asset categories listed (substations, weather stations, capacitor banks, conductors, poles, transmission lines and distribution lines). The exact schema for the spatial data can be found in the attaced excel file, "20200311_Asset_schema", in the sheets "Asset schema for utils - points" and "Asset schema for utils - lines". The priority for each field is listed in the "priority" column. An example of the table is provided in the "Asset Template" sheets. Table should be organized as shown in "Asset Template" sheets with the column names matching "Field Name Shapefile" column in the "Schema" sheet. Each field is explained in the "Field description" column, and type of data for each field is in the "Field Type". Attached should be two spatial files, one for points data and one for lines data, where each dataset should have its respective shape features (lat/lon points or lines) corresponding to each row in the data | GIS Files with same schema as attached (see specfic data request) - one for lines and one for points
PC-43903-Y-21 | 6.1 Recent weather patterns and use of PSPS | NA | NA | Provide PSPS event data at the circuit level (i.e., each circuit shut-off in an event should have its own row in the shapefile dataset). The exact schema for the spatial data can be found in the attaced excel file, "20200303_PSPS_schema", in the sheet "PSPS Schema for utilities". "Risk drivers" should be the same across circuits in an event, but all other values should be unique to each circuit. The priority for each field is listed in the "priority" column. An example of the table is provided in the sheet "PSPS Event Template". Table should be organized as shown in "Example onlyPSPS Event Template" sheet with the column names matching "Field Name Shapefile" column in the "Schema" sheet. Each field is explained in the "Field description" column, and type of data for each field is in the "Field Type", and priority of data being received by CPUC is in the "Priority" column | GIS File with same schema as attached (see attached excel file - 20200202_PSPS_schema).
PC-43903-Y-22 | 6.4: Current baseline state of service territory and utility equipment | NA | From WMP: Summarized risk map: Operation wildfire risk reduction model used to prioritize long-term hardening efforts. Referred to on page 5—43, section 5.3.1.1. From the section: “PG&E has leveraged the FMEA that was used to inform its 2019 accelerated and enhanced inspections to develop.” 1. “ignition probabilities for each of the various electric overhead equipment types for electric distribution, transmission and substation facilities” 2. “Likelihood of failure: Relative risk of a circuit causing an outage and ensuing ignition” 3. “Likelihood of wildfire spread and consequence score: Relative ability ignition spread and quantity of homes or timber affected if ignition occurs” | Provide the most recent map of overhead distribution, transmission, and substation facilities (as was provided earlier) in high-fire threat regions with additional fields for… 1. Ignition probability – projected likelihood of target asset causing an ignition in the next year (0.0 – 1.0) 2. Failure probability – projected likelihood of target asset failing in the next year (0.0 – 1.0) 3. Wildfire spread and consequence score (normalized from 0.0 – 1.0) – relative ability ignition spread and quantity of homes or timber affected if ignition occurs 4. Prioritization ranking of assets for maintenance – calculated ranking of assets for prioritizing asset maintenance, upgrades, and equipment replacement. This is a percentile ranking with 99th percentile being highest priority and 0th percentile being lowest priority for asset maintenance | GIS File