## Table 11
Utility | X | Notes:
Table No. | 11 | "PSPS" = Public Safety Power Shutoff
Date Modified |  | In future submissions update planned upgrade numbers with actuals
|  |  | Actual | [8 empty] | Projected
Table 11: Recent use of PSPS and other PSPS metrics | [7 empty] | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
Metric type | # | Outcome metric name | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2020 | 2020 | 2020 | 2021 | 2021 | 2021 | 2021 | 2022 | 2022 | 2022 | 2022 | Unit(s) | Comments
1. Recent use of PSPS | 1.a. | Frequency of PSPS events (total) | - | - | - | - | - | [12 empty] | Number of instances where utility operating protocol requires de-energization of a circuit or portion thereof to reduce ignition probability, per year | bar: 1 to 4
| 1.b. | Scope of PSPS events (total) | - | - | - | - | - | 1: -; 2: -; 3: 2; 4: - | Circuit-events, measured in number of events multiplied by number of circuits de-energized per year
| 1.c. | Duration of PSPS events (total) | - | - | - | - | - | 1: -; 2: -; 3: 20674; 4: - | Customer hours per year | PSPS CMI/60
2. Customer hours of PSPS and other outages | 2.a. | Customer hours of planned outages including PSPS (total) | 51001 | 60871 | 59468 | 71268 | 81885 | 1: 5696; 2: 3017; 3: 36742; 4: 7911 | Total customer hours of planned outages per year | CMI/60
| 2.b. | Customer hours of unplanned outages, not including PSPS (total) | 395882 | 151447 | 506916 | 216302 | 436371 | 1: 84825; 2: 16738; 3: 143778; 4: 37719 | Total customer hours of unplanned outages per year | CMI/60
| 2.c. | System Average Interruption Duration Index (SAIDI) (including PSPS) | 555 | 274 | 728 | 367 | 656 | 1: 117; 2: 26; 3: 234; 4: 59 | SAIDI index value = sum of all interruptions in time period where each interruption is defined as sum(duration of interruption * # of customer interruptions) / Total number of customers served | Includes planned outages and Major events
| 2.d. | System Average Interruption Duration Index (SAIDI) (excluding PSPS) | 555 | 274 | 728 | 367 | 656 | 1: 117; 2: 26; 3: 207; 4: 59 | SAIDI index value = sum of all interruptions in time period where each interruption is defined as sum(duration of interruption * # of customer interruptions) / Total number of customers served | Includes planned outages and Major events, excludes PSPS event in 2020 Q3
| 2.e. | System Average Interruption Frequency Index (SAIFI) (including PSPS) | 3.04 | 2.18 | 3.94 | 3 | 3.33 | 1: 0.63; 2: 0.2; 3: 0.69; 4: 0.45 | SAIFI index value = sum of all interruptions in time period where each interruption is defined as (total # of customer interruptions) / (total # of customers served) | Includes planned outages and Major events
| 2.f. | System Average Interruption Frequency Index (SAIFI) (excluding PSPS) | 3.04 | 2.18 | 3.94 | 3 | 3.33 | 1: 0.63; 2: 0.2; 3: 0.63; 4: 0.45 | SAIFI index value = sum of all interruptions in time period where each interruption is defined as (total # of customer interruptions) / (total # of customers served) | Includes planned outages and Major events, excludes PSPS event in 2020 Q3
3. Critical infrastructure impacted by PSPS | 3.a. | Critical infrastructure impacted by PSPS | - | - | - | - | - | 1: -; 2: -; 3: 53; 4: - | Number of critical infrastructure (in accordance with D.19-05-042) locations impacted per hour multiplied by hours offline per year
4. Community outreach of PSPS metrics | 4.a. | # of customers impacted by PSPS | - | - | - | - | - | 1: -; 2: -; 3: 2559; 4: - | # of customers impacted by PSPS (if multiple PSPS events impact the same customer, count each event as a separate customer)
| 4.b. | # of medical baseline customers impacted by PSPS | - | - | - | - | - | 1: -; 2: -; 3: 6; 4: - | # of customers impacted by PSPS (if multiple PSPS events impact the same customer, count each event as a separate customer)
| 4.c. | # of customers notified prior to initiation of PSPS event | - | - | - | - | - | 1: -; 2: -; 3: 2559; 4: - | # of customers notified of PSPS event prior to initiation (if multiple PSPS events impact the same customer, count each event in which customer was notified as a separate customer)
| 4.d. | # of medical baseline customers notified prior to initiation of PSPS event | - | - | - | - | - | 1: -; 2: -; 3: 6; 4: - | # of customers notified of PSPS event prior to initiation (if multiple PSPS events impact the same customer, count each event in which customer was notified as a separate customer)
| 4.e. | % of customers notified prior to a PSPS event impacting them | - | - | - | - | - | 1: -; 2: -; 3: 100%; 4: - | =4.a. / 4.c.
| 4.f. | % of medical baseline customers notified prior to a PSPS event impacting them | - | - | - | - | - | 1: -; 2: -; 3: 100%; 4: - | =4.a. / 4.c.
5. Other PSPS metrics | 5.a. | Number of PSPS de-energizations | - | - | - | - | - | [12 empty] | Number of de-energizations | bar: 1 to 4
| 5.b. | Number of customers located on de-energized circuit | - | - | - | - | - | 1: -; 2: -; 3: 2559; 4: - | Number of customers
| 5.c. | Customer hours of PSPS per RFW OH circuit mile day | - | - | - | - | - | 1: -; 2: -; 3: 27.9671; 4: - | =1.c. / RFW OH circuit mile days in time period
| 5.d. | Frequency of PSPS events (total) - High Wind Warning wind conditions | - | - | - | - | - | 1: -; 2: -; 3: 0; 4: - | Events over time period that overlapped with a High Wind Warning as defined by the National Weather Service
| 5.e. | Scope of PSPS events (total) - High Wind Warning wind conditions | - | - | - | - | - | 1: -; 2: -; 3: 0; 4: - | Estimated customers impacted over time period that overlapped with a High Wind Warning as defined by the National Weather Service
| 5.f. | Duration of PSPS events (total) - High Wind Warning wind conditions | - | - | - | - | - | 1: -; 2: -; 3: 0; 4: - | Customer hours over time period that overlapped with a High Wind Warning as defined by the National Weather Service