## Sheet1
Data request for | PacifiCorp
Date sent | 2020-02-26
Response requested by | 2020-03-02
Should you need clarification on this data request, please contact Ryan Arba (ryan.arba@cpuc.ca.gov)
This data request shall be completed according to the process outlined in Resolution WSD 001. In particular: 1. Any discovery or data requests and responses shall be posted on the responding electrical corporation’s website in an easy to follow format that identifies what the discovery was about, what the responses were about, and links to any documents produced. The electrical corporations shall update the website weekly, with an e-mail to the service list of R.18-10-007 with the relevant link and discussion of what is new on the website. The website (or portion of webpage) shall be labeled “2020 Wildfire Mitigation Plan Discovery/Data requests” for each electrical corporation. 2. Electrical corporations must copy any data requests received from or responses to Commission staff to the e-mail address wildfiresafetydivision@cpuc.ca.gov. Requests from staff to the electrical corporations may also come from this address or from individual e-mail addresses. 3. Each electrical corporation shall send to wildfiresafetydivision@cpuc.ca.gov the name of their single point of contact for all data requests and response matters for Commission staff use. 4. Electrical corporations must respond to all data and discovery requests within 3 business days of the request. Both requests and responses shall be sent by e-mail. Exceptions to the 3-business-day requirement will require a letter to the Division Director and a strong showing of the specific reason for the delay. In your response to each data request please specify the relevant item index being responded to, found here in column B. 5. Parties conducting discovery must first analyze the significant data that will be submitted with 2020 WMPs along with the Supplemental Data Request.2 Entities submitting data requests should avoid submissions where such information is contained in the electrical corporations’ WMP filings. 6. All documents the electrical corporation references in its WMP plans shall be collected on the above website in an easy to follow format, with notice to the service list of the location of such documents. This will be in addition to the posting of WMPs on the Commission’s website as required by Pub. Util. Code § 8386(d).
A. Item Index [For CPUC tracking purposes. Please reference this item index with the response provided.] | B. Request Type | C. Relevant section of WMP (if applicable) | D. Relevant question in Maturity Survey (if applicable) | E. Relevant meeting or call (if applicable) | F. Specific Data request | G. Format in which the data is to be provided | PacifiCorp Response
PC-43879-​C-233 | Request to submit missing information in WMP | 4.2.1 Service territory fire‑threat evaluation and ignition risk trends | NA | NA | Provide a discussion under 4.2.1 regarding whether or not an expansion of the High Fire Threat Districts (HFTD) is warranted. Be sure to include all criteria under the 4.2.1 description guidelines. | Table, Narrative | The company included language in the 2019 WMP regarding whether or not it agreed with, or required amendments to, the HFTD. Other companies in CA did request changes. PacifiCorp did not see the need. The following language has been added to Section 4.2.1 of the WMP: "As provided in PacifiCorp’s 2019 WMP, PacifiCorp evaluated fire history against the current HFTD designations for its service territory and continues to believe that no changes in designation are needed at this time. "
PC-43879-​C-234 | Request to submit missing information in WMP | 5.3.1 Risk assessment and mapping | NA | NA | For any cells in Table 21 filled as "N/A" explain why they are not applicable. | Table, Narrative | As outlined in the preface to Table 21, 2019 plan values are indicated as not applicable (N/A). In addition, certain other initiative activities are identified as not applicable (N/A) since they do not now or in the future rise to items to prepare structured plans against which to detail costs. If pilot activity is planned, it was noted, but not cost estimated, consistent with direction provided by the Wildfire Safety Division.
PC-43879-​E-235 | Request to submit missing information in WMP | 5.3.9 Emergency planning and preparedness | NA | NA | What are the top 3 primary languages used in California other than English or Spanish as determined by US Census data in CA service area? What's the QA/QC and qualitative/quantitative measures for community outreach, public awareness and communication? efforts? | Table, Narrative | While PacifiCorp has approximately 45,000 customers in California, the census data reviewed includes all residents of the three counties in the company’s service territory. Any percentages shown are calculated from the total population of the county and is not specific to PacifiCorp customers. Based on the available data, the primary languages spoken in all three counties is English. The census data further drills down by identifying the top three languages spoken in the home to assist with identifying residents with limited English proficiency. Limited English proficiency is defined as persons in the home ages five and older who do not speak English “very well”. Of this demographic the primary languages spoken in the home is Spanish, Other Asian and Pacific Island languages, and in some counties Other Indo European languages. Based on the census data reviewed, the assumption is other limited English speaking customers are statistically unidentified. In attempt to further explore the demographic of the communities, the data includes the Ethnicity of residents. By reviewing the data for each county, the numbers supports the statistics regarding residents with limited English proficiency. The vast majority of residents identify as either White, Hispanic, or Latino. Customers identifying as one of these groups is directly correlated with the percentage of customers speaking either English or Spanish in the home. The third most populous ethnicity is defined as American Indian and Native Alaskan. While any native languages do not appear under the category of other languages spoken in the home, PacifiCorp continues to work with the Karuk Tribe in Siskiyou County. The Karuk Tribe works with the regional business managers and other company personnel to distribute information and identifying resource areas in the community in case of an emergency event. No language barriers have impeded the development of this relationship. PacifiCorp will continue to monitor census data and will work with community organizations and emergency personnel to identify and understand any barriers for members of the communities. Currently, the information is available in both English and Spanish which meet the requirements for the vast majority of PacifiCorp customers and the community. The development of other metrics for other languages is not supported by the census data. Resources: https://census.ca.gov/wp-content/uploads/sites/4/2019/06/Siskiyou-County.pdf https://census.ca.gov/wp-content/uploads/sites/4/2019/06/Modoc-County.pdf https://census.ca.gov/wp-content/uploads/sites/4/2019/06/Del-Norte-County.pdf
PC-43879-​E-236 | Request to submit missing information in WMP | 5.3.9 Emergency planning and preparedness | NA | NA | How much service territory does PacifiCorp have in California that so few field support and responders reside in California? Why is emergency response in CA available as needed to events despite PacifiCorp stating it takes a proactive approach? | Table, Narrative | PacifiCorp has 11,292 square miles of service territory in Northern California, which represents 8% of the total PacifiCorp service Territory. The resources levels have been derived based on required and historical activity levels to maintain and operate a safe and reliably network. Resources across PacifiCorp are available to respond during events as required. While during typical major storm events there might not be enough warning to bring resources in proactively, during fire season weather is monitored closely to allow resources to be stage proactively before a PSPS event.
PC-43879-​E-237 | Request to submit missing information in WMP | 5.3.9 Emergency planning and preparedness | NA | NA | clarification - what are the priority notification to critical first responders, health care facilities, and operators of telecomms facilities? | Table, Narrative | Please see edits made to Section 3 of 5.3.9 of the WMP.
PC-43879-​F-238 | Request to submit missing information in WMP | 2. Metrics and underlying data | NA | NA | PacifiCorp should provide RSE for proposed WF mitigations even if not required for RAMP | Table, Narrative | Based on comments from intervenors and panelists during the two-day WMP workshops, agreement was reached that the RSE values calculated in the WMP's should align with the RSE values calculated per the RAMP proceeding. It is challenging for PacifiCorp to calculate an RSE for Wildfire mitigation programs that aligns with another RSE calculation yet to be determined and fully formed. PacifiCorp does not yet have a mature RSE calculation. This was reflected in the company's utility survey as well as PacifiCorp's 2020 WMP filing: "As a small and multijurisdictional utility, PacifiCorp complies with the adopted methodology per D.19-04-020 regarding the company’s S-MAP and RAMP process. As is expected with small and multijurisdictional utilities per D.19-04-020, PacifiCorp has adhered to the 10 RAMP Elements in the company’s risk based decision making framework but still remains in the early stages of the S-MAP and RAMP process. Many of the elements requested in this 2020 WMP filing may not be applicable to PacifiCorp, specifically risk reduction, resource allocation methodology, and risk-spend efficiency calculations. To the extent that a program addresses a top categorical risk included in the company’s GRC filing, PacifiCorp can qualify relative risk ranking. However, PacifiCorp, at this time, cannot provide the discreet calculations as requested. At the guidance of the Wildfire Safety Division of the California Public Utilities Commission, these elements are marked “does not apply”, “not applicable”, or “N/A” throughout the company’s filing." Therefore, at this time, PacifiCorp cannot provide an RSE calculation for wildfire mitigation programs.
PC-43879-​L-240 | Request to submit missing information in WMP |  | NA | NA | (B) would like more discussion of deficiencies | Table, Narrative | A response is not required. This request is duplicative of #271.
PC-43879-​K-241 | Request to submit missing information in WMP | 5.3.7 Data governance | NA | NA | Given that PacifiCorp indicates it does not have the data requested in Table 27, I don't believe DRs will be required to fulfill the completeness of its response. | Table, Narrative | Agreed.
PC-43879-​C-242 | Request to submit missing information in WMP | 4.2.1 Service territory fire‑threat evaluation and ignition risk trends | NA | NA | Provide a discussion under 4.2.1 regarding whether or not an expansion of the High Fire Threat Districts (HFTD) is warranted. Be sure to include all criteria under the 4.2.1 description guidelines. | Table, Narrative | The company included language in the 2019 WMP regarding whether or not it agreed with, or required amendments to, the HFTD. Other companies in CA did request changes. PacifiCorp did not see the need. The following language has been added to Section 4.2.1 of the WMP: "As provided in PacifiCorp’s 2019 WMP, PacifiCorp evaluated fire history against the current HFTD designations for its service territory and continues to believe that no changes in designation are needed at this time. "
PC-43879-​C-243 | Request to submit missing information in WMP | 5.3.1 Risk assessment and mapping | NA | NA | For any cells in Table 21 filled as "N/A" explain why they are not applicable. | Table, Narrative | As outlined in the preface to Table 21, 2019 plan values are indicated as not applicable (N/A). In addition, certain other initiative activities are identified as not applicable (N/A) since they do not now or in the future rise to items to prepare structured plans against which to detail costs. If pilot activity is planned, it was noted, but not cost estimated, consistent with direction provided by the Wildfire Safety Division.
PC-43879-​I-244 | Request to submit missing information in WMP | 5.3.5 Vegetation management and inspections | NA | NA | 1) For any cells in Table 25 filled as "N/A" explain why they are not applicable. 2) Provide an updated Table 25 in which any cells that reference other cells or other tables are populated instead of references. 3) Report ignition risk probability and risk reduction for VM programs or initiatives detailed in Table 25. If PacifiCorp cannot report these statistics, provide an explanation. | Table, Narrative | Response to point 1. Pacific Power erroneously filled column F of Initiative Activity 16.Other/not listed - Radial Pole Clearing with "N/A". The most applicable probability driver is "All Types of Equipment/Facility Failure". This has been updated. "N/A" in columns M an N of Initiative Activity 13. Quality assurance quality control of inspections are not discretely tracked programs therefore "N/A" was used per WMP Guidance document. Any "N/A" in column L remains "N/A" as it is not a new program. Response to point 2. Per previous guidance received from WSD, PacifiCorp placed material and content in the columns of Table 25 where possible and where not possible (i.e. where there is not a discreet program) included references to applicable material. PacifiCorp is concerned about duplicating data in the table, which may result in a perceived misrepresentation of the data presented elsewhere in the WMP. Response to points 1 (columns G and H) and 3. Based on comments from intervenors and panelists during the two-day WMP workshops, agreement was reached that the RSE values calculated in the WMP's should align with the RSE values calculated per the RAMP proceeding. It is challenging for PacifiCorp to calculate an RSE for Wildfire mitigation programs that aligns with another RSE calculation yet to be determined and fully formed. PacifiCorp does not yet have a mature RSE calculation. This was reflected in the company's utility survey as well as PacifiCorp's 2020 WMP filing: "As a small and multijurisdictional utility, PacifiCorp complies with the adopted methodology per D.19-04-020 regarding the company’s S-MAP and RAMP process. As is expected with small and multijurisdictional utilities per D.19-04-020, PacifiCorp has adhered to the 10 RAMP Elements in the company’s risk based decision making framework but still remains in the early stages of the S-MAP and RAMP process. Many of the elements requested in this 2020 WMP filing may not be applicable to PacifiCorp, specifically risk reduction, resource allocation methodology, and risk-spend efficiency calculations. To the extent that a program addresses a top categorical risk included in the company’s GRC filing, PacifiCorp can qualify relative risk ranking. However, PacifiCorp, at this time, cannot provide the discreet calculations as requested. At the guidance of the Wildfire Safety Division of the California Public Utilities Commission, these elements are marked “does not apply”, “not applicable”, or “N/A” throughout the company’s filing." Therefore, at this time, PacifiCorp cannot provide an RSE calculation for wildfire mitigation programs.
PC-43879-​J-245 | Request to submit missing information in WMP | 5.5 Planning for workforce and other limited resources | NA | NA | PacifiCorp should provide additional detail in its narrative or a table that describes the number of workforce resources trained in specific job duties that will serve in restoration efforts. | Table, Narrative | Please see edits made to Section 5.5 of WMP.
PC-43879-​G-246 | Request to submit missing information in WMP | 3.4.2 Planned additions, removal, and upgrade of utility equipment by end of 3-year plan term | NA | NA | PacifiCorp should provide data for 2021-2022 or explain why estimates cannot be developed. | Table, Narrative | See Section 3.4.2 and Section 2.7 of PacifiCorp's WMP. "As PacifiCorp is early in the implementation of its multi-year plan, the detailed scope for each location specific program activity has only been completed for the 2020 year. While the full scope of the multi-year programs is well understood and program dollars have been assigned in years 2021-2022 and included in Table 23 of Section 5.3.3, the specific locations and associated asset replacements have yet to be determined for each program in each year. However, PacifiCorp’s location specific programs do include the completion of more detailed scope for years beyond 2020 to be completed during the 2020 calendar year, which is reflected in PacifiCorp’s strategy included in Section 5.1. Therefore, location specific scope could not be provided for years beyond 2020. As location specific scope is required to completed all of the values in Table 17, PacifiCorp is not able to provide values at this time. Once the scope is finalized, which includes location specific scope, these values can be populated. "
PC-43879-​G-247 | Request to submit missing information in WMP | 5.6.1 Planned utility infrastructure construction and upgrades | NA | NA | PacifiCorp should explain why this data is unavailable. | Table, Narrative | As included in PacifiCorp's 2020 WMP in Section 5.6.1: "The data sets required to populate Table 31 as requested are not readily available or representative of typical data sets used by the company to operate the system. Additionally, PacifiCorp does not have any experience in forecasting the type of conditions, such as weather and environmental conditions, that are required to predict trends in ignition probability drivers and, therefore, found it challenging to populate the table as requested. Furthermore, it is challenging to apply system wide data sets to location specific projects and provide quantitative future values. PacifiCorp does anticipates a general reduction in utility-related fault events within PacifiCorp’s service territory during fire season within the HFTD after the implementation of the company’s WMP as described in Section 4.3. While the company will be in a position to be less vulnerable to utility operational events that could result in ignition and could threaten communities it serves upon implementation of these proposed mitigation programs, PacifiCorp was not able to populate the table below with specific values."
PC-43879-​G-248 | Request to submit missing information in WMP | 5.3.3 Grid design and system hardening | NA | NA | PacifiCorp should report data in Table 23 for WMP programs that are embedded within pre-existing infrastructure programs. In addition, risk reduction and risk spend efficiency data should be reported or if it cannot be reported an explanation should be provided. | Table, Narrative | At the guidance of the WSD, PacifiCorp selected the best fit locations throughout the template to include details regarding the company's wildfire mitigation programs. In many instances, PacifiCorp's programs did not fit uniquely into one of the template catgeories. Additionally, in many instances, the template requested information regarding a program that is not specifically a wildfire mitigation program at PacifiCorp but, aligns with a component or many components of existing programs. Where PacifiCorp could provide discrete values and units regarding the company's wildfire mitigation programs, these unique values were included in the 2020 WMP. However, in various instances, such as circuit breaker maintenance, PacifiCorp does not design, implement, and track this in a way that facilitates the completion of Table 23 as this is not a wildfire mitigation program. PacifiCorp was not able to provide risk reduction and risk spend efficiency data at this time. Based on comments from intervenors and panelists during the two-day WMP workshops, agreement was reached that the RSE values calculated in the WMP's should align with the RSE values calculated per the RAMP proceeding. It is challenging for PacifiCorp to calculate an RSE for Wildfire mitigation programs that aligns with another RSE calculation yet to be determined and fully formed. PacifiCorp does not yet have a mature RSE calculation. This was reflected in the company's utility survey as well as PacifiCorp's 2020 WMP filing: "As a small and multijurisdictional utility, PacifiCorp complies with the adopted methodology per D.19-04-020 regarding the company’s S-MAP and RAMP process. As is expected with small and multijurisdictional utilities per D.19-04-020, PacifiCorp has adhered to the 10 RAMP Elements in the company’s risk based decision making framework but still remains in the early stages of the S-MAP and RAMP process. Many of the elements requested in this 2020 WMP filing may not be applicable to PacifiCorp, specifically risk reduction, resource allocation methodology, and risk-spend efficiency calculations. To the extent that a program addresses a top categorical risk included in the company’s GRC filing, PacifiCorp can qualify relative risk ranking. However, PacifiCorp, at this time, cannot provide the discreet calculations as requested. At the guidance of the Wildfire Safety Division of the California Public Utilities Commission, these elements are marked “does not apply”, “not applicable”, or “N/A” throughout the company’s filing." Therefore, at this time, PacifiCorp cannot provide an RSE calculation for wildfire mitigation programs.
PC-43879-Z -249 | Request to submit missing information in WMP | NA | NA | NA | Resubmit all GIS data with metadata that follows the Federal Geographic Data Committee (FGDC) standards. Use the U.S. Geological Survey (USGS) Metadata Wizard to comply with FGDC standards. According to the USGS: "The Metadata Wizard is a user-friendly desktop application for creating, editing, and validating metadata that conforms to the Content Standard for Digital Geospatial Metadata (CSDGM) version 2.0. The Federal Geographic Data Committee (FGDC) has authored and endorsed this metadata standard as well as other standards. Metadata provides information about a data set, allowing data users to understand and appropriately use the data in different contexts. Metadata is crucial to support searchable information about data that otherwise is not directly incorporated within data and therefore undiscoverable. Metadata in its most basic form includes information about the data’s origin, creators, accuracy, availability, and distribution. Metadata is necessary for the appropriate interpretation and reuse of the data, and importantly provides the necessary definitions of data content." The USGS also notes that: "The Metadata Wizard is a useful tool designed to facilitate FGDC metadata creation for spatial and non-spatial data sets. It is a cross-platform desktop application built using an open-source Python architecture." Visit the links below to interpret and install the USGS Metadata Wizard: - USGS summary of Wizard: https://www.usgs.gov/software/metadata-wizard-20 - Installation of Wizard: https://github.com/usgs/fort-pymdwizard/releases/download/v2.0.6/metadatawizard_win64x_2.0.6.exe - User guide for Wizard: https://usgs.github.io/fort-pymdwizard/ FGDC-compliant metadata will include but not be limited to the following (which provide some examples of items that comprise metadata): points of contact, credits, abstract, purpose, publication date, data collection methodologies and processing steps, and definitions for fields and field values. As part of defining fields and values, be sure to identify measurement units for quantitative values and define all number codes, acronyms, etc. For processing steps, mention equipment and methods used to collect data and state the timeframe(s) of data collection. | GIS file | Please see the following GIS Data files: Data_Table8.gdb, Data_Table9MapLayer1.gdb. Data_Table9MapLayer2.gdb, Data_Table9MapLayer3.gdb
PC-43879-Z -250 | Request to submit missing information in WMP | NA | NA | NA | If PSPS events occurred, submit 2015-2019 point layers for post-PSPS utility infrastructure damage location points with at least two photos for each point (one showing damage and one showing environment around base of pole or tower with damage). Submit shapefiles or feature classes pre-linked or capable of being linked to photos. At a minimum, include the following damage-related attributes (or similar equivalents): - Was the damage likely to have caused arcing? This shall be collected in one field with potential values of “Yes,” “No,” or “Unknown.” - Description of the damage (e.g. broken tie wire, tree branch on line, broken conductor, etc.). This shall include a dropdown menu of common damage description categories but could also include a customizable comments field that enables the documentation of uncommon damage types. - Description of the type of terrain likely to be impacted by the damage with a corresponding photo. This could also be accomplished with dropdown menus and a customizable field. This terrain may be the most likely location of an on-the-ground ignition and could be the destination/landing area for burning debris or sparks. - Best estimate of damage timeframe. Include a field for the date and a field for the approximate time of day. This will help link the most accurate weather data to the damage point. | GIS file | N/A - PSPS Event has not occurred.
PC-43879-Z -251 | Request to submit missing information in WMP | NA | NA | NA | Submit 2015-2019 point layers for other utility infrastructure damage locations with photos. Use guidance described above. | GIS file | PacifiCorp has records of the impacts of utility related fires to support the population of the WMP requirements 4-9 of Table 2 in Section 2.3 of the company's 2020 WMP. However, PacifiCorp does not have the data requested in a format which facilitates the submission of a GIS layer for this data including the damage locations. Therefore, PacifiCorp cannot provide the data in the way requested but recommends reviewing the data provided in Table 2 of Section 2.3 which provides a generally understanding and order of magnitude of this information.
PC-43879-Z -252 | Request to submit missing information in WMP | NA | NA | NA | Submit applicable equipment data that includes an "Exemption_Status" field in the data's attribute tables with exemption status per PRC 4292. The values for the "Exemption_Status" field shall be: "Non-Exempt," "Temporarily Exempt," or "Permanently Exempt." While PRC 4292 is only applicable in the CAL FIRE State Responsibility Area (SRA), provide exemption status information for all applicable equipment in all locations in PG&E's service territory. | GIS file | PacifiCorp does not have GIS data in this way that includes the requested equipment information. At this time, PacifiCorp has provided what work products and datasets are currently available that the company uses to operate the system. Additionally, as stated in the company's 2020 WMP: "In order to facilitate public access to the company’s WMP, where possible, PacifiCorp has provided all requested location-specific GIS data with applicable attributes and details in alignment with the requirements in Table 8 and Table 9 and included in the attachments in Section 6.0 at a level that does not implicate confidential data. In order to achieve this objective, the company provided the general location of lines and facilities similar to other publicly available data sets in the GIS attachments; PacifiCorp determined that even at this “higher” level of detail, the data was useful and responsive. In addition, general information was used to populate applicable tables, such as grid modularization summary values in Table 1 and fault indicator summary values in Table 15. The data provided can be used to determine and inform a qualitative analysis and benchmarking with other utilities throughout California without the need to provide all supporting confidential data; providing such large quantities of confidential data creates risks that are not outweighed by the perceived benefits. PacifiCorp suggests an in-person meeting with WSD to discuss whether additional, narrowly tailored data is necessary for its review. "
PC-43879-Z -253 | Request to submit missing information in WMP | NA | NA | NA | Resubmit pole and tower locations with age information and other applicable attributes. Include a field to record pole or tower exempt equipment information. In the field, include the exemption status of the equipment on the pole or tower. Age information can be recorded by installation year. Also include a field to record the type of material that makes up a pole or tower (e.g., metal, wood, fiberglass, wood wrapped with fire-resistant material, etc.). You may be able to connect age, material, and exemption information to pole or tower GIS data by using ID values to join the GIS data to other databases. | GIS file | PacifiCorp does not have GIS data in this way that includes the requested equipment information. At this time, PacifiCorp has provided what work products and datasets are currently available that the company uses to operate the system. Additionally, as stated in the company's 2020 WMP: "In order to facilitate public access to the company’s WMP, where possible, PacifiCorp has provided all requested location-specific GIS data with applicable attributes and details in alignment with the requirements in Table 8 and Table 9 and included in the attachments in Section 6.0 at a level that does not implicate confidential data. In order to achieve this objective, the company provided the general location of lines and facilities similar to other publicly available data sets in the GIS attachments; PacifiCorp determined that even at this “higher” level of detail, the data was useful and responsive. In addition, general information was used to populate applicable tables, such as grid modularization summary values in Table 1 and fault indicator summary values in Table 15. The data provided can be used to determine and inform a qualitative analysis and benchmarking with other utilities throughout California without the need to provide all supporting confidential data; providing such large quantities of confidential data creates risks that are not outweighed by the perceived benefits. PacifiCorp suggests an in-person meeting with WSD to discuss whether additional, narrowly tailored data is necessary for its review. "
PC-43879-Z -254 | Request to submit missing information in WMP | NA | NA | NA | Submit applicable equipment data with condition information (e.g., good, poor, needs repair, etc.). If some sort of equipment condition/health/status or similar index is used, include it in GIS data, and explain it in metadata. Provide condition information for all applicable equipment, including transmission lines, distribution lines, substations, and various items mounted on poles or towers. | GIS file | PacifiCorp does not have GIS data in this way that includes the requested equipment information. At this time, PacifiCorp has provided what work products and datasets are currently available that the company uses to operate the system. See Section 2.7 of PacifiCorp's 2020 WMP. Specfically, Table 9 and the narrative accompanying Table 9.
PC-43879-Z -255 | Request to submit missing information in WMP | NA | NA | NA | Submit GIS data for Level 1-3 findings. Data should include key information like date, level of finding, equipment affected, custom comments, etc. Below are definitions of the finding levels as taken from a 2020 WMP: Level 1 finding: In accordance with GO 95, an immediate safety and/or reliability risk with high probability for significant impact. Level 2 finding: In accordance with GO 95, a variable (non-immediate high to low) safety and/or reliability risk. Level 3 finding: In accordance with GO 95, an acceptable safety and/or reliability risk. | GIS file | While PacifiCorp maintains inspection and correction records in a manner that facilitates implementation of required programs, PacifiCorp does not maintain these records in a GIS format that would facilitate submission of the requested GIS data. To accommodate this request, a new work product and dataset would be required that is in addition to any datasets already provided . To gain a general understanding of conditions identified, please see Table 2 in Section 2.3.
PC-43879-Z -256 | Request to submit missing information in WMP | NA | NA | NA | Submit point data showing the locations of private power line/IOU power line connection points. | GIS file | PacifiCorp does not have this data mapped in its records in a way that the company could submit this GIS file.
PC-43879-Z -257 | Request to submit missing information in WMP | NA | NA | NA | Submit data for the latest, most precise PacifiCorp service territory boundaries. Also include any divisions or subdivisions within the service territory. | GIS file | A GIS layer containing PacifiCorp's assets was submitted in the GIS data request which generally indicates PacifiCorp's service territory. However, PacifiCorp submits an additional layer which specifically identifies the company's service territory to accommodate this request. Please see attachment Data_Resubmit_03022020.gdb/PacifiCorp_ServiceTerritory, and PacifiCorp_Districts.
PC-43879-Z -258 | Request to submit missing information in WMP | 6.6: Planned 2020 WMP initiative activity per year | NA | NA | Generally what categories or types of system automation projects will happen? Attributes in the provided WMP activity data only provide substation names, grid IDs, and project quantities. Does the "Covered_Conductors" layer represent areas where conductors will be covered? These questions should be made clear by more detailed attributes or more complete metadata. | GIS file | Yes. Covered Conductor means locations where covered conductor will be replaced. The locations of the substation projects are locations where system automation strategies will be deployed as this way the best way to visualize the projects in a meaningful way. As included in Section 5.3.3.9 of the company's 2020 WMP, "PacifiCorp’s installation of system hardening wildfire mitigation program includes the deployment of distribution and transmission protection and control schemes and equipment, such as relays, circuit breakers, reclosers, and communications equipment, to enhance fault detection capabilities, reduce fault isolation time, improve fault location and record availability, and expedite restoration efforts. Currently, the scope of this program includes 68 projects throughout the HFTD over four years, with completion of the program in 2022."
PC-43879-Z -259 | Request to submit missing information in WMP | 6.5: Location of Planned utility equipment additions or removal | NA | NA | If additions/removals will happen for the following items, submit the data for them. - Circuit miles of overhead transmission lines - Circuit miles of overhead distribution lines - Substation locations | GIS file | See Attachment 6.5 or GIS File-geodatabse file name :Data_Table9MayPayver2.gbd Additionally, see Section 3.4.2 and Table 16.
PC-43879-Z -260 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit all additional utility asset GIS data (beyond transmission lines, distribution lines, poles, and substations) that are available and if possible, ensure they cover utility assets by asset age, model, and asset type. Other IOUs submitted location/specification data for pieces of equipment like switches, transformer devices, lightning arrestors, etc. | GIS file | As stated in PacifiCorp's 2020 WMP: "In order to facilitate public access to the company’s WMP, where possible, PacifiCorp has provided all requested location-specific GIS data with applicable attributes and details in alignment with the requirements in Table 8 and Table 9 and included in the attachments in Section 6.0 at a level that does not implicate confidential data. In order to achieve this objective, the company provided the general location of lines and facilities similar to other publicly available data sets in the GIS attachments; PacifiCorp determined that even at this “higher” level of detail, the data was useful and responsive. In addition, general information was used to populate applicable tables, such as grid modularization summary values in Table 1 and fault indicator summary values in Table 15. The data provided can be used to determine and inform a qualitative analysis and benchmarking with other utilities throughout California without the need to provide all supporting confidential data; providing such large quantities of confidential data creates risks that are not outweighed by the perceived benefits. PacifiCorp suggests an in-person meeting with WSD to discuss whether additional, narrowly tailored data is necessary for its review. "
PC-43879-Z -261 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Resubmit all utility infrastructure data (transmission lines, distribution lines, substations, and the various pieces of equipment) with age information (e.g., a field for year of installation would suffice). Installation years could be found in other databases and linked to the GIS data via unique ID values. | GIS file | PacifiCorp does not have this information for point based facilities in a way that allows for this to be a mapped feature. Therefore, PacifiCorp cannot create the work product or dataset to accomplish this request. As included in the company's 2020 WMP: "In order to facilitate public access to the company’s WMP, where possible, PacifiCorp has provided all requested location-specific GIS data with applicable attributes and details in alignment with the requirements in Table 8 and Table 9 and included in the attachments in Section 6.0 at a level that does not implicate confidential data. In order to achieve this objective, the company provided the general location of lines and facilities similar to other publicly available data sets in the GIS attachments; PacifiCorp determined that even at this “higher” level of detail, the data was useful and responsive. In addition, general information was used to populate applicable tables, such as grid modularization summary values in Table 1 and fault indicator summary values in Table 15. The data provided can be used to determine and inform a qualitative analysis and benchmarking with other utilities throughout California without the need to provide all supporting confidential data; providing such large quantities of confidential data creates risks that are not outweighed by the perceived benefits. PacifiCorp suggests an in-person meeting with WSD to discuss whether additional, narrowly tailored data is necessary for its review. "
PC-43879-Z -262 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Two "Transmission_Line" layers were submitted. One file covers the entire service territory. The other features only about 1 mile of line. The small line layer appears to largely overlap the larger line layer. Was it intended to be submitted, and should it be considered part of the overall transmission line network? | GIS file | The small layer is meant to map back to the requirement in Appendix 6.5 and the requirement in Table 9 of Section 2.7 to display PacifiCorp's planned removals or additions to the transmission lines. This is the data which supports the response to PC-43879-Z -259.
PC-43879-Z -263 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit the layers listed below as merely the polygons for each area clipped to the service territory. Do not include square-mile grids. The original WMP GIS data submission requirements mention "square mile resolution," but adding a square mile grid does not help the data. - Highly rural, rural, and urban layer - Tier 3, Tier 2, and Zone 1 HFTD area and non-HFTD layer | GIS file | Tier 3, 2, and Zone 1 Request : Refer to the file: Data_Resubmit_03022020.gdb/HFTD The highly rural, rural, and urban layer request: PacifiCorp included in the 2020 WMP the application of census data to calculate each square mile as either highly rural, rural, or urban as described below: "Per the WMP Clarification Document circulated on 1/15/2020, PacifiCorp leveraged the boundaries of the census tract data available at census.gov (https://www.census.gov/geographies/mapping-files/time-series/geo/tiger-line-file.html). This tract data was then overlaid with PacifiCorp’s 1 mile x 1 mile grid to calculate the equivalent population per square mile within each of the company’s 1 mile x 1 mile grids. PacifiCorp then applied the definitions within the CA WMP, CFR 17.701, and GO 165 to classify each 1 mile x 1 mile grid as being either highly rural, having a population density less than 7 persons per square mile, rural, having a population density of less than 1,000 persons per square mile, or urban, having a population density greater than 1,000 person per square mile. The calculation and depiction of locations within PacifiCorp’s service territory as highly rural, rural, and urban is consistent with the requirements in the WMP and definitions included in the Glossary." While PacifiCorp can provide different levels of resolution, this calculation can only be made once a boundary for the calculation is defined. Therefore, an additional work product cannot be created without a subsequent defined boundary.
PC-43879-Z -264 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Resubmit customer data that only covers the service territory. A grid clipped to the service territory could work, but points or some form of Census divisions within the territory could also work. Despite the submission requirements mentioning "square mile resolution," you do not need to force all data into a grid with square-mile pieces. | GIS file | PacifiCorp provided critical facilities and AFN customers as part of the GIS data set submission in Section 6.0. At the guidance of the WSD, specific customer data was not included and these values were instead calculated at the square mile resolution. This resolution reflected a reasonable balance as it allowed PacifiCorp to provide context and a method for qualitative comparison amongst all utilities without providing specific customer information. In order to meet this new request, PacifiCorp requires guidance on what boundaries to use in order to provide the relevant information without providing specific and customer data.
PC-43879-Z -265 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit point data representing Liberty utility-caused ignitions that occurred from 2015-2019. Include the attributes listed in the data dictionary found here: https://kwftp.cpuc.ca.gov/#/file/279210 This data dictionary was taken from an appendix of the "R.18-10-007 SDGE Data Collection for WMP Report 7 30 19" document. An example of an ignitions report can be found here: https://www.cpuc.ca.gov/uploadedFiles/CPUC_Public_Website/Content/Safety/PGE%20-%20Fire%20Incident%20Data%20Collection%20Plan%20-%20Report%20from%202014-2016.pdf | GIS file | PacifiCorp included ignition probability data as a GIS layer in the 2020 WMP in Appendix 6.2. Additionally, PacifiCorp's ignition history data has been provided in an attachment to this discovery request to the extent that this dataset was available and could be mapped. This data was used to populate Item 10 in Table 2 of Section 2.3 in PacifiCorp's 2020 WMP.
PC-43879-Z -266 | Request to submit missing information in WMP | 6.3: Recent use of PSPS | NA | NA | If PSPS events occurred, submit 2015-2019 PSPS polygons with duration information and impacted customer hours. | GIS file | N/A - PSPS Event has not occurred.
PC-43879-Z -267 | Request to submit missing information in WMP | 6.1: Recent weather patterns | NA | NA | Resubmit the wind data with more clarification for just what fields and values mean. This could be accomplished with metadata and more detailed field names or field name aliases. Wind data should span 2015-2019. Also, despite the submission requirements mentioning "square mile resolution," do not force all data into a grid with square-mile pieces. | GIS file | The following is submitted in the relevant GIS files: - Input layer Average annual number of Red Flag Warning days -Input layer Average 95th and 99th percentile wind speed and prevailing direction (actual) See attachments: Data_Resubmit_03022020.gdb WWA_PAC_FW_2015_Durations, WWA_PAC_FW_2016_Durations, WWA_PAC_FW_2017_Durations, WWA_PAC_FW_2018_Durations, WWA_PAC_FW_2019_Durations, Ave95_99th_PercentileWind
PC-43879-Z -268 | Request to submit missing information in WMP | 6.1: Recent weather patterns | NA | NA | Submit vector polygon data (in the shapefile or feature class format) that show the average annual red flag days in the service territory from 2015-2019. Data may consist of different subpolygons that correlate with different geographic reporting scopes for red flag days. Despite the submission requirements mentioning "square mile resolution," do not force all data into a grid with square-mile pieces. Also use clear field names, and define any abbreviations. | GIS file | The data used to create this is point based, not polygon based. PacifiCorp does not have the data in this way. Instead, the input to the Red Flag Warning Days has been created and submitted in a similar manner to the wind data inputs in response to PC-43879-Z-266.
PC-43879-Z -269 | Request to submit missing information in WMP | 6.3: Recent use of PSPS | NA | NA | If PSPS events occurred, submit GIS line data for circuits turned off during 2015-2019 PSPS events. In the data's attributes, at a minimum, identify the event with which the data are associated and the voltage of the lines. | GIS file | N/A - PSPS Event has not occurred.
PC-43879-L -270 | Request to submit missing information in WMP | 1 | NA | NA | Guideline 1 requests an accounting of responsibilities of the responsible person(s) executing the WMP including 2) Program owners specific to each component of the plan. Your WMP includes a table of division/departments/offices overseeing each component of the plan, not the persons or primary contacts leading those divisions/departments/offices. Please resubmit the Table of Program Owners (page 16) to include the names of individuals for each component listed. | Table | Please see edits made to page 16 of WMP. Names have been included.
PC-43879-L -271 | Request to submit missing information in WMP | 5.2 | NA | NA | Section 5.2 of the WMP describes requirements for Plan Implementation, including elements required by statute (8386) 19 (b) a process to “Identify any deficiencies in the plan or the plan’s implementation, and correct those deficiencies,” and (c ) “Monitor and audit the effectiveness of electrical line and equipment inspections, including inspections performed by contractors, carried out under the plan and other applicable statutes and commission rules.” Your plan at Sec. 5.2.B & C (page 103) is vague as to these elements, giving the impression that such processes have not yet been developed or instituted. Please provide additional detail as to the process for identifying and correcting deficiencies and for the monitoring and quality assurance program for line/equipment inspections, and the utility’s program for oversight of inspections performed by non-utility contractors. | Narrative | As noted in the plan, PacifiCorp recently formed a Wildfire Mitigation Delivery Project Management Office within the Transmission and Distribution Operations department and assigned a Wildfire Mitigation Delivery Director to lead this effort. While this department remains in its early stages and is not yet fully formed, the office intends to explore and develop a quality assurance process throughout the life cycle of the programs, specifically focused on the construction phase of these programs, which will include a process to correct deficiencies discovered. PacifiCorp anticipates that this aspect of the program will evolve quickly and intends to provide additional updates and detail in the company’s first annual update in 2021. As to the auditing of inspection and corrections of line/equipment, PacifiCorp has layered all additional inspections on to the existing inspection correction program which includes an auditing function regardless of resources utilized to inspect or correct. An internal department is used to audit a percentage of the inspections and corrections to ensure effectiveness and provide corrective actions (such as additional training or refinement of condition codes) into the ongoing program.