## Asset Summary Table
PacifiCorp California Wilfdire Mitigation Plan Work Papers
Asset Overview Summary Table
Asset | Total | Non-Tier |  | Tier II |  | Tier III
| Line-Miles | Line-Miles | % | Line-Miles | % | Line-Miles | %
Total OH Transmission | 783.9 | 390.71 | 49.8% | 322.79 | 41.2% | 70.36 | 9%
69kV Transmission Lines | 438.9 | 246.4 | 56.1% | 183 | 41.7% | 9.51 | 2.2%
115 kV Transmission Lines | 245.6 | 109.78 | 44.7% | 122.16 | 49.7% | 13.69 | 5.6%
230 kV Transmission Lines | 5 | 0 | 0% | 4.98 | 100% | 0 | 0%
500 kV Transmission Lines | 94.3 | 34.53 | 36.6% | 12.62 | 13.4% | 47.16 | 50%
Total OH Distribution | 2520.6 | 1696.27 | 67.3% | 785.2 | 31.2% | 39.081 | 1.6%
Total OH Lines - Miles | 3304.4 | 2087 | 63.2% | 1108 | 33.5% | 109.4 | 3.3%
Total Substations | 63 | 31 | 49.2% | 30 | 47.6% | 2 | 3.2%