## Outages in 2021
Circuit | Outage Cause | Asset ID number of the furthest upstream protective device that operated on the associated circuit. | Latitude of outage location | Longitude of outage location | Fuse? Y/N | Customers Interrupted | Customer Mins of Interruption | Duration in Mins | Outage Start Time
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | UG366083_1910530848 | 41.5232820 | -122.3679601 | Y | 36 | 10553.933 | 306.8 | 2021-01-03 21:24
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | UG366083_1910530848 | 41.5232820 | -122.3679601 | Y | 36 | 4902 | 136.4 | 2021-01-15 08:06
4G1 | OTHER, OTHER, KNOWN CAUSE | OH_110000_1910096448 | 41.5809823 | -122.3990189 | Y | 8 | 1504.4 | 188.1 | 2021-02-11 11:42
4G1 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_236500_1910328060 | 41.5593612 | -122.3884788 | Y | 5 | 1635.083 | 327 | 2021-03-06 11:05
4G1 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_120901_1911192307 | 41.5959100 | -122.3804323 | Y | 5 | 2311 | 462.2 | 2021-03-15 05:56
4G1 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.5640843 | -122.3860081 | N | 7 | 1277.617 | 182.5 | 2021-03-15 20:23
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | N/A | 41.5640245 | -122.3858246 | N | 2 | 467.3 | 233.7 | 2021-03-15 19:31
4G1 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, B/O EQUIPMENT | N/A, Manual Operation | 41.5593612 | -122.3884788 | N | 5 | 176.917 | 35.4 | 2021-03-18 15:38
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_130500_1910332766 | 41.5740861 | -122.3806217 | N | 1 | 92.5 | 92.5 | 2021-03-25 13:48
4G1 | EQUIPMENT FAILURE, B/O EQUIPMENT, EQUIPMENT FAILURE, B/O EQUIPMENT | OH_120901_1911192307 | 41.5959100 | -122.3804323 | Y | 8 | 2145.6 | 268.2 | 2021-04-27 13:15
4G1 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_258160_1910326067 | 41.5398032 | -122.3651821 | Y | 18 | 4128 | 229.3 | 2021-04-29 08:53
4G1 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_121820_1910537254 | 41.5938485 | -122.3777448 | N | 1 | 201.617 | 201.6 | 2021-05-04 18:08
4G1 | OTHER, OTHER, KNOWN CAUSE | TR_010780_1910303563 | 41.5193215 | -122.3808593 | N | 1 | 116.55 | 116.6 | 2021-07-18 13:08
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | UG011385_1910448510 | 41.5135660 | -122.3774230 | N | 20 | 5662.333 | 283.1 | 2021-08-10 11:08
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_121581_1910309049 | 41.5019447 | -122.3786583 | N | 1 | 189.283 | 189.3 | 2021-09-24 18:02
4G1 | INTERFERENCE, VEHICLE ACCIDENT | TR_124180_1910309562 | 41.4965170 | -122.3726045 | N | 2 | 397.867 | 198.9 | 2021-09-29 19:04
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | UG365686_1910648455 | 41.5320022 | -122.3693307 | Y | 27 | 7527.284 | 279 | 2021-10-16 15:35
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_139200_1910534281 | 41.4829737 | -122.3626221 | N | 1 | 70.533 | 70.5 | 2021-10-22 16:24
4G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_253503_1910326511 | 41.5451757 | -122.3733440 | N | 1 | 254.65 | 254.7 | 2021-11-12 10:08
5G1 | OTHER, OTHER, KNOWN CAUSE | TR_120100_1910030317 | 41.5873564 | -122.8390510 | N | 1 | 78.2 | 78.2 | 2021-01-21 16:41
5G1 | OTHER, UNKNOWN | TR_232203_1910031393 | 41.5594649 | -122.8529628 | N | 1 | 92.25 | 92.3 | 2021-02-11 11:27
5G1 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.6036004 | -122.8445448 | N | 4 | 45.867 | 11.5 | 2021-02-12 13:12
5G1 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_023303_1910026281 | 41.6043443 | -122.8506809 | N | 3 | 258 | 86 | 2021-02-18 14:12
5G1 | OTHER, UNKNOWN | OH_231900_1911414850 | 41.5695561 | -122.8545289 | Y | 52 | 11465.133 | 220.5 | 2021-03-31 00:27
5G1 | ANIMALS, ANIMALS | OH_236901_1910031061 | 41.5702125 | -122.8465105 | Y | 2 | 69.667 | 34.8 | 2021-04-05 11:23
5G1 | OTHER, OTHER, KNOWN CAUSE | TR_104380_1910038166 | 41.5894897 | -122.8719182 | N | 1 | 128.35 | 128.4 | 2021-04-28 12:16
5G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_158200_1910031644 | 41.5738907 | -122.8605859 | N | 1 | 140.283 | 140.3 | 2021-06-29 19:15
5G1 | TREES, TREE - NON-PREVENTABLE | TR_246101_1910030952 | 41.5579297 | -122.8269523 | N | 1 | 81.517 | 81.5 | 2021-06-29 19:09
5G1 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.6052906 | -122.8499764 | N | 410 | 3669.5 | 9 | 2021-07-06 07:42
5G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_117200_1910030231 | 41.5904928 | -122.8438632 | N | 1 | 125.733 | 125.7 | 2021-07-19 15:28
5G1 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_026001_1910026848 | 41.5994089 | -122.8450926 | N | 1 | 86.483 | 86.5 | 2021-07-30 23:36
5G1 | OTHER, UNKNOWN | RC_116900_1911415921 | 41.5987056 | -122.8447322 | N | 130 | 23516.45 | 431.2 | 2021-08-06 08:37
5G1 | EQUIPMENT FAILURE, B/O EQUIPMENT, ENVIRONMENT, CONDENSATION / MOISTURE | TR_024301_1910026260 | 41.6051257 | -122.8498487 | N | 3 | 243.3 | 81.1 | 2021-11-17 20:32
5G1 | ANIMALS, BIRD MORTALITY (NON-PROTECTED SPECIES) | OH_214302_1910032154 | 41.5610159 | -122.8890083 | Y | 9 | 1775.25 | 197.3 | 2021-12-11 16:40
5G14 | TREES, TREE - NON-PREVENTABLE | HPC_CB5G14 | 41.8036203 | -123.3726696 | N | 49 | 17019.333 | 347.3 | 2021-11-20 16:47
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_234284_1910141843 | 41.7320557 | -122.6241758 | N | 1 | 65.867 | 65.9 | 2021-01-04 16:23
5G149 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_223805_1910154910 | 41.7405029 | -122.6439349 | N | 9 | 1382.103 | 153.6 | 2021-05-14 06:41
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_112200_1910171227 | 41.7621335 | -122.6283161 | N | 1 | 69.533 | 69.5 | 2021-06-12 02:30
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | UG235381_1910528484 | 41.7324942 | -122.6226413 | N | 73 | 15918.741 | 219.4 | 2021-06-22 22:50
5G149 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_235361_1910141786 | 41.7324540 | -122.6214790 | Y | 88 | 18632.533 | 211.7 | 2021-06-27 19:45
5G149 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.7286225 | -122.6313385 | N | 1037 | 9281.15 | 9 | 2021-07-06 07:42
5G149 | OTHER, UNKNOWN | OH_014101_1910172253 | 41.7730384 | -122.6047926 | Y | 24 | 2785.6 | 116.1 | 2021-07-06 05:11
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | UG234383_1910400213 | 41.7326269 | -122.6240665 | Y | 73 | 11319.4 | 155.4 | 2021-07-06 23:24
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_180003_1910131986 | 41.7425473 | -122.5933643 | Y | 17 | 2954.617 | 244 | 2021-08-06 11:33
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_180003_1910131986 | 41.7425473 | -122.5933643 | Y | 17 | 2617 | 170.9 | 2021-08-22 10:12
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | YRK_CB5G149 | 41.7287920 | -122.6313783 | N | 0 | 0 | 0.1 | 2021-09-17 13:14
5G149 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_180003_1910131986 | 41.7425473 | -122.5933643 | Y | 17 | 2231.717 | 136.9 | 2021-09-17 13:20
5G149 | EQUIPMENT FAILURE, POLE FIRE | OH_113001_1910170843 | 41.7584988 | -122.6253949 | Y | 14 | 2354.333 | 168.2 | 2021-09-27 21:01
5G149 | OTHER, UNKNOWN | OH_113001_1910170843 | 41.7584988 | -122.6253949 | Y | 14 | 1037.4 | 74.1 | 2021-11-02 07:52
5G149 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_142100_1911038548 | 41.7454774 | -122.6270523 | Y | 43 | 5493.25 | 127.8 | 2021-12-27 07:07
5G149 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_014101_1910172253 | 41.7730384 | -122.6047926 | Y | 41 | 11791.6 | 287.6 | 2021-12-27 06:22
5G149 | WEATHER, SNOW, SLEET AND BLIZZARD | YRK_CB5G149 | 41.7287920 | -122.6313783 | N | 0 | 0 | 0.3 | 2021-12-27 06:53
5G149 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_180004_1910131596 | 41.7424127 | -122.5932829 | Y | 21 | 7388.85 | 351.9 | 2021-12-27 06:22
5G149 | WEATHER, SNOW, SLEET AND BLIZZARD | YRK_CB5G149 | 41.7287920 | -122.6313783 | N | 0 | 0 | 0.1 | 2021-12-27 05:59
5G16 | OTHER, UNKNOWN | OH_104200_1910986080 | 41.7891653 | -123.3955191 | Y | 2 | 567.533 | 283.8 | 2021-03-02 11:03
5G16 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.7973527 | -123.3744147 | N | 2 | 263.167 | 131.6 | 2021-04-07 07:59
5G16 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.7969882 | -123.3742181 | N | 2 | 592.033 | 296 | 2021-04-07 05:15
5G16 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_020600_1910075018 | 41.8086713 | -123.3828541 | N | 1 | 52.367 | 52.4 | 2021-12-21 12:39
5G16 | TREES, TREE - NON-PREVENTABLE, WEATHER, SNOW, SLEET AND BLIZZARD | OH_021101_1910076023 | 41.8015143 | -123.3815241 | Y | 10 | 4135.667 | 413.6 | 2021-12-26 08:04
5G16 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_302200_1910000186 | 41.9183777 | -123.4546040 | N | 1 | 1720.583 | 1720.6 | 2021-12-26 10:15
5G16 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_135460_1910081529 | 41.8624117 | -123.3544185 | Y | 6 | 17390.6 | 2898.4 | 2021-12-26 15:44
5G19 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_364000_1910202173 | 41.8739467 | -122.4894971 | N | 1 | 308.233 | 308.2 | 2021-01-30 17:21
5G19 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_328101_1910206303 | 41.9630197 | -122.4441321 | Y | 6 | 1782.7 | 297.1 | 2021-02-15 13:54
5G19 | EQUIPMENT FAILURE, OVERLOAD | OH_328101_1910206303 | 41.9630197 | -122.4441321 | Y | 6 | 7921.5 | 1320.3 | 2021-02-16 00:45
5G19 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_015201_1910202506 | 41.9487492 | -122.6025438 | N | 1 | 274.55 | 274.6 | 2021-04-21 07:45
5G19 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.8980468 | -122.5400133 | N | 857 | 12812.15 | 15 | 2021-07-06 07:42
5G19 | OTHER, OTHER, KNOWN CAUSE | TR_369801_404610105 | 42.0534774 | -122.6419417 | N | 1 | 150.15 | 150.2 | 2021-07-06 14:03
5G19 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_124000_22020036 | 42.0126682 | -122.6513052 | Y | 7 | 4438.583 | 634.1 | 2021-07-19 12:36
5G19 | EQUIPMENT FAILURE, B/O EQUIPMENT | RC_211601_1910535233 | 41.9100628 | -122.5525035 | N | 132 | 14674 | 111.2 | 2021-07-19 16:56
5G19 | LOSS OF SUPPLY, LOSS OF SUBSTATION | N/A | 41.8977532 | -122.5400521 | N | 858 | 167081.2 | 194.7 | 2021-10-23 11:32
5G19 | ANIMALS, ANIMALS | TR_302000_1910188731 | 41.8873206 | -122.4746326 | N | 1 | 223.433 | 223.4 | 2021-10-23 15:42
5G19 | OTHER, UNKNOWN | TR_175300_1910180733 | 41.9224950 | -122.4493002 | N | 1 | 68.683 | 68.7 | 2021-11-25 09:34
5G2 | OTHER, UNKNOWN | OH_301000_1911340526 | 41.6258829 | -122.8171151 | Y | 133 | 20207.133 | 151.9 | 2021-01-03 21:16
5G2 | OTHER, UNKNOWN | TR_022201_1910040835 | 41.6035095 | -122.9701415 | N | 1 | 108.867 | 108.9 | 2021-01-20 07:49
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_258505_1910054029 | 41.6375001 | -122.9395274 | Y | 11 | 2632.667 | 239.3 | 2021-01-20 08:04
5G2 | EQUIPMENT FAILURE, B/O EQUIPMENT, EQUIPMENT FAILURE, B/O EQUIPMENT | TR_034500_1910040050 | 41.6070760 | -122.9854923 | N | 1 | 275 | 275 | 2021-01-31 12:15
5G2 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_251200_1910054096 | 41.6327450 | -122.9538788 | Y | 61 | 15514.313 | 254.3 | 2021-02-03 07:11
5G2 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_027505_1910027898 | 41.6067480 | -122.8434984 | N | 1 | 117.917 | 117.9 | 2021-03-02 09:51
5G2 | PLANNED, CONSTRUCTION | N/A, Manual Operation | 41.6206955 | -122.8948918 | N | 1 | 263.033 | 263 | 2021-03-03 10:08
5G2 | OTHER, UNKNOWN | TR_056900_1910025505 | 41.6089175 | -122.7874407 | N | 1 | 89.267 | 89.3 | 2021-04-12 16:29
5G2 | OTHER, UNKNOWN | TR_056900_1910025505 | 41.6089175 | -122.7874407 | N | 1 | 89.983 | 90 | 2021-04-19 14:27
5G2 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_343800__6198865 | 41.6230695 | -122.7592284 | Y | 1 | 255.833 | 255.8 | 2021-04-25 09:44
5G2 | TREES, TREE - NON-PREVENTABLE | TR_362304_1910051266 | 41.6190289 | -122.8342088 | N | 1 | 111.683 | 111.7 | 2021-05-13 17:31
5G2 | WEATHER, LIGHTNING | TR_339100_1910049931 | 41.6158480 | -122.8790403 | N | 2 | 337 | 168.5 | 2021-05-14 20:00
5G2 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.6292843 | -122.8874131 | N | 2 | 78.867 | 39.4 | 2021-05-19 12:12
5G2 | OTHER, OTHER, KNOWN CAUSE | TR_271800_1910048037 | 41.6405575 | -122.8746938 | N | 1 | 128.283 | 128.3 | 2021-05-26 09:38
5G2 | ANIMALS, BIRD SUSPECTED, NO MORTALITY | OH_021701_1910027182 | 41.6094283 | -122.8551452 | Y | 13 | 2692.733 | 207.1 | 2021-06-13 16:04
5G2 | WEATHER, LIGHTNING | TR_327801_1910048700 | 41.6262423 | -122.9023399 | N | 1 | 293.817 | 293.8 | 2021-06-16 10:17
5G2 | OTHER, OTHER, KNOWN CAUSE | TR_270000_1910047844 | 41.6286909 | -122.8762829 | N | 1 | 260.9 | 260.9 | 2021-06-17 10:42
5G2 | WEATHER, LIGHTNING | OH_329301__6838338 | 41.6192015 | -122.8983139 | Y | 1 | 46.267 | 46.3 | 2021-06-21 11:33
5G2 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, B/O EQUIPMENT | N/A, Manual Operation | 41.6192015 | -122.8983139 | N | 1 | 31.083 | 31.1 | 2021-06-21 14:08
5G2 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_026702__6198811 | 41.6108763 | -122.9616230 | Y | 9 | 2001.75 | 222.4 | 2021-06-25 09:12
5G2 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.6053155 | -122.8501153 | N | 1188 | 10632.6 | 9 | 2021-07-06 07:42
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_028501_1910028611 | 41.6081075 | -122.8418929 | N | 6 | 1580.6 | 263.4 | 2021-07-10 10:04
5G2 | WEATHER, LIGHTNING | OH_297301_1910048612 | 41.6342477 | -122.9027711 | Y | 43 | 7620.317 | 177.2 | 2021-07-30 15:23
5G2 | WEATHER, WIND | TR_365502_1910051530 | 41.6216129 | -122.8289408 | N | 2 | 454.533 | 227.3 | 2021-07-30 16:08
5G2 | EQUIPMENT FAILURE, B/O EQUIPMENT, EQUIPMENT FAILURE, B/O EQUIPMENT | TR_362302_1910051274 | 41.6188535 | -122.8344141 | N | 1 | 83.3 | 83.3 | 2021-07-31 00:20
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_039303_1910039863 | 41.6045761 | -122.9762678 | N | 4 | 388 | 97 | 2021-08-30 13:28
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_305380_1910045201 | 41.6297529 | -122.8113257 | N | 2 | 669.1 | 334.6 | 2021-09-03 21:39
5G2 | INTERFERENCE, DIG-IN (NON-PACIFICORP PERSONNEL) | OH_026702_1910043283 | 41.6108403 | -122.9615627 | Y | 9 | 2536.5 | 281.8 | 2021-09-15 13:10
5G2 | EQUIPMENT FAILURE, POLE FIRE | TR_027600_1910029000 | 41.6083546 | -122.8438567 | N | 3 | 917.7 | 305.9 | 2021-09-28 11:36
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_128400_1910052864 | 41.6774925 | -122.8233440 | N | 2 | 224.3 | 112.2 | 2021-10-01 10:42
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_344900__6198881 | 41.6285932 | -122.9848146 | Y | 3 | 1257.7 | 419.2 | 2021-10-26 22:42
5G2 | TREES, TREE - NON-PREVENTABLE | TR_312563_1911099093 | 41.7073193 | -122.8152280 | N | 1 | 312.917 | 312.9 | 2021-10-27 09:17
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_020401_1910027231 | 41.6055943 | -122.8577779 | N | 1 | 108.4 | 108.4 | 2021-11-10 09:03
5G2 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING, EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_312563_1911099093 | 41.7073193 | -122.8152280 | N | 1 | 167.35 | 167.4 | 2021-12-07 13:02
5G2 | PLANNED, EMERGENCY DAMAGE REPAIR, WEATHER, SNOW, SLEET AND BLIZZARD | N/A, Manual Operation | 41.6196900 | -122.8322996 | N | 221 | 147930.033 | 669.4 | 2021-12-12 01:50
5G2 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_345402_1910055899 | 41.6208441 | -122.9833574 | Y | 24 | 3391.6 | 141.3 | 2021-12-25 14:39
5G2 | TREES, TREE - NON-PREVENTABLE | OH_345402_1910055899 | 41.6208441 | -122.9833574 | Y | 24 | 4214.4 | 175.6 | 2021-12-26 06:01
5G2 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_251200_1910054096 | 41.6327450 | -122.9538788 | Y | 25 | 7449.167 | 298 | 2021-12-27 03:31
5G2 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_258505_1910054029 | 41.6375001 | -122.9395274 | Y | 11 | 5663.533 | 514.9 | 2021-12-27 07:10
5G2 | ANIMALS, BIRD MORTALITY (PROTECTED SPECIES) (BMTS) | TR_317840_1910045420 | 41.6230372 | -122.8077486 | N | 1 | 222.75 | 222.8 | 2021-12-27 13:34
5G2 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_297301_1910048612 | 41.6342477 | -122.9027711 | Y | 44 | 21976.533 | 499.5 | 2021-12-27 06:49
5G2 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_251200_1910054096 | 41.6327450 | -122.9538788 | Y | 20 | 2013.667 | 100.7 | 2021-12-27 11:33
5G2 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_251200_1910054096 | 41.6327450 | -122.9538788 | Y | 41 | 4568.083 | 111.4 | 2021-12-27 11:22
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_225404_1910340857 | 41.6459395 | -122.5249743 | N | 0 | 0 | 1.9 | 2021-02-02 22:43
5G21 | WEATHER, WIND | TR_347001_1910337488 | 41.5239184 | -122.5207861 | N | 1 | 34.083 | 34.1 | 2021-02-03 14:19
5G21 | WEATHER, WIND | OH_339902_1910338964 | 41.5380423 | -122.5353859 | Y | 7 | 1608.017 | 229.7 | 2021-02-04 11:03
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_071600_1910321871 | 41.5032479 | -122.5905091 | Y | 1 | 148 | 148 | 2021-02-18 11:23
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_226003_1910339949 | 41.6408229 | -122.5225232 | N | 1 | 112.017 | 112 | 2021-02-22 16:16
5G21 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.5189643 | -122.5204793 | N | 2 | 188.7 | 94.4 | 2021-03-06 07:11
5G21 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_104600_1910333472 | 41.5908678 | -122.5258975 | N | 1 | 185.467 | 185.5 | 2021-03-17 10:13
5G21 | OTHER, UNKNOWN | TR_110400_1910320754 | 41.5010571 | -122.5142606 | N | 1 | 137.817 | 137.8 | 2021-03-22 07:18
5G21 | OTHER, OTHER, KNOWN CAUSE | TR_092401_1910321295 | 41.5008816 | -122.5500840 | N | 1 | 179.883 | 179.9 | 2021-04-01 10:59
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_038400_1910320335 | 41.5152606 | -122.5184647 | N | 3 | 215.65 | 71.9 | 2021-04-02 13:20
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_346660_1910207575 | 41.6207905 | -122.5220307 | N | 1 | 218.367 | 218.4 | 2021-04-02 21:58
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_037561_1910333855 | 41.6036688 | -122.5205929 | Y | 3 | 391.45 | 130.5 | 2021-04-12 13:25
5G21 | INTERFERENCE, OTHER INTERFERING OBJECT | OH_208000__6195203 | 41.5528079 | -122.5566366 | Y | 1 | 74.55 | 74.6 | 2021-04-19 12:11
5G21 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_345100_1910207507 | 41.6138446 | -122.5246721 | N | 1 | 212.2 | 212.2 | 2021-05-15 19:00
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_105000_1910333679 | 41.5830153 | -122.5237574 | N | 1 | 110.7 | 110.7 | 2021-05-16 09:17
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_035301_1910320238 | 41.5131758 | -122.5254896 | N | 1 | 108.317 | 108.3 | 2021-05-21 13:23
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_110400_1910320754 | 41.5010571 | -122.5142606 | N | 1 | 104.3 | 104.3 | 2021-06-03 08:00
5G21 | OTHER, UNKNOWN | RC_036401_1910528426 | 41.6034777 | -122.5228430 | N | 367 | 67316.183 | 189.7 | 2021-08-13 11:02
5G21 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.6034777 | -122.5228430 | N | 367 | 14141.733 | 38.5 | 2021-09-27 18:17
5G21 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_342180_1911202289 | 41.6126075 | -122.5309551 | N | 1 | 159.333 | 159.3 | 2021-10-26 13:09
5G21 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_110400_1910320754 | 41.5010571 | -122.5142606 | N | 1 | 89.217 | 89.2 | 2021-12-06 13:45
5G21 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_110400_1910320754 | 41.5010571 | -122.5142606 | N | 1 | 177.067 | 177.1 | 2021-12-06 22:53
5G21 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.6372157 | -122.5320891 | N | 55 | 1449.25 | 26.4 | 2021-12-24 14:50
5G23 | EQUIPMENT FAILURE, OVERLOAD |  | 41.5842443 | -122.3449858 | N | 1 | 315.917 | 315.9 | 2021-01-17 10:26
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_353100_1910105315 | 41.6114510 | -122.3924352 | N | 1 | 79.5 | 79.5 | 2021-01-23 20:42
5G23 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_064641_1910087825 | 41.6049676 | -122.3519455 | N | 1 | 88.75 | 88.8 | 2021-02-08 14:45
5G23 | INTERFERENCE, VEHICLE ACCIDENT | OH_081900_1910089243 | 41.5963209 | -122.3373493 | Y | 62 | 4490.083 | 114.4 | 2021-02-16 07:31
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_264940_1911068769 | 41.6376937 | -122.3913032 | N | 1 | 65.4 | 65.4 | 2021-03-06 10:07
5G23 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_235800_1911202059 | 41.6512176 | -122.3878250 | Y | 23 | 2781.083 | 120.9 | 2021-03-06 08:26
5G23 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_214901_1911019077 | 41.5671802 | -122.3115976 | Y | 17 | 3793.833 | 223.2 | 2021-03-06 08:25
5G23 | WEATHER, SNOW, SLEET AND BLIZZARD | N/A | 41.5888708 | -122.3484642 | N | 33 | 5320.15 | 161.2 | 2021-03-06 07:48
5G23 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_136102_1910091214 | 41.5665645 | -122.2498582 | N | 1 | 129.15 | 129.2 | 2021-03-10 19:37
5G23 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_076401__6790885 | 41.5890543 | -122.3485089 | Y | 33 | 9143.2 | 277.1 | 2021-03-15 05:09
5G23 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_235800_1911202059 | 41.6512176 | -122.3878250 | Y | 23 | 4785.533 | 208.1 | 2021-03-15 05:54
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT, WEATHER, SNOW, SLEET AND BLIZZARD | OH_099500_1910090027 | 41.5877456 | -122.3017499 | Y | 34 | 10484.466 | 308.5 | 2021-03-15 07:06
5G23 | PLANNED, EMERGENCY DAMAGE REPAIR, WEATHER, SNOW, SLEET AND BLIZZARD | N/A, Manual Operation | 41.6594711 | -122.3878765 | N | 28 | 1523.2 | 54.4 | 2021-03-15 10:08
5G23 | PLANNED, EMERGENCY DAMAGE REPAIR, WEATHER, SNOW, SLEET AND BLIZZARD | N/A, Manual Operation | 41.6597665 | -122.3868138 | N | 10 | 987.333 | 98.7 | 2021-03-15 09:23
5G23 | OTHER, UNKNOWN | OH_349901_1910101008 | 41.6239142 | -122.4003615 | Y | 18 | 2852.7 | 158.5 | 2021-03-27 18:30
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_283305_1910101553 | 41.6288149 | -122.4320437 | N | 1 | 62.017 | 62 | 2021-03-27 21:44
5G23 | WEATHER, WIND, WEATHER, WIND | TR_227101_1910099120 | 41.6409342 | -122.4051179 | N | 1 | 61.217 | 61.2 | 2021-03-29 13:24
5G23 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | RC_350400_1911341877 | 41.6158454 | -122.3995593 | N | 54 | 4872.133 | 188.5 | 2021-04-25 16:18
5G23 | EQUIPMENT FAILURE, OVERLOAD | TR_105200_1910090759 | 41.5825477 | -122.2904144 | N | 1 | 119.733 | 119.7 | 2021-05-26 06:12
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | SB_044001__6020971 | 41.5957322 | -122.4287759 | N | 14 | 184.1 | 13.2 | 2021-05-27 13:41
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_177402_1910089038 | 41.5743938 | -122.3259969 | N | 3 | 1283.45 | 427.8 | 2021-06-01 07:32
5G23 | OTHER, UNKNOWN | TR_033401_1910095495 | 41.6014784 | -122.4122653 | N | 1 | 120.883 | 120.9 | 2021-06-16 13:15
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_081900_1910089243 | 41.5963209 | -122.3373493 | Y | 70 | 4719.19 | 67.4 | 2021-07-24 18:31
5G23 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, B/O EQUIPMENT | N/A, Manual Operation | 41.6092622 | -122.4010265 | N | 6 | 527.7 | 88 | 2021-08-07 12:05
5G23 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, B/O EQUIPMENT | N/A, Manual Operation | 41.6066603 | -122.3536844 | N | 2 | 65.833 | 32.9 | 2021-08-08 08:08
5G23 | PLANNED, INTENTIONAL TO CLEAR TROUBLE, ANIMALS, ANIMALS | N/A, Manual Operation | 41.5977704 | -122.3217050 | N | 1 | 26.55 | 26.6 | 2021-09-29 13:49
5G23 | EQUIPMENT FAILURE, OVERLOAD | TR_092800_1910089585 | 41.5917804 | -122.3166843 | N | 1 | 82.65 | 82.7 | 2021-10-09 15:16
5G23 | OTHER, UNKNOWN | OH_173902_1910088664 | 41.5819250 | -122.3345032 | Y | 5 | 635.833 | 127.2 | 2021-10-20 16:50
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_277000_1910101029 | 41.6245519 | -122.4050197 | N | 2 | 235.833 | 117.9 | 2021-10-21 10:01
5G23 | EQUIPMENT FAILURE, POLE FIRE | OH_076401__6790885 | 41.5890543 | -122.3485089 | Y | 32 | 4431.117 | 290.6 | 2021-10-22 02:11
5G23 | WEATHER, WIND | TR_228601_1910099028 | 41.6477650 | -122.4025331 | N | 1 | 501.933 | 501.9 | 2021-10-24 04:48
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | RC_350400_1911341877 | 41.6158454 | -122.3995593 | N | 55 | 8281.167 | 150.6 | 2021-10-30 22:25
5G23 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_213901_1910090352 | 41.5671496 | -122.3140815 | N | 1 | 98 | 98 | 2021-12-05 14:44
5G39 | TREES, TREE - NON-PREVENTABLE | OH_064200_1910065256 | 41.8555604 | -123.1659999 | Y | 27 | 14363.1 | 532 | 2021-10-24 13:19
5G39 | TREES, TREE - NON-PREVENTABLE | SEI_T2803 | 41.8407798 | -123.1923359 | N | 242 | 1710.133 | 7.1 | 2021-10-26 16:06
5G39 | TREES, TREE - NON-PREVENTABLE | TR_137501_1910067503 | 41.8307187 | -123.1802036 | N | 1 | 327 | 327 | 2021-11-04 08:19
5G39 | LOSS OF SUPPLY, LOSS OF SUBSTATION, WEATHER, SNOW, SLEET AND BLIZZARD | SEI_CB5G39 | 41.8406398 | -123.1923617 | N | 214 | 1494.433 | 7 | 2021-12-12 09:11
5G39 | TREES, TREE - NON-PREVENTABLE, WEATHER, SNOW, SLEET AND BLIZZARD | OH_064200_1910065256 | 41.8555604 | -123.1659999 | Y | 27 | 23464.8 | 869.1 | 2021-12-12 02:06
5G39 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_114500_1910068464 | 41.8460583 | -123.2053893 | N | 1 | 166 | 166 | 2021-12-29 11:45
5G40 | TREES, TREE - NON-PREVENTABLE | SCB_CB5G40 | 41.7421002 | -122.9996828 | N | 346 | 92358.933 | 266.9 | 2021-07-30 15:42
5G40 | TREES, TREE - NON-PREVENTABLE | SCB_T2820 | 41.7422131 | -122.9995929 | N | 346 | 23297.333 | 67.3 | 2021-10-26 16:07
5G40 | OTHER, UNKNOWN | N/A | 41.8387272 | -122.8486284 | N | 7 | 1753.267 | 250.5 | 2021-10-31 11:02
5G40 | LOSS OF SUPPLY, LOSS OF SUBSTATION, WEATHER, SNOW, SLEET AND BLIZZARD | SCB_CB5G40 | 41.7421002 | -122.9996828 | N | 346 | 4013.6 | 11.6 | 2021-12-12 09:11
5G40 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_087400_1910064634 | 41.8427538 | -123.0281983 | Y | 13 | 6911.233 | 531.6 | 2021-12-27 07:38
5G41 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.4932073 | -122.9001227 | N | 1 | 20.133 | 20.1 | 2021-02-01 10:12
5G41 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_366903_1910043834 | 41.5410391 | -122.9432114 | Y | 28 | 1421.467 | 50.8 | 2021-02-03 07:11
5G41 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.4999282 | -122.8731812 | N | 2 | 146.2 | 73.1 | 2021-03-04 09:50
5G41 | TREES, TREE - NON-PREVENTABLE | TR_293600_1910034306 | 41.5503952 | -122.9100890 | N | 3 | 786.65 | 262.2 | 2021-03-06 03:48
5G41 | OTHER, UNKNOWN | OH_065801__3486163 | 41.5243901 | -122.9244970 | Y | 41 | 2375.95 | 58 | 2021-03-06 09:20
5G41 | ANIMALS, BIRD MORTALITY (NON-PROTECTED SPECIES) | TR_299006_1910013811 | 41.4542326 | -122.8972375 | N | 5 | 467.083 | 93.4 | 2021-03-19 10:58
5G41 | ANIMALS, BIRD SUSPECTED, NO MORTALITY | TR_144000_1910020472 | 41.4821041 | -122.8493116 | N | 1 | 86 | 86 | 2021-03-25 12:07
5G41 | ANIMALS, BIRD MORTALITY (NON-PROTECTED SPECIES) | TR_299006_1910013811 | 41.4542326 | -122.8972375 | N | 5 | 453.917 | 90.8 | 2021-04-01 08:09
5G41 | TREES, TREE - NON-PREVENTABLE | TR_131300_1910041545 | 41.5760080 | -122.9524289 | N | 1 | 129.05 | 129.1 | 2021-05-06 16:04
5G41 | ANIMALS, ANIMALS | TR_051901_1910019455 | 41.5266059 | -122.9137096 | N | 1 | 66.333 | 66.3 | 2021-05-12 09:36
5G41 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_283200_1910035926 | 41.5455782 | -122.8894368 | N | 1 | 138.833 | 138.8 | 2021-05-19 08:08
5G41 | TREES, TREE - NON-PREVENTABLE | OH_131100_1910041424 | 41.5720816 | -122.9530642 | Y | 19 | 2567.223 | 135.1 | 2021-05-19 14:31
5G41 | OTHER, UNKNOWN | TR_146700_1910041828 | 41.5815823 | -122.9628495 | N | 1 | 54.867 | 54.9 | 2021-07-01 20:08
5G41 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.4930007 | -122.9058522 | N | 1417 | 12682.15 | 9 | 2021-07-06 07:42
5G41 | ANIMALS, BIRD MORTALITY (PROTECTED SPECIES) (BMTS) | OH_286360_1911123391 | 41.4587235 | -122.8829012 | Y | 7 | 850.967 | 121.6 | 2021-07-11 06:33
5G41 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_068902__6198705 | 41.5258893 | -122.9193280 | Y | 5 | 2039.833 | 408 | 2021-07-22 07:57
5G41 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_248880_1910040275 | 41.5687565 | -122.9390101 | N | 1 | 47.333 | 47.3 | 2021-07-29 14:43
5G41 | WEATHER, LIGHTNING | TR_290004_1910034395 | 41.5421536 | -122.9139703 | N | 1 | 65.883 | 65.9 | 2021-07-30 19:36
5G41 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_324905_1911070276 | 41.5406909 | -122.9070514 | Y | 128 | 9742.933 | 76.1 | 2021-07-30 17:52
5G41 | OTHER, UNKNOWN | RC_175701_1911436410 | 41.4933950 | -122.9051373 | N | 107 | 19749.7 | 208.8 | 2021-08-09 18:52
5G41 | EQUIPMENT FAILURE, B/O EQUIPMENT, WEATHER, LIGHTNING | TR_326500_1910036941 | 41.5354336 | -122.9046873 | N | 2 | 639.067 | 319.5 | 2021-08-11 08:38
5G41 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_056580_1910016492 | 41.5206453 | -122.9031235 | N | 1 | 103.367 | 103.4 | 2021-08-25 20:26
5G41 | OTHER, UNKNOWN | RC_175760_1911436438 | 41.4941630 | -122.9062262 | N | 679 | 211406.65 | 311.4 | 2021-08-29 00:13
5G41 | OTHER, UNKNOWN | RC_175561_1911436380 | 41.4913594 | -122.9056614 | N | 632 | 143702.9 | 348.9 | 2021-08-30 21:51
5G41 | OTHER, UNKNOWN | RC_175760_1911436438 | 41.4941630 | -122.9062262 | N | 476 | 101078.6 | 212.4 | 2021-09-05 07:31
5G41 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_254000_1910044434 | 41.5411883 | -122.9471279 | Y | 33 | 8770.85 | 265.8 | 2021-09-05 07:34
5G41 | OTHER, UNKNOWN | RC_296703_1911398503 | 41.5523796 | -122.9032080 | N | 170 | 61188.667 | 359.9 | 2021-09-05 07:34
5G41 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_058701_1910016795 | 41.5220923 | -122.9000637 | N | 1 | 219.033 | 219 | 2021-09-10 05:37
5G41 | OTHER, UNKNOWN | OH_362100__6198757 | 41.5292174 | -122.9515578 | Y | 3 | 511.45 | 170.5 | 2021-09-11 19:42
5G41 | OTHER, UNKNOWN | OH_055204_1910016140 | 41.5153904 | -122.9063606 | Y | 9 | 1091.1 | 121.2 | 2021-09-22 10:26
5G41 | EQUIPMENT FAILURE, POLE FIRE | OH_055701_1910016830 | 41.5231237 | -122.9062446 | Y | 10 | 2670.833 | 267.1 | 2021-11-02 01:13
5G41 | TREES, TREE - NON-PREVENTABLE | TR_066200_1910017300 | 41.5149033 | -122.9232953 | N | 1 | 324.683 | 324.7 | 2021-11-04 04:17
5G41 | TREES, TREE - NON-PREVENTABLE | OH_366903_1910043834 | 41.5410391 | -122.9432114 | Y | 28 | 7404.833 | 338.9 | 2021-11-04 03:29
5G41 | ANIMALS, BIRD MORTALITY (PROTECTED SPECIES) (BMTS) | OH_284560_1911087261 | 41.4615479 | -122.8882330 | Y | 30 | 7907.5 | 263.6 | 2021-11-14 16:00
5G41 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_310901_1910957739 | 41.5411189 | -122.9345636 | Y | 90 | 14367 | 159.6 | 2021-12-12 11:47
5G41 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_254000_1910044434 | 41.5411883 | -122.9471279 | Y | 33 | 1574.1 | 47.7 | 2021-12-12 14:33
5G41 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_065801__3486163 | 41.5243901 | -122.9244970 | Y | 41 | 6087.133 | 148.5 | 2021-12-26 21:37
5G41 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_221502__3654126 | 41.4756300 | -122.8747937 | Y | 11 | 3932.5 | 357.5 | 2021-12-26 19:09
5G41 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_249701_1910639793 | 41.5666741 | -122.9369627 | Y | 1 | 451.55 | 451.6 | 2021-12-27 09:22
5G41 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_065801__3486163 | 41.5243901 | -122.9244970 | Y | 41 | 15403.7 | 375.7 | 2021-12-27 09:47
5G45 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_029106_1910284718 | 41.4237096 | -122.3827094 | N | 1 | 136.967 | 137 | 2021-01-31 15:29
5G45 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_131801_1910286226 | 41.4047750 | -122.3795181 | Y | 28 | 2503.567 | 99.4 | 2021-03-12 14:39
5G45 | WEATHER, WIND | TR_029201_1910284678 | 41.4243838 | -122.3830022 | N | 1 | 139.267 | 139.3 | 2021-06-11 11:32
5G45 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_149501_1911183691 | 41.4005529 | -122.3822279 | Y | 83 | 21686.3 | 273.5 | 2021-07-25 02:23
5G45 | OTHER, UNKNOWN | OH_149501_1911183691 | 41.4005529 | -122.3822279 | Y | 84 | 4965.8 | 59.1 | 2021-11-24 08:59
5G45 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.4026611 | -122.3839589 | N | 9 | 486.45 | 54.1 | 2021-12-02 13:04
5G5 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_272682_1910160901 | 41.7229946 | -122.6471135 | N | 1 | 150.183 | 150.2 | 2021-02-20 07:46
5G5 | INTERFERENCE, VEHICLE ACCIDENT | TR_270280_1910164115 | 41.7173847 | -122.6503283 | N | 1 | 77.183 | 77.2 | 2021-05-28 13:08
5G5 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_342100_1910640207 | 41.7007442 | -122.6467395 | Y | 9 | 546.6 | 60.7 | 2021-06-01 10:24
5G5 | PLANNED, EMERGENCY DAMAGE REPAIR, INTERFERENCE, VEHICLE ACCIDENT | N/A, Manual Operation | 41.7180012 | -122.6517467 | N | 18 | 484.2 | 26.9 | 2021-06-10 14:44
5G5 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.7110611 | -122.6490949 | N | 1209 | 10820.55 | 9 | 2021-07-06 07:42
5G5 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_045501_1910111512 | 41.6917622 | -122.6587618 | Y | 16 | 1566.4 | 97.9 | 2021-07-12 20:26
5G5 | OTHER, UNKNOWN | GRH_CB5G5 | 41.7112503 | -122.6491366 | N | 0 | 0 | 0.1 | 2021-07-12 20:20
5G5 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_045501_1910111512 | 41.6917622 | -122.6587618 | Y | 24 | 6027.6 | 387.8 | 2021-07-12 16:42
5G5 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_273480_1910162950 | 41.7199598 | -122.6440484 | N | 4 | 1352.8 | 338.2 | 2021-07-30 18:45
5G5 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_274880_1910162518 | 41.7261933 | -122.6418958 | N | 9 | 2998.5 | 333.2 | 2021-09-10 07:07
5G5 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.7258202 | -122.6411026 | N | 2 | 101.933 | 51 | 2021-09-10 11:49
5G5 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_274440_1910640195 | 41.7201304 | -122.6436698 | Y | 5 | 2085.75 | 417.2 | 2021-09-23 04:15
5G5 | OTHER, UNKNOWN | GRH_CB5G5 | 41.7112503 | -122.6491366 | N | 0 | 0 | 0.2 | 2021-12-25 09:09
5G5 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_272680_1910162318 | 41.7237318 | -122.6466880 | N | 7 | 1051.867 | 150.3 | 2021-12-25 13:03
5G5 | OTHER, UNKNOWN | GRH_CB5G5 | 41.7112503 | -122.6491366 | N | 0 | 0 | 0.2 | 2021-12-27 04:16
5G5 | WEATHER, SNOW, SLEET AND BLIZZARD | TR_272680_1910162318 | 41.7237318 | -122.6466880 | N | 1 | 124.7 | 124.7 | 2021-12-28 10:21
5G6 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_085440_1910179975 | 41.9398341 | -122.3337923 | N | 1 | 122.067 | 122.1 | 2021-10-11 15:44
5G6 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_262000_1910187146 | 41.8895874 | -122.3968095 | N | 1 | 41.75 | 41.8 | 2021-10-24 21:53
5G6 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_135200_1910186447 | 41.9215833 | -122.3707020 | Y | 26 | 3205.367 | 123.3 | 2021-10-24 09:24
5G6 | WEATHER, WIND | TR_264001_1910187120 | 41.8890629 | -122.3926298 | N | 1 | 182.15 | 182.2 | 2021-10-26 09:49
5G6 | OTHER, UNKNOWN | OH_135200_1910186447 | 41.9215833 | -122.3707020 | Y | 26 | 3765.233 | 144.8 | 2021-12-06 16:22
5G6 | OTHER, UNKNOWN | OH_135200_1910186447 | 41.9215833 | -122.3707020 | Y | 26 | 2848.3 | 109.6 | 2021-12-07 16:22
5G6 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_135200_1910186447 | 41.9215833 | -122.3707020 | Y | 26 | 4579.467 | 176.1 | 2021-12-09 16:19
5G6 | OTHER, UNKNOWN | OH_135200_1910186447 | 41.9215833 | -122.3707020 | Y | 26 | 5603 | 215.5 | 2021-12-11 16:21
5G6 | ANIMALS, BIRD SUSPECTED, NO MORTALITY | OH_135200_1910186447 | 41.9215833 | -122.3707020 | Y | 26 | 1769.733 | 68.1 | 2021-12-12 16:02
5G63 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_325501_1910008805 | 41.3591754 | -122.9049224 | Y | 13 | 1990.733 | 153.1 | 2021-01-15 17:37
5G63 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, DETERIORATION OR ROTTING | N/A, Manual Operation | 41.4807276 | -122.8252667 | N | 2 | 54.1 | 27.1 | 2021-02-04 15:24
5G63 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_106100_1910004602 | 41.4118710 | -122.8642735 | N | 2 | 292.4 | 146.2 | 2021-02-16 18:57
5G63 | OTHER, UNKNOWN | UG328880_1910355320 | 41.3633955 | -122.8993740 | N | 16 | 1541.333 | 96.6 | 2021-03-06 07:48
5G63 | WEATHER, LIGHTNING | TR_127501_1910002711 | 41.3311580 | -122.8275319 | N | 1 | 371.883 | 371.9 | 2021-05-14 17:18
5G63 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_259302_1910003404 | 41.3705041 | -122.7123640 | Y | 0 | 0 | 1.8 | 2021-06-26 11:11
5G63 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.3727885 | -122.8329949 | N | 538 | 4815.1 | 9 | 2021-07-06 07:42
5G63 | TREES, TREE - NON-PREVENTABLE | TR_299401_1910008520 | 41.3722977 | -122.8966594 | N | 1 | 272.733 | 272.7 | 2021-07-31 03:59
5G63 | TREES, TREE - NON-PREVENTABLE, WEATHER, WIND | OH_107201_1910004583 | 41.4135883 | -122.8622428 | Y | 114 | 27349.217 | 517.4 | 2021-07-31 04:34
5G63 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_022600_1910005235 | 41.4346835 | -122.8531425 | N | 1 | 161.717 | 161.7 | 2021-08-02 07:03
5G63 | OTHER, UNKNOWN | YUB_CB5G63 | 41.3729765 | -122.8330267 | N | 539 | 47045.717 | 87.3 | 2021-09-18 11:08
5G63 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_326402_1910008800 | 41.3580186 | -122.9025494 | Y | 3 | 834.7 | 278.2 | 2021-10-22 10:09
5G63 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_160001_1910000329 | 41.3088873 | -122.7998812 | Y | 51 | 12006.25 | 235.4 | 2021-10-24 05:05
5G63 | TREES, TREE - NON-PREVENTABLE | OH_327900_1910009024 | 41.3649786 | -122.9017895 | Y | 59 | 15624.183 | 264.8 | 2021-10-24 15:36
5G69 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_242940_1910233071 | 41.2308815 | -122.2812576 | N | 1 | 246.05 | 246.1 | 2021-01-28 14:33
5G69 | EQUIPMENT FAILURE, B/O EQUIPMENT | SB_245305_1911192384 | 41.2224265 | -122.2759695 | N | 303 | 61762.25 | 204.3 | 2021-02-02 23:24
5G69 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_061561_1910228914 | 41.2541376 | -122.2631207 | Y | 2 | 133.433 | 66.7 | 2021-02-27 15:28
5G69 | ANIMALS, ANIMALS | TR_070604_1910229285 | 41.2416542 | -122.2637379 | N | 1 | 85.267 | 85.3 | 2021-03-29 15:46
5G69 | ANIMALS, ANIMALS | TR_135400_1910231317 | 41.2381250 | -122.2756642 | N | 1 | 182.533 | 182.5 | 2021-05-03 11:42
5G69 | OTHER, UNKNOWN | NDU_CB5G69 | 41.2206045 | -122.2765235 | N | 0 | 0 | 1.9 | 2021-07-17 14:55
5G69 | ANIMALS, BIRD MORTALITY (PROTECTED SPECIES) (BMTS) | NDU_CB5G69 | 41.2206045 | -122.2765235 | N | 520 | 224052.233 | 507 | 2021-07-17 11:53
5G69 | OTHER, UNKNOWN | NDU_CB5G69 | 41.2206045 | -122.2765235 | N | 520 | 20314.667 | 39.1 | 2021-07-28 09:17
5G69 | OTHER, UNKNOWN | NDU_CB5G69 | 41.2206045 | -122.2765235 | N | 520 | 10521.333 | 20.2 | 2021-07-28 11:12
5G69 | TREES, TREE - NON-PREVENTABLE | TR_137201_1910231539 | 41.2358043 | -122.2707687 | N | 1 | 318.517 | 318.5 | 2021-08-06 03:15
5G69 | INTERFERENCE, OTHER UTILITY/CONTRACTOR | NDU_CB5G69 | 41.2206045 | -122.2765235 | N | 521 | 24096.25 | 46.3 | 2021-11-12 12:31
5G69 | INTERFERENCE, OTHER INTERFERING OBJECT | NDU_CB5G69 | 41.2206045 | -122.2765235 | N | 491 | 16964.05 | 34.6 | 2021-12-07 12:20
5G7 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING, EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_351205_1910169236 | 41.7020882 | -122.6278158 | N | 1 | 78.033 | 78 | 2021-02-08 12:58
5G7 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_142101_1911037988 | 41.6561000 | -122.6268690 | N | 1 | 40.017 | 40 | 2021-02-13 07:36
5G7 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.6582478 | -122.5923641 | N | 15 | 587.25 | 39.2 | 2021-02-15 11:53
5G7 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_191001_1910156809 | 41.7275415 | -122.7058386 | N | 1 | 98.2 | 98.2 | 2021-02-15 14:22
5G7 | PLANNED, CONSTRUCTION | N/A, Manual Operation | 41.6655958 | -122.6077573 | N | 2 | 68.367 | 34.2 | 2021-02-19 13:46
5G7 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_346704_1910613257 | 41.7092433 | -122.6400246 | Y | 15 | 2571 | 171.4 | 2021-05-05 19:32
5G7 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_145780_1910116356 | 41.6659483 | -122.6211738 | N | 1 | 304.7 | 304.7 | 2021-05-14 13:24
5G7 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, DETERIORATION OR ROTTING | N/A, Manual Operation | 41.6659483 | -122.6211738 | N | 4 | 178.333 | 44.6 | 2021-05-14 17:44
5G7 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_290500_1910156426 | 41.7209935 | -122.6900163 | N | 1 | 195.05 | 195.1 | 2021-05-29 17:40
5G7 | OTHER, UNKNOWN | TR_355900_1910167814 | 41.7122058 | -122.6213786 | N | 4 | 493.467 | 123.4 | 2021-06-16 19:04
5G7 | ANIMALS, ANIMALS | TR_348000_1910168962 | 41.7001935 | -122.6345378 | N | 1 | 76.183 | 76.2 | 2021-06-19 16:32
5G7 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.7110771 | -122.6489483 | N | 1599 | 14311.05 | 9 | 2021-07-06 07:42
5G7 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_078900_1911413131 | 41.5950515 | -122.5785236 | Y | 3 | 1329.75 | 443.3 | 2021-07-09 20:47
5G7 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_286004_1910169844 | 41.7148217 | -122.6580331 | N | 2 | 353.667 | 176.8 | 2021-07-17 13:33
5G7 | ANIMALS, BIRD MORTALITY (NON-PROTECTED SPECIES) | TR_286004_1910169844 | 41.7148217 | -122.6580331 | N | 2 | 320.167 | 160.1 | 2021-07-18 08:49
5G7 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_346704_1910613257 | 41.7092433 | -122.6400246 | Y | 1 | 68.033 | 68 | 2021-08-11 15:20
5G7 | ANIMALS, ANIMALS | TR_352100_1910169456 | 41.7011391 | -122.6255134 | N | 1 | 171.5 | 171.5 | 2021-08-24 07:35
5G7 | ANIMALS, BIRD MORTALITY (PROTECTED SPECIES) (BMTS) | OH_261005_1910158481 | 41.7148129 | -122.6291124 | Y | 436 | 33252.267 | 76.3 | 2021-09-06 09:11
5G7 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_347800_1910166150 | 41.7114700 | -122.6379313 | Y | 28 | 4464.599 | 170.4 | 2021-09-07 02:53
5G7 | TREES, TREE - NON-PREVENTABLE | OH_260760_1910172846 | 41.7230332 | -122.7476385 | Y | 1 | 170.667 | 170.7 | 2021-10-26 18:18
5G7 | INTERFERENCE, DIG-IN (NON-PACIFICORP PERSONNEL) | OH_261200_1910640176 | 41.7168192 | -122.6304151 | Y | 8 | 1516 | 189.5 | 2021-10-31 10:26
5G7 | ANIMALS, ANIMALS | TR_348002_1910168943 | 41.6995414 | -122.6340762 | N | 2 | 286.833 | 143.4 | 2021-11-19 10:01
5G7 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_291580_1911069422 | 41.7221233 | -122.6875263 | N | 1 | 306.917 | 306.9 | 2021-12-12 08:34
5G7 | EQUIPMENT FAILURE, OVERLOAD | TR_287300_1910172973 | 41.7176486 | -122.7744120 | N | 2 | 480.867 | 240.4 | 2021-12-18 18:57
5G7 | ANIMALS, BIRD MORTALITY (PROTECTED SPECIES) (BMTS) | TR_282203_1910170195 | 41.7166523 | -122.6652967 | N | 3 | 182.05 | 60.7 | 2021-12-20 15:04
5G7 | WEATHER, SNOW, SLEET AND BLIZZARD | TR_290500_1910156426 | 41.7209935 | -122.6900163 | N | 1 | 63.083 | 63.1 | 2021-12-24 15:58
5G7 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_309500_1911338861 | 41.7204881 | -122.6906244 | Y | 8 | 599.2 | 74.9 | 2021-12-24 15:44
5G7 | OTHER, UNKNOWN | GRH_CB5G7 | 41.7112499 | -122.6489900 | N | 0 | 0 | 0.1 | 2021-12-27 02:59
5G7 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_345004_1910168834 | 41.6994962 | -122.6399105 | Y | 91 | 17966.433 | 197.4 | 2021-12-27 03:02
5G7 | WEATHER, SNOW, SLEET AND BLIZZARD | TR_287300_1910172973 | 41.7176486 | -122.7744120 | N | 1 | 793.033 | 793 | 2021-12-27 08:08
5G7 | ANIMALS, BIRD MORTALITY (NON-PROTECTED SPECIES) | TR_282203_1910170195 | 41.7166523 | -122.6652967 | N | 1 | 142.95 | 143 | 2021-12-29 08:21
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_225600_1910262418 | 41.2997084 | -122.2957801 | Y | 1 | 41.433 | 41.4 | 2021-02-01 15:41
5G79 | ANIMALS, ANIMALS | OH_272001_1911336422 | 41.2766100 | -122.3025290 | Y | 21 | 1299.2 | 61.9 | 2021-02-01 15:48
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_298202_1910275579 | 41.2803007 | -122.3288606 | N | 3 | 487.5 | 162.5 | 2021-02-15 10:31
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_150341_1910256419 | 41.3100653 | -122.3062016 | N | 1 | 93.033 | 93 | 2021-02-27 08:56
5G79 | OTHER, OTHER, KNOWN CAUSE | OH_169046_1910254821 | 41.3056349 | -122.3065330 | Y | 394 | 44810.933 | 113.7 | 2021-03-15 06:06
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_165200__3583482 | 41.3088425 | -122.3143523 | Y | 25 | 9526.667 | 381.1 | 2021-03-15 07:19
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_213543_1910260169 | 41.2979725 | -122.3178045 | Y | 22 | 4202.467 | 191.1 | 2021-05-26 13:50
5G79 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_203401_1910258269 | 41.2981557 | -122.3379866 | N | 2 | 372.467 | 186.2 | 2021-05-31 14:49
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_271801_1911019003 | 41.2881590 | -122.3030812 | Y | 7 | 2616.617 | 541.1 | 2021-06-07 15:24
5G79 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_288581_1910273270 | 41.2850167 | -122.3096919 | N | 13 | 6420.917 | 493.9 | 2021-06-13 10:17
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_212480_1910260328 | 41.2977106 | -122.3214301 | N | 1 | 285.167 | 285.2 | 2021-06-15 11:45
5G79 | ANIMALS, ANIMALS | TR_317800_1910275975 | 41.2749961 | -122.3498920 | N | 1 | 149.25 | 149.3 | 2021-07-14 08:43
5G79 | EQUIPMENT FAILURE, B/O EQUIPMENT | SB_219806_1911182371 | 41.3031439 | -122.3078839 | N | 423 | 69624.165 | 164.9 | 2021-07-15 03:33
5G79 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, B/O EQUIPMENT | N/A, Manual Operation | 41.3031439 | -122.3078839 | N | 477 | 8053.35 | 16.9 | 2021-07-15 06:01
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_272040_1910274850 | 41.2771751 | -122.3014366 | N | 1 | 168.233 | 168.2 | 2021-07-25 11:15
5G79 | OTHER, UNKNOWN | MTS_CB5G79 | 41.3045019 | -122.3216797 | N | 1901 | 504876.35 | 438.3 | 2021-08-17 15:20
5G79 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.3128745 | -122.2794291 | N | 2 | 31.9 | 16 | 2021-09-05 22:50
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_144480__4645480 | 41.3125042 | -122.2799649 | N | 1 | 205.25 | 205.3 | 2021-09-05 19:41
5G79 | EQUIPMENT FAILURE, B/O EQUIPMENT | MTS_CB5G79 | 41.3045019 | -122.3216797 | N | 1899 | 34973.25 | 18.4 | 2021-09-10 12:22
5G79 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_272703_1910273821 | 41.2880549 | -122.3026601 | N | 3 | 219.75 | 73.3 | 2021-10-21 20:29
5G79 | TREES, TREE - NON-PREVENTABLE | OH_316802__3583486 | 41.2740803 | -122.3512089 | Y | 14 | 2817.038 | 201.2 | 2021-10-22 08:24
5G79 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.2780605 | -122.3548127 | N | 13 | 2048.15 | 157.6 | 2021-10-22 09:07
5G79 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_169046_1910254821 | 41.3056349 | -122.3065330 | Y | 316 | 43518.467 | 137.7 | 2021-10-30 06:08
5G79 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_155400_1910257460 | 41.3123282 | -122.2956507 | Y | 1 | 333.8 | 333.8 | 2021-11-04 07:23
5G83 | WEATHER, WIND | TR_012641_1910283641 | 41.4304939 | -122.3771476 | N | 8 | 733.2 | 91.7 | 2021-01-04 08:05
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_012641_1910283641 | 41.4304939 | -122.3771476 | N | 9 | 811.8 | 90.2 | 2021-01-05 12:18
5G83 | PLANNED, EMERGENCY DAMAGE REPAIR, WEATHER, WIND | N/A, Manual Operation | 41.4310887 | -122.3732243 | N | 1 | 65.367 | 65.4 | 2021-02-01 08:51
5G83 | PLANNED, ENERGY EMERGENCY INTERRUPTION, WEATHER, WIND | N/A, Manual Operation | 41.4337064 | -122.3741656 | N | 1 | 152 | 152 | 2021-02-01 07:25
5G83 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.4142928 | -122.3911894 | N | 2 | 176.933 | 88.5 | 2021-02-08 09:00
5G83 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_116380_1910279731 | 41.4126229 | -122.3893207 | N | 1 | 121.3 | 121.3 | 2021-02-08 08:28
5G83 | WEATHER, WIND | TR_012402_1910283161 | 41.4277277 | -122.3773638 | N | 2 | 168.667 | 84.3 | 2021-02-14 23:23
5G83 | WEATHER, WIND | TR_013800_1910284370 | 41.4337064 | -122.3741656 | N | 1 | 76.083 | 76.1 | 2021-02-19 08:55
5G83 | INTERFERENCE, VEHICLE ACCIDENT, WEATHER, WIND | RC_026762_1910528420 | 41.4320472 | -122.3888082 | N | 563 | 49534.617 | 88 | 2021-03-04 10:12
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_027941_1910281235 | 41.4349333 | -122.3863316 | N | 1 | 81.1 | 81.1 | 2021-03-04 12:45
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_120103_1910285803 | 41.4093718 | -122.3805076 | N | 1 | 160.3 | 160.3 | 2021-03-04 12:18
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING, WEATHER, WIND | TR_308502_1910319256 | 41.4583406 | -122.4618724 | N | 1 | 61.117 | 61.1 | 2021-03-04 23:55
5G83 | WEATHER, WIND | TR_360140_1910316004 | 41.4387894 | -122.3804432 | N | 4 | 478.8 | 119.7 | 2021-03-08 13:02
5G83 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_011703_1910283901 | 41.4317725 | -122.3780073 | N | 1 | 67.367 | 67.4 | 2021-03-15 14:13
5G83 | ANIMALS, ANIMALS | TR_026942_1910281063 | 41.4353605 | -122.3876665 | N | 10 | 455.33 | 45.5 | 2021-03-30 13:50
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_117780_1910280173 | 41.4177112 | -122.3874165 | N | 1 | 183 | 183 | 2021-05-08 07:22
5G83 | ANIMALS, ANIMALS | TR_225801_1910291346 | 41.3898331 | -122.4104860 | N | 1 | 115.167 | 115.2 | 2021-05-09 09:01
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_229280_1910292992 | 41.3816177 | -122.4023511 | N | 1 | 236.867 | 236.9 | 2021-05-10 07:57
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | N/A | 41.4732600 | -122.4492318 | N | 10 | 1543.667 | 154.4 | 2021-05-13 13:30
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | N/A | 41.4732707 | -122.4491696 | N | 10 | 1327.833 | 132.8 | 2021-05-13 16:29
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_151301_1911070249 | 41.3972647 | -122.4176498 | Y | 37 | 7498.65 | 348.5 | 2021-06-08 12:59
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_108700_1910289311 | 41.4183449 | -122.4030720 | Y | 6 | 2561.4 | 426.9 | 2021-06-12 12:36
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_231300__3369725 | 41.3834491 | -122.3983664 | Y | 25 | 2198.333 | 87.9 | 2021-06-17 08:52
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | RC_334700_1910543046 | 41.4474261 | -122.4307898 | N | 475 | 109273.633 | 573.1 | 2021-07-07 06:54
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_158501_1910667025 | 41.4002854 | -122.4043953 | Y | 1 | 258.9 | 258.9 | 2021-07-20 05:46
5G83 | OTHER, OTHER, KNOWN CAUSE | TR_116380_1910279731 | 41.4126229 | -122.3893207 | N | 1 | 81.45 | 81.5 | 2021-08-13 15:08
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_117506_1910280325 | 41.4152301 | -122.3866929 | Y | 6 | 2362.8 | 393.8 | 2021-08-13 19:45
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_118302_1910285602 | 41.4125015 | -122.3845771 | N | 4 | 218.867 | 54.7 | 2021-08-14 11:44
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_108700_1910289311 | 41.4183449 | -122.4030720 | Y | 6 | 3214.9 | 535.8 | 2021-09-03 23:32
5G83 | OTHER, UNKNOWN | TR_349600_1910317898 | 41.4451773 | -122.4015492 | N | 1 | 76.883 | 76.9 | 2021-09-19 16:26
5G83 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_151300_1911070244 | 41.3968977 | -122.4170345 | Y | 216 | 26061.367 | 146 | 2021-10-21 14:23
5G83 | EQUIPMENT FAILURE, OVERLOAD | TR_167480_1910290825 | 41.3988621 | -122.4249529 | N | 1 | 130.25 | 130.3 | 2021-10-21 18:33
5G83 | OPERATIONAL, INTERNAL CONTRACTOR | N/A | 41.4246575 | -122.3957774 | N | 424 | 11645.867 | 27.5 | 2021-12-06 08:39
5G83 | WEATHER, WIND | TR_028243_1910282768 | 41.4247914 | -122.3837534 | N | 1 | 257.783 | 257.8 | 2021-12-11 17:53
5G83 | INTERFERENCE, OTHER INTERFERING OBJECT, WEATHER, WIND | OH_209600_1911323631 | 41.4746096 | -122.4410750 | Y | 12 | 2304.6 | 192.1 | 2021-12-11 22:26
5G83 | WEATHER, WIND | TR_193642_1910301029 | 41.4743274 | -122.3545991 | N | 1 | 246.85 | 246.9 | 2021-12-12 06:04
5G83 | OPERATIONAL, FAULTY INSTALL | TR_115646_1910279813 | 41.4157480 | -122.3904840 | N | 1 | 154.783 | 154.8 | 2021-12-20 14:50
5G83 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_362103_1910315926 | 41.4383179 | -122.3775325 | N | 1 | 119.817 | 119.8 | 2021-12-21 11:22
5G83 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_117480_1910280916 | 41.4126759 | -122.3863734 | N | 1 | 173.717 | 173.7 | 2021-12-28 20:08
5G93 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_272600__6592633 | 41.1984517 | -122.0727853 | N | 1 | 135.95 | 136 | 2021-01-28 12:41
5G93 | OTHER, UNKNOWN | RC_316304_1911339728 | 41.2676708 | -122.1236609 | N | 14 | 3802.633 | 271.6 | 2021-02-27 08:00
5G93 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_245901__6196576 | 41.2182947 | -122.1431692 | Y | 51 | 15854.416 | 340.3 | 2021-03-08 21:20
5G93 | ANIMALS, ANIMALS | OH_364061__6196582 | 41.2622351 | -122.1452328 | Y | 6 | 759.3 | 126.6 | 2021-06-07 08:07
5G93 | TREES, TREE - NON-PREVENTABLE | OH_059301_1910220085 | 41.2523372 | -122.0969953 | Y | 11 | 6900.85 | 627.4 | 2021-06-24 18:55
5G93 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_016911_1910224338 | 41.2616071 | -122.1406431 | N | 1 | 117.683 | 117.7 | 2021-07-26 09:12
5G93 | OTHER, UNKNOWN | RC_129800_1911339890 | 41.2445806 | -122.1357579 | N | 172 | 38073.634 | 292.1 | 2021-08-08 09:25
5G93 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_019201_1910227250 | 41.2509145 | -122.1360207 | Y | 7 | 2308.6 | 329.8 | 2021-09-20 09:15
5G93 | EQUIPMENT FAILURE, B/O EQUIPMENT | UG062280_1910422041 | 41.2504950 | -122.1306657 | Y | 1 | 357.45 | 357.5 | 2021-09-21 18:39
5G93 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_245901_1910227744 | 41.2182449 | -122.1431187 | Y | 51 | 17966.917 | 362.7 | 2021-09-22 02:45
5G93 | TREES, TREE - NON-PREVENTABLE | TR_016702_1910225118 | 41.2574259 | -122.1410471 | N | 1 | 216.15 | 216.2 | 2021-12-23 04:48
5G93 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_245901__6196576 | 41.2182947 | -122.1431692 | Y | 51 | 18762.05 | 367.9 | 2021-12-28 00:11
5G97 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.0757603 | -122.3634015 | N | 9 | 295.65 | 32.9 | 2021-06-24 15:13
5G97 | LOSS OF SUPPLY, LOSS OF SUBSTATION | SHG_CB5G97 | 41.0540116 | -122.3819791 | N | 35 | 1331.155 | 38 | 2021-12-12 04:48
5G97 | WEATHER, SNOW, SLEET AND BLIZZARD | N/A | 41.0540347 | -122.3817674 | N | 35 | 1295 | 37 | 2021-12-12 07:11
5G97 | TREES, TREE - NON-PREVENTABLE, WEATHER, WIND | OH_171402_1910542516 | 41.0672323 | -122.3620983 | Y | 8 | 9674 | 1255 | 2021-12-17 19:05
5G97 | TREES, TREE - NON-PREVENTABLE, WEATHER, SNOW, SLEET AND BLIZZARD | OH_057461_1910542486 | 41.0953736 | -122.3487706 | Y | 4 | 1129.133 | 282.3 | 2021-12-18 18:58
5G99 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_165000_1910211414 | 40.9735239 | -122.4479205 | N | 1 | 144.733 | 144.7 | 2021-03-10 03:04
5G99 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.0228289 | -122.4063315 | N | 23 | 946.45 | 41.2 | 2021-04-05 13:29
5G99 | PLANNED, EMERGENCY DAMAGE REPAIR, EQUIPMENT FAILURE, B/O EQUIPMENT | N/A, Manual Operation | 41.0391258 | -122.4168944 | N | 4 | 423.4 | 105.9 | 2021-08-07 12:35
5G99 | LOSS OF SUPPLY, LOSS OF SUBSTATION | SHG_CB5G99 | 41.0540110 | -122.3818703 | N | 67 | 2548.233 | 38 | 2021-12-12 04:48
5G99 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_357361_1911087321 | 41.0223303 | -122.4068659 | Y | 37 | 17393.7 | 470.1 | 2021-12-12 08:19
5G99 | WEATHER, SNOW, SLEET AND BLIZZARD | N/A | 41.0266515 | -122.4014062 | N | 6 | 2122.5 | 353.8 | 2021-12-12 10:16
5G99 | WEATHER, SNOW, SLEET AND BLIZZARD | N/A | 41.0541816 | -122.3820199 | N | 1 | 354.383 | 354.4 | 2021-12-12 10:15
5G99 | WEATHER, SNOW, SLEET AND BLIZZARD | OH_357461_1910214017 | 41.0228289 | -122.4063315 | Y | 23 | 8395.767 | 365 | 2021-12-12 10:04
5G99 | WEATHER, SNOW, SLEET AND BLIZZARD | N/A | 41.0538075 | -122.3818856 | N | 67 | 5937.317 | 88.6 | 2021-12-12 06:19
5G99 | TREES, TREE - NON-PREVENTABLE | OH_355160_1911192123 | 41.0195737 | -122.4099949 | Y | 1 | 543.55 | 543.6 | 2021-12-18 11:13
5R96 | TREES, TREE - NON-PREVENTABLE | OH_203202_1900345932 | 41.8467129 | -123.9767677 | Y | 123 | 9762.1 | 79.4 | 2021-01-02 23:39
5R96 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_209701_1900016000 | 41.8530075 | -123.9643006 | N | 1 | 178.9 | 178.9 | 2021-10-03 11:08
6G101 | TREES, TREE - NON-PREVENTABLE | N/A | 41.2677381 | -122.2389842 | N | 16 | 3551.733 | 222 | 2021-03-24 08:53
6R3 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_094100_1900018693 | 41.8760449 | -123.8430013 | N | 1 | 149.317 | 149.3 | 2021-06-04 10:52
6R3 | TREES, TREE - NON-PREVENTABLE | OH_107700_1900018427 | 41.8858756 | -123.8173932 | Y | 11 | 29187.4 | 2653.4 | 2021-12-26 19:04
7G71 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_255144_1910235858 | 41.2042463 | -122.2759434 | N | 15 | 1795.75 | 119.7 | 2021-04-02 08:02
7G71 | TREES, TREE - NON-PREVENTABLE | TR_254142_1910235845 | 41.2042409 | -122.2768305 | N | 1 | 161.4 | 161.4 | 2021-12-12 09:52
7G71 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_255245_1910235714 | 41.2050204 | -122.2759239 | N | 7 | 467.483 | 66.8 | 2021-12-23 08:29
7G71 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.2050204 | -122.2759239 | N | 7 | 810.95 | 115.9 | 2021-12-23 10:47
7G73 | TREES, TREE - NON-PREVENTABLE | TR_257703_1910234181 | 41.2130954 | -122.2707374 | N | 4 | 658.2 | 164.6 | 2021-05-04 06:40
7G73 | TREES, TREE - NON-PREVENTABLE | N/A | 41.2069189 | -122.2722093 | N | 10 | 3644.667 | 364.5 | 2021-06-24 19:20
7G73 | INTERFERENCE, OTHER INTERFERING OBJECT | NDU_CB7G73 | 41.2206052 | -122.2766326 | N | 223 | 28876.8 | 163.9 | 2021-09-13 15:21
7G73 | OTHER, UNKNOWN | N/A | 41.2204021 | -122.2765106 | N | 643 | 44174.1 | 68.7 | 2021-10-29 15:44
7G73 | OTHER, OTHER, KNOWN CAUSE | TR_256907_1910234970 | 41.2164380 | -122.2731073 | N | 1 | 186.6 | 186.6 | 2021-11-12 23:19
7G75 | INTERFERENCE, VEHICLE ACCIDENT | N/A | 41.2020118 | -122.2751392 | N | 29 | 7246.607 | 249.9 | 2021-01-04 12:40
7G75 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.2020118 | -122.2751392 | N | 1 | 73.683 | 73.7 | 2021-01-04 15:37
7G75 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_258006_1910238747 | 41.2029229 | -122.2702905 | N | 1 | 115.817 | 115.8 | 2021-02-13 12:40
7G75 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_364803_1910237132 | 41.2002093 | -122.2766531 | N | 6 | 563.9 | 94 | 2021-12-20 17:18
8G103 | EQUIPMENT FAILURE, OVERLOAD | TR_337800_1910211873 | 40.9415883 | -122.4438740 | N | 1 | 314.333 | 314.3 | 2021-02-10 03:06
8G103 | LOSS OF SUPPLY, LOSS OF SUBSTATION | DGC_CB8G103 | 40.9401872 | -122.4313138 | N | 57 | 2167.881 | 38 | 2021-12-12 04:48
8G103 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 40.9405702 | -122.4326103 | N | 40 | 2290.667 | 57.3 | 2021-12-30 14:09
8G27 | WEATHER, SNOW, SLEET AND BLIZZARD | SMB_CB8G27 | 41.7802223 | -123.0712574 | N | 51 | 877.2 | 17.2 | 2021-02-03 07:31
8G27 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_360461_1910066411 | 41.7861314 | -123.0779620 | N | 1 | 162.65 | 162.7 | 2021-06-22 16:04
8G27 | TREES, TREE - NON-PREVENTABLE | Transmission Outage | 41.7801812 | -123.0711510 | N | 0 | 0 | 3.1 | 2021-10-26 16:10
8G27 | LOSS OF SUPPLY, LOSS OF SUBSTATION, WEATHER, SNOW, SLEET AND BLIZZARD | HMB_CB8G27 | 41.7800958 | -123.0712090 | N | 52 | 330.2 | 6.4 | 2021-12-12 09:11
8G65 | PLANNED, EMERGENCY DAMAGE REPAIR, TREES, TREE - NON-PREVENTABLE | N/A, Manual Operation | 41.1302355 | -122.3200393 | N | 1 | 27.8 | 27.8 | 2021-04-09 10:33
8G65 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.1288935 | -122.3215437 | N | 0 | 0 | 4.1 | 2021-08-30 23:28
8G65 | OTHER, UNKNOWN | TR_273702_1910481738 | 41.1283652 | -122.3199460 | N | 1 | 274.633 | 274.6 | 2021-08-30 18:58
8G65 | WEATHER, SNOW, SLEET AND BLIZZARD | TR_152203_1910481782 | 41.1490614 | -122.3175855 | N | 1 | 350.15 | 350.2 | 2021-12-12 12:22
8G95 | ANIMALS, BIRD MORTALITY (NON-PROTECTED SPECIES) | OH_011900__6196594 | 41.1870193 | -122.2836463 | Y | 19 | 2605.533 | 137.1 | 2021-07-07 07:31
8G95 | ANIMALS, ANIMALS | TR_010500_1910481844 | 41.1828859 | -122.2843411 | N | 3 | 320.65 | 106.9 | 2021-09-07 17:27
8G95 | TREES, TREE - NON-PREVENTABLE | NUT_CB8G95 | 41.1782442 | -122.2909401 | N | 292 | 58083.806 | 216.5 | 2021-09-17 18:20
8G95 | OTHER, UNKNOWN | TR_025161_1910481804 | 41.1766563 | -122.2932465 | N | 1 | 203.583 | 203.6 | 2021-10-06 15:16
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_010980_1911025690 | 41.1871039 | -122.2844660 | N | 1 | 157.733 | 157.7 | 2021-12-27 17:40
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_027360_1910481816 | 41.1799296 | -122.2906639 | N | 1 | 158.7 | 158.7 | 2021-12-27 17:39
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_010500_1910481844 | 41.1828859 | -122.2843411 | N | 3 | 492.85 | 164.3 | 2021-12-27 17:34
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_026202__5940058 | 41.1788559 | -122.2912111 | Y | 124 | 22072 | 178 | 2021-12-27 17:20
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_011900__6196594 | 41.1870193 | -122.2836463 | Y | 20 | 3529.667 | 176.5 | 2021-12-27 17:22
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_362001__6196604 | 41.1888465 | -122.2825606 | Y | 26 | 4439.067 | 170.7 | 2021-12-27 17:27
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_027440_1910481818 | 41.1803168 | -122.2902345 | N | 2 | 322.467 | 161.2 | 2021-12-27 17:37
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_029603_1910481829 | 41.1832192 | -122.2871613 | N | 13 | 1798.983 | 138.4 | 2021-12-27 18:00
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_027401_1910481817 | 41.1800837 | -122.2893758 | N | 5 | 115.333 | 23.1 | 2021-12-27 19:55
8G95 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_022801_1910481839 | 41.1864960 | -122.3003551 | N | 1 | 155.55 | 155.6 | 2021-12-27 17:42
4L3 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_011001_1890083988 | 41.7683032 | -122.0254394 | N | 1 | 172.183 | 172.2 | 2021-03-08 14:32
4L3 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_127501_1890078372 | 41.5871532 | -121.9094299 | N | 2 | 435.767 | 217.9 | 2021-03-28 12:00
4L3 | INTERFERENCE, VEHICLE ACCIDENT | RC_204200__6037304 | 41.8113529 | -122.0054469 | N | 297 | 89218.8 | 300.4 | 2021-03-28 21:51
4L3 | OTHER, UNKNOWN | RC_221402__5762255 | 41.8149478 | -121.9737375 | N | 81 | 16450.166 | 227.4 | 2021-04-24 05:03
4L3 | EQUIPMENT FAILURE, B/O EQUIPMENT | RC_221402__5762255 | 41.8149478 | -121.9737375 | N | 81 | 10711.467 | 275.5 | 2021-04-24 09:12
4L3 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_113001_1890086625 | 41.7539221 | -122.0412214 | Y | 1 | 681.083 | 681.1 | 2021-04-30 13:20
4L3 | INTERFERENCE, OTHER INTERFERING OBJECT | TR_202302_1890091460 | 41.8125694 | -122.0101601 | N | 3 | 743.6 | 247.9 | 2021-06-06 13:58
4L3 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_071400_1890083095 | 41.7626334 | -122.0070706 | N | 1 | 311.283 | 311.3 | 2021-06-07 08:40
4L3 | WEATHER, LIGHTNING | TR_176402_1890089953 | 41.8283940 | -122.0013825 | N | 1 | 266.467 | 266.5 | 2021-07-27 15:10
4L3 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_029400_1890003495 | 41.7707458 | -121.8187968 | Y | 7 | 1953.65 | 384.8 | 2021-07-28 09:05
4L3 | OTHER, UNKNOWN | RC_324000_1890144070 | 41.7790769 | -122.0060901 | N | 197 | 51471.982 | 330.1 | 2021-09-02 12:04
4L3 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | OH_328500_1890095180 | 41.7872955 | -121.9988214 | Y | 3 | 281.45 | 93.8 | 2021-09-03 13:36
4L3 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_309900_1890094039 | 41.8078017 | -122.0160200 | N | 1 | 184.283 | 184.3 | 2021-09-10 10:53
4L3 | TREES, TREE - NON-PREVENTABLE | TR_029302_1890003469 | 41.7692746 | -121.8188175 | N | 1 | 296.683 | 296.7 | 2021-10-22 08:16
4L3 | TREES, TREE - NON-PREVENTABLE | OH_149603_1890138812 | 41.5748462 | -121.9243235 | Y | 7 | 880.717 | 125.8 | 2021-12-10 13:03
4L3 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_336500_1890093530 | 41.7870466 | -121.9840764 | N | 1 | 140.183 | 140.2 | 2021-12-22 20:55
5L70 | LOSS OF SUPPLY, LOSS OF SUBSTATION | N/A | 41.6329564 | -121.2265824 | N | 59 | 693.25 | 11.8 | 2021-10-22
5L70 | LOSS OF SUPPLY, LOSS OF SUBSTATION | N/A | 41.6329152 | -121.2265835 | N | 59 | 6667 | 113 | 2021-10-22 00:20
5L77 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_314402_1890094601 | 41.7860408 | -122.0251451 | N | 2 | 85.3 | 42.7 | 2021-03-26 11:55
5L77 | INTERFERENCE, OTHER INTERFERING OBJECT | MAC_CB5L77 | 41.8317842 | -122.0048235 | N | 231 | 26030.466 | 112.9 | 2021-04-03 13:03
5L77 | WEATHER, LIGHTNING | OH_305902_1890096004 | 41.8078561 | -122.0237472 | Y | 4 | 256.733 | 64.2 | 2021-05-14 16:09
5L77 | INTERFERENCE, OTHER INTERFERING OBJECT | OH_264900_1890100053 | 41.8072352 | -122.0636593 | Y | 27 | 5141.25 | 306.2 | 2021-06-06 19:56
5L77 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.8072352 | -122.0636593 | N | 23 | 341.167 | 14.8 | 2021-06-07 00:47
5L77 | OTHER, UNKNOWN | OH_366400_1890099271 | 41.7860069 | -122.0412351 | Y | 32 | 4686.933 | 146.5 | 2021-06-21 06:06
5L77 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_317702_1890094470 | 41.7897376 | -122.0201736 | N | 1 | 185.483 | 185.5 | 2021-07-14 07:06
5L77 | OTHER, UNKNOWN | TR_317702_1890094470 | 41.7897376 | -122.0201736 | N | 4 | 200.8 | 50.2 | 2021-09-01 11:30
5L77 | OTHER, UNKNOWN | OH_042901_1890144962 | 41.7789278 | -122.0826579 | Y | 8 | 1022.267 | 127.8 | 2021-11-20 13:33
5L77 | ANIMALS, ANIMALS | OH_042901_1890144962 | 41.7789278 | -122.0826579 | Y | 8 | 899.2 | 112.4 | 2021-11-22 14:50
5L78 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_365304_1890101608 | 41.8702733 | -121.9280413 | N | 1 | 20.783 | 20.8 | 2021-04-09 10:37
5L78 | PLANNED, EMERGENCY DAMAGE REPAIR | N/A, Manual Operation | 41.8704221 | -121.9280617 | N | 1 | 445.183 | 445.2 | 2021-04-09 10:58
5L78 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_017700_1890086790 | 41.8618950 | -121.9230730 | N | 1 | 382.433 | 382.4 | 2021-05-17 08:57
5L78 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_014000_1890086776 | 41.8519229 | -121.9279678 | Y | 14 | 2680.538 | 191.5 | 2021-06-19 20:46
5L78 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_319001_1890023747 | 41.8654767 | -121.8991404 | Y | 3 | 275.4 | 91.8 | 2021-06-21 13:58
5L78 | OTHER, UNKNOWN | TR_024700_1890086907 | 41.8620019 | -121.9473310 | N | 1 | 142.533 | 142.5 | 2021-07-09 07:02
5L78 | OTHER, UNKNOWN | OH_084900_1890008872 | 41.8490702 | -121.8913325 | Y | 6 | 936 | 156 | 2021-08-11 15:32
5L78 | OTHER, UNKNOWN | TR_104501_1890181784 | 41.8447210 | -121.9670397 | N | 0 | 0 | 0.7 | 2021-12-20 09:21
5L87 | EQUIPMENT FAILURE, DETERIORATION OR ROTTING | TR_144607_1880016167 | 41.4814734 | -120.5546876 | N | 1 | 92.983 | 93 | 2021-01-05 18:33
5L87 | OTHER, UNKNOWN | OH_102000_1880019263 | 41.4884283 | -120.5780279 | Y | 13 | 3567.85 | 274.5 | 2021-02-15 04:38
5L87 | ANIMALS, BIRD MORTALITY (NON-PROTECTED SPECIES) | TR_134002_1880065841 | 41.4726506 | -120.5359227 | N | 1 | 67.65 | 67.7 | 2021-04-07 13:27
5L87 | OTHER, UNKNOWN | OH_144601_1880016544 | 41.4820061 | -120.5552560 | Y | 37 | 3264.017 | 88.2 | 2021-05-03 13:49
5L87 | OTHER, UNKNOWN | OH_102000_1880019263 | 41.4884283 | -120.5780279 | Y | 12 | 2739 | 228.3 | 2021-05-20 03:05
5L87 | EQUIPMENT FAILURE, B/O EQUIPMENT | OH_102000_1880019263 | 41.4884283 | -120.5780279 | Y | 12 | 3123.766 | 331 | 2021-05-20 07:22
5L87 | OTHER, UNKNOWN | OH_102000_1880019263 | 41.4884283 | -120.5780279 | Y | 15 | 4292.25 | 286.2 | 2021-06-29 01:55
5L87 | PLANNED, INTENTIONAL TO CLEAR TROUBLE | N/A, Manual Operation | 41.4997871 | -120.5337754 | N | 1388 | 20958.8 | 15.1 | 2021-07-14 14:25
5L87 | TREES, TREE - NON-PREVENTABLE | TR_110407_1880003636 | 41.4933196 | -120.5633843 | N | 1 | 47.933 | 47.9 | 2021-08-05 18:34
5L87 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_119901_1880002156 | 41.5013980 | -120.5451666 | N | 1 | 27.717 | 27.7 | 2021-08-19 17:10
5L87 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_147600_1880014180 | 41.4818981 | -120.5491082 | N | 2 | 267.633 | 133.8 | 2021-12-12 21:22
5L97 | TREES, TREE - NON-PREVENTABLE | N/A | 41.5314528 | -120.1821492 | N | 338 | 30408.846 | 90 | 2021-02-15 21:15
5L97 | EQUIPMENT FAILURE, B/O EQUIPMENT, EQUIPMENT FAILURE, B/O EQUIPMENT | TR_055503_1880114655 | 41.5365299 | -120.1718196 | N | 1 | 198.883 | 198.9 | 2021-04-15 12:20
5L97 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_084803_1880027250 | 41.5267792 | -120.1737057 | N | 5 | 1859.25 | 371.9 | 2021-05-31 16:11
5L97 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_078800_1880024989 | 41.5276847 | -120.1836388 | N | 1 | 34.683 | 34.7 | 2021-08-24 14:35
5L97 | EQUIPMENT FAILURE, B/O EQUIPMENT | TR_052002_1880025775 | 41.5303015 | -120.1770702 | N | 1 | 143.55 | 143.6 | 2021-09-16 08:41