## Summary Chart
PacifiCorp California Wildfire Risk Mitigation Plan, Risk Analysis Work Papers
Potential Outage Events During Fire Season Summary Table
Outage Cause Codes | Potential Ignition Source? | 2011-2018 TOTAL | 2014-2018 TOTAL | % of 5-yr TOTAL (potential ignition Source ONLY) | #/yr (2014-2018) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
EQUIPMENT DETERIORATION/FAILURE | YES | 2462 | 1496 | 50.68% | 299.2 | 290 | 322 | 354 | 386 | 338 | 218 | 310 | 244
NOT CLASSIFIABLE | YES | 878 | 452 | 15.31% | 90.4 | 172 | 120 | 134 | 116 | 104 | 66 | 68 | 98
WEATHER/WIND | YES | 534 | 368 | 12.47% | 73.6 | 32 | 24 | 110 | 100 | 152 | 4 | 76 | 36
ANIMALS | YES | 402 | 224 | 7.588% | 44.8 | 60 | 76 | 42 | 48 | 68 | 34 | 36 | 38
TREE-NONPREVENTABLE | YES | 332 | 194 | 6.572% | 38.8 | 36 | 28 | 74 | 52 | 46 | 26 | 30 | 40
NON-UTILITY CAUSE | YES | 268 | 142 | 4.81% | 28.4 | 46 | 46 | 34 | 46 | 26 | 16 | 20 | 34
ENVIRONMENT | YES | 64 | 48 | 1.626% | 9.6 | 6 | 6 | 4 | 20 | 8 | 6 | 4 | 10
OPERATIONAL | YES | 36 | 24 | 0.813% | 4.8 | 2 | 8 | 2 | 8 | 10 | 0 | 4 | 2
VEGETATION | YES | 12 | 4 | 0.1355% | 0.8 | 6 | 2 | 0 | 2 | 2 | 0 | 0 | 0
EQUIPMENT MIS-OPERATION | YES | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTNING | YES | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PLANNED | NO - NOT IN SUM | 570 | 320 | N/A | 64 | 62 | 80 | 108 | 82 | 112 | 46 | 46 | 34
LOSS OF SUPPLY | NO - NOT IN SUM | 780 | 466 | N/A | 93.2 | 76 | 90 | 148 | 40 | 150 | 18 | 148 | 110
TOTAL |  | 4988 | 2952 | 100% | 590.4 | 650 | 632 | 754 | 778 | 754 | 370 | 548 | 502