## Residential
Representative Segment | Measure Name | End Use | Unit Definition | Average Savings per Unit (Annual kWh @meter) | 2021 Plan/RTF Savings per Unit (Annual kWh @meter) | Reference | Notes
All | Water Heater (<= 55 Gal) | Water Heating | 50 gallons | 1663.9287 | 1840.404 | RTF Wkbk - ResHPWH_v6_1 | AEG uses an algorithmic approach based on rated efficiency, which differs from the RTF Workbooks' approach
All | Water Heater (> 55 Gal) | Water Heating | 60 gallons | 437.2324 | 954.9635 | RTF Wkbk - ResHPWH_v6_1 | AEG uses an algorithmic approach based on rated efficiency, which differs from the RTF Workbooks' approach
All | Clothes Dryer | Appliances | 1 units | 365.4919 | 324.5816 | RTF Wkbk - ResClothesDryers_v5_0 | Removed current practice/market baseline
All | Freezer | Appliances | 1 units | 75.226 | 71.9432 | RTF Wkbk - ResRefrigeratorsAndFreezers_6_0 | Removed current practice/market baseline
All | Air Purifier | Appliances | 1 units | 369.1357 | 303.1017 | RTF Wkbk - ResAirCleaners_v2_0 | Reworked calculations to create an ESTAR 2.0 spec and RTF-specific spec, removed current practice/market baseline
All | Electric Vehicle Chargers | Miscellaneous | 1 units | 58.0022 | 60.5016 | RTF Wkbk - Level2EVChargers_v3_0 | Removed current practice/market baseline, scaled to fit market profile
Single Family | Insulation - Ceiling Installation | Cooling | sqft roof | 0.15887 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Ceiling Installation | Space Heating | sqft roof | 1.7013 | 1.8602 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Ceiling Upgrade | Cooling | sqft roof | 0.057327 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Ceiling Upgrade | Space Heating | sqft roof | 0.38499 | 0.44232 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Wall Cavity Installation | Cooling | sqft wall | 0.1254 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Wall Cavity Installation | Space Heating | sqft wall | 0.91747 | 1.0429 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Wall Cavity Upgrade | Cooling | sqft wall | 0.056999 | 0 | RTF Wkbk - ResSFWx_v5_0 w/ Interpolation | Split out heating and cooling, extrapolated from R-11 down to R-5 upgrade
Single Family | Insulation - Wall Cavity Upgrade | Space Heating | sqft wall | 0.41703 | 0.91747 | RTF Wkbk - ResSFWx_v5_0 w/ Interpolation | Split out heating and cooling, extrapolated from R-11 down to R-5 upgrade
Single Family | Insulation - Wall Sheathing | Cooling | sqft wall | 0.062698 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling, extrapolated from R-11 down to R-6 upgrade
Single Family | Insulation - Wall Sheathing | Space Heating | sqft wall | 0.45874 | 1.0429 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling, extrapolated from R-11 down to R-6 upgrade
Single Family | Insulation - Floor Installation | Cooling | sqft first floor | 0.059269 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Floor Installation | Space Heating | sqft first floor | 0.24628 | 0.30555 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Floor Upgrade | Cooling | sqft floor | 0.01718 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Floor Upgrade | Space Heating | sqft floor | 0.071539 | 0.088719 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Foundation | Cooling | sqft floor cs | -0.019661 | -0.019661 | RTF Wkbk - ResNewSFSlabInsulation_v3_1
Single Family | Insulation - Foundation | Space Heating | sqft floor cs | 0.67159 | 0.67159 | RTF Wkbk - ResNewSFSlabInsulation_v3_1
Single Family | Insulation - Ducting | Cooling | sqft duct | 0.27128 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Insulation - Ducting | Space Heating | sqft duct | 3.2573 | 3.5286 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Ducting - Repair and Sealing | Cooling | household | 13% | 13% | RTF Wkbk - ResSFDuctSealing_v7_1 | RTF consumption, and relation of heating to cooling allowed for clarification of % savings
Single Family | Ducting - Repair and Sealing | Space Heating | household | 15.89% | 15.89% | RTF Wkbk - ResSFDuctSealing_v7_1 | RTF consumption, and relation of heating to cooling allowed for clarification of % savings
Single Family | Building Shell - Air Sealing (Infiltration Control) | Cooling | household | 2.7477 | 0 | RTF Wkbk - ResDoorSweep_v2_0 | Split out heating and cooling
Single Family | Building Shell - Air Sealing (Infiltration Control) | Space Heating | household | 44.4371 | 46.6772 | RTF Wkbk - ResDoorSweep_v2_0 | Split out heating and cooling
Single Family | Windows - High Efficiency (U-0.22) | Cooling | sqft window | 0.35908 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling, weighted by equipment type
Single Family | Windows - High Efficiency (U-0.22) | Space Heating | sqft window | 2.7687 | 3.4019 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling, weighted by equipment type
Single Family | Windows - High Efficiency (U-0.17) | Cooling | sqft window | 0.45549 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling, extrapolated from U-0.30 and U-0.22 windows
Single Family | Windows - High Efficiency (U-0.17) | Space Heating | sqft window | 3.5121 | 3.0773 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling, extrapolated from U-0.30 and U-0.22 windows
Single Family | Windows - Low-e Storm Addition | Cooling | sqft window | 0.45091 | 0 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Windows - Low-e Storm Addition | Space Heating | sqft window | 3.8151 | 4.266 | RTF Wkbk - ResSFWx_v5_0 | Split out heating and cooling
Single Family | Doors - Storm and Thermal - ENERGY STAR (6.0) | Space Heating | sqft door | 3.0042 | 3.0042 | RTF Wkbk - ResMFWeatherization_v5_0
Single Family | Ductless Mini Split Heat Pump (Zonal) | Cooling | household | 232.3765 | 387.2941 | RTF Wkbk - ResDHPforZonal_v6_0 | Derated to 1 ton
Single Family | Ductless Mini Split Heat Pump (Zonal) | Space Heating | household | 2090.7857 | 2090.7857 | RTF Wkbk - ResDHPforZonal_v6_0
Single Family | Supplement Central System with Ductless Mini Split Heat Pump | Cooling | household | 269.7328 | 2550.28 | RTF Wkbk - ResDHPonFAF_v4_0 | Split out by end use
Single Family | Supplement Central System with Ductless Mini Split Heat Pump | Space Heating | household | 2244.2027 | 2550.28 | RTF Wkbk - ResDHPonFAF_v4_0 | Split out by end use
Single Family | Supplement Central System with Ductless Mini Split Heat Pump | Miscellaneous | household | 36.3445 | 2550.28 | RTF Wkbk - ResDHPonFAF_v4_0 | Split out by end use
Single Family | Ductless Mini Split Heat Pump - Optimized Controls | Cooling | household | 0.65879 | 0.65879 | RTF Wkbk - ResHeatingCoolingCommissioningControlsSizingSF_v3_6
Single Family | Ductless Mini Split Heat Pump - Optimized Controls | Space Heating | household | 629.4041 | 629.4041 | RTF Wkbk - ResHeatingCoolingCommissioningControlsSizingSF_v3_6
Single Family | HVAC - Conversion to Ground-Source Heat Pump | Cooling | household | 214.9147 | 214.9147 | RTF Wkbk - ResGSHP_v2_7
Single Family | HVAC - Conversion to Ground-Source Heat Pump | Space Heating | household | 6521.2233 | 6521.2233 | RTF Wkbk - ResGSHP_v2_7
Single Family | HVAC - Conversion to Ground-Source Heat Pump | Miscellaneous | household | 0 | 0 | RTF Wkbk - ResGSHP_v2_7
Single Family | Furnace - Conversion to Air-Source Heat Pump | Space Heating | household | 2733.4597 | 2733.4597 | RTF Wkbk - ResSF&MHExistingHVAC_v6_0
Single Family | Central Heat Pump - Controls and Commissioning | Cooling | household | 0.65879 | 0.65879 | RTF Wkbk - ResHeatingCoolingCommissioningControlsSizingSF_v3_6
Single Family | Central Heat Pump - Controls and Commissioning | Space Heating | household | 629.4041 | 629.4041 | RTF Wkbk - ResHeatingCoolingCommissioningControlsSizingSF_v3_6
All | Connected Thermostat - ENERGY STAR (1.0) | Cooling | household | 5% | 5% | RTF Wkbk - ResConnectedTstats_v3_0
All | Connected Thermostat - ENERGY STAR (1.0) | Space Heating | household | 5% | 5% | RTF Wkbk - ResConnectedTstats_v3_0
All | Connected Thermostat - Line-Voltage | Cooling | household | 5% | 5% | RTF Wkbk - ResElectronicLineVoltageTStats_v5_1
All | Connected Thermostat - Line-Voltage | Space Heating | household | 5% | 5% | RTF Wkbk - ResElectronicLineVoltageTStats_v5_1
All | Water Heater - Desuperheater | Water Heating | household | 1219 | 1384.6162 | RTF Wkbk - ResGSHP_v2_7 | Water Heater Savings for Removed current practice/market baseline from Ground Source Heat Pump Upgrade from Air Source Heat Pump - with Desuperheater - New House less than 4000 square feet - Heating Zone 1
All | Water Heater - Thermostatic Shower Restriction Valve | Water Heating | showerheads | 49.943 | 48.7136 | RTF Wkbk - ThermostaticShowerRestrictionValve_v5_0 | Added embedded water savings
All | Circulation Pump - High Efficiency Motor | Miscellaneous | complex | 407.8759 | 296.0258 | RTF Wkbk - ComResCirculatorPumps_3_0 - AEG Adjusted | Removed current practice/market baseline
All | Circulation Pump - Controls | Water Heating | complex | 6000 | 6666.6667 | RTF Wkbk - ComResCirculatorPumps_3_0 - AEG Adjusted | Removed current practice/market baseline
All | Circulation Pump - Controls | Miscellaneous | complex | 543.8653 | 558.7658 | RTF Wkbk - ComResCirculatorPumps_3_0 - AEG Adjusted | Removed current practice/market baseline
All | Refrigerator - Decommissioning and Recycling | Appliances | household | 111 | 111.01 | RTF Wkbk - ResFridgeFreezeDecommissioning_v6_1
All | Freezer - Decommissioning and Recycling | Appliances | household | 35.8504 | 35.8504 | RTF Wkbk - ResFridgeFreezeDecommissioning_v6_1
All | Advanced Power Strips - Load or Occupancy | Electronics | smart strip | 82.617 | 84.3171 | RTF Wkbk - ResAdvancedPowerStrips_v3_1 | Applied % savings to LOADMAP UEC.
All | Advanced Power Strips - IR Sensing | Electronics | smart strip | 103.4101 | 104.9018 | RTF Wkbk - ResAdvancedPowerStrips_v3_1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Cooling | household | 257.3328 | 142.1237 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Space Heating | household | 2838.9361 | 404.9847 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Water Heating | household | 275.0499 | 227.06 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Interior Lighting | household | 113.1056 | 636.1122 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Exterior Lighting | household | 0 | 0 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Appliances | household | 201.6174 | 123.8112 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Electronics | household | 0 | 0 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Single Family | ENERGY STAR Home Design | Miscellaneous | household | 0 | 0 | RTF Wkbk - ResSFEstarBuildGreenHomesWA2017_SFWAv3.1 | Applied % savings to LOADMAP UEC.
Manufactured Home | Manufactured Home Replacement | Cooling | household | 5.7861 | 5.7886 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2
Manufactured Home | Manufactured Home Replacement | Space Heating | household | 2040.6831 | 2040.6831 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2
Manufactured Home | Manufactured Home Replacement | Water Heating | household | 0 | 0 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2
Manufactured Home | Manufactured Home Replacement | Interior Lighting | household | 0 | 0 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2
Manufactured Home | Manufactured Home Replacement | Exterior Lighting | household | 0 | 0 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2
Manufactured Home | Manufactured Home Replacement | Appliances | household | 24.3333 | 24.3333 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2 | Refrigeration
Manufactured Home | Manufactured Home Replacement | Electronics | household | 0 | 0 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2
Manufactured Home | Manufactured Home Replacement | Miscellaneous | household | 0 | 0 | RTF Wkbk - ResMHNewHomesandHVAC_v4_2
Multi-Family | Insulation - Ceiling Installation | Cooling | sqft roof | 0 | 0 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Ceiling Installation | Space Heating | sqft roof | 1.073 | 1.073 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Ceiling Upgrade | Cooling | sqft roof | 0 | 0 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Ceiling Upgrade | Space Heating | sqft roof | 0.31501 | 0.31501 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Wall Cavity Installation | Cooling | sqft wall | 0.1019 | 0 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Wall Cavity Installation | Space Heating | sqft wall | 0.93412 | 1.0435 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Wall Cavity Upgrade | Cooling | sqft wall MF | 0.12736 | 0.28019 | RTF Wkbk - ResMFWeatherization_v5_0 w/ Interpolation | Split out heating and cooling, interpolated from R-11 down to R-5
Multi-Family | Insulation - Wall Cavity Upgrade | Space Heating | sqft wall MF | 0.9251 | 2.0352 | RTF Wkbk - ResMFWeatherization_v5_0 w/ Interpolation | Split out heating and cooling, interpolated from R-11 down to R-5
Multi-Family | Insulation - Wall Sheathing | Cooling | sqft wall | 0.1401 | 0 | RTF Wkbk - ResMFWeatherization_v5_0 | Split out heating and cooling
Multi-Family | Insulation - Wall Sheathing | Space Heating | sqft wall | 1.0176 | 1.1577 | RTF Wkbk - ResMFWeatherization_v5_0 | Split out heating and cooling
Multi-Family | Insulation - Floor Installation | Cooling | sqft first floor | 0 | 0 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Floor Installation | Space Heating | sqft first floor | 1.0599 | 1.0599 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Floor Upgrade | Cooling | sqft floor | 0 | 0 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Insulation - Floor Upgrade | Space Heating | sqft floor | 0.35424 | 0.35424 | RTF Wkbk - ResMFWeatherization_v5_0
Multi-Family | Windows - High Efficiency (U-0.17) | Cooling | sqft window | 0.32837 | 0 | RTF Wkbk - ResMFWeatherization_v5_0 | Extrapolated from U-0.30 to U-0.22 upgrade savings
Multi-Family | Windows - High Efficiency (U-0.17) | Space Heating | sqft window | 3.1682 | 2.6253 | RTF Wkbk - ResMFWeatherization_v5_0 | Extrapolated from U-0.30 to U-0.22 upgrade savings
Multi-Family | Windows - High Efficiency (U-0.17) | Miscellaneous | sqft window | 0 | 0 | RTF Wkbk - ResMFWeatherization_v5_0 | Extrapolated from U-0.30 to U-0.22 upgrade savings
Multi-Family | Ductless Mini Split Heat Pump (Zonal) | Cooling | household | 0 | 0 | RTF Wkbk - ResMFExistingDHP_v2_0
Multi-Family | Ductless Mini Split Heat Pump (Zonal) | Space Heating | household | 1300 | 1300 | RTF Wkbk - ResMFExistingDHP_v2_0
Manufactured Home | Insulation - Ceiling Installation | Cooling | sqft roof | 0.055971 | 0 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Insulation - Ceiling Installation | Space Heating | sqft roof | 0.86925 | 0.92522 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Insulation - Ceiling Upgrade | Cooling | sqft roof | 0.019001 | 0 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Insulation - Ceiling Upgrade | Space Heating | sqft roof | 0.32537 | 0.34437 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Insulation - Floor Installation | Cooling | sqft first floor | 0.054477 | 0 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Insulation - Floor Installation | Space Heating | sqft first floor | 0.74906 | 0.80354 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Insulation - Floor Upgrade | Cooling | sqft floor | 0.023148 | 0 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Insulation - Floor Upgrade | Space Heating | sqft floor | 0.34801 | 0.37116 | RTF Wkbk - ResMHWeatherization_v6_0 | Split out heating and cooling
Manufactured Home | Ductless Mini Split Heat Pump - Optimized Controls | Cooling | household | 0.73199 | 0.73 | RTF Wkbk - ResMHHeatingCoolingCommissioningControlsSizing_v3_3
Manufactured Home | Ductless Mini Split Heat Pump - Optimized Controls | Space Heating | household | 534.9935 | 535 | RTF Wkbk - ResMHHeatingCoolingCommissioningControlsSizing_v3_3
Manufactured Home | Central Heat Pump - Controls and Commissioning | Cooling | household | 0.73199 | 0.73 | RTF Wkbk - ResMHHeatingCoolingCommissioningControlsSizing_v3_3
Manufactured Home | Central Heat Pump - Controls and Commissioning | Space Heating | household | 534.9935 | 535 | RTF Wkbk - ResMHHeatingCoolingCommissioningControlsSizing_v3_3
All | Personal Computers | Electronics | 1 units | 63.3465 | 21.046 | NWPCC 2021 Power Plan - Res-Computers-2021P_v3 - AEG Copy | Removed current practice/market baseline, scaled to fit market profile
All | Monitor | Electronics | 1 units | 4.2488 | 4.2339 | NWPCC 2021 Power Plan - Res-Monitors-2021P_v2 | Removed current practice/market baseline, scaled to fit market profile
All | Laptops | Electronics | 1 units | 32.0488 | 8.5131 | NWPCC 2021 Power Plan - Res-Computers-2021P_v3 - AEG Copy | Removed current practice/market baseline, scaled to fit market profile
All | Windows - Manual Shading | Cooling | sqft window | 5.8% | 5.8% | NWPCC 2021 Plan - Res-CellularShades-2021P_v2 - Pacific Northwest National Laboratory. Testing the Performance and Dynamic Control of Energy Efficient Cellular Shades in the PNNL Lab Homes. August 2018. PNNL-27663.
All | Windows - Manual Shading | Space Heating | sqft window | 2% | 2% | NWPCC 2021 Plan - Res-CellularShades-2021P_v2 - Pacific Northwest National Laboratory. Testing the Performance and Dynamic Control of Energy Efficient Cellular Shades in the PNNL Lab Homes. August 2018. PNNL-27663.
All | HVAC - Energy Recovery Ventilator | Space Heating | household | 103.0796 | 103.0796 | NWPCC 2021 Plan - Res-HRV-2021P_v3
All | HVAC - Energy Recovery Ventilator | Cooling | household | 0 | -2.4982 | NWPCC 2021 Plan - Res-HRV-2021P_v3 | Cooling penalty removed
All | Whole-House Fan - Installation | Cooling | household | 6.079% | 7.921% | NWPCC 2021 Power Plan - Res-Whole House Fan-2021P_v4 | UEC values were scaled to fit market profile
All | Dishwasher - ENERGY STAR (6.0) | Water Heating | household | 22.3364 | 38.5523 | NWPCC 2021 Power Plan - Res-Dishwasher-2021P_v2 | Split out savings by end use, added embedded water energy savings
All | Dishwasher - ENERGY STAR (6.0) | Appliances | household | 16.963 | 38.5523 | NWPCC 2021 Power Plan - Res-Dishwasher-2021P_v2 | Split out savings by end use, added embedded water energy savings

## Commercial
Representative Segment | Measure Name | End Use | Unit Definition | Average Savings per Unit (Annual kWh @meter) | 2021 Plan/RTF Savings per Unit (Annual kWh @meter) | Reference | Notes
All | Reach-in Refrigerator/Freezer | Refrigeration | 1 units | 275.4235 | 267.5845 | RTF Wkbk - ComRefrigeratorFreezer_v5_0 | AEG edited the v5.0 UES workbook to remove current practice baseline and add in ENERGY STAR v5.0 specifications. Savings were also scaled to fit market profile.
All | Icemaker | Refrigeration | 1 units | 512.7472 | 505.0209 | RTF Wkbk - ComESIceMakers_v2_0 | AEG edited the UES workbook to remove current practice baseline. Savings were also scaled to fit market profile.
All | Vending Machine | Refrigeration | 1 units | 121.8358 | 85.894 | RTF Wkbk - ComESVendingMachines_v2_0 | AEG removed the current practice baseline and used a weighted average of equipment types based on the ENERGY STAR QPL.
All | Oven | Food Preparation | 1 units | 9599.626 | 5534.2834 | RTF Wkbk - ComCookingCombinationOven_v5_0 | AEG removed the current practice baseline and used a weighted average of pan sizing options.
All | Fryer | Food Preparation | 1 units | 1103.8803 | 872.0655 | RTF Wkbk - ComCookingFryer_v5_0 | Removed current practice baseline. Standard Size.
All | Hot Food Container | Food Preparation | 1 units | 467.7137 | 397.6062 | RTF Wkbk - ComCookingHotFoodCabinet_v5_0 | Removed current practice baseline. Half Size.
All | Steamer | Food Preparation | 1 units | 15632.2013 | 9222.9988 | RTF Wkbk - ComCookingSteamer_v5_0 | Removed current practice baseline. 5-6 Pan size.
All | Griddle | Food Preparation | 1 units | 2027.4013 | 1636.7112 | RTF Wkbk - ComCookingGriddle_v2_0 | Removed current practice baseline. 6 ft2 option.
All | Clothes Dryer | Miscellaneous | 1 units | 350.5919 | 280.6005 | RTF Wkbk - ResClothesDryers_v5_0 | Electric commercial-size dryers are not widely available. AEG adapted residential RTF analysis to commercial application using commercial (MF/laundromat) hours of use.
All | Electric Vehicle Chargers | Miscellaneous | 1 units | 48.7748 | 48.4013 | RTF Wkbk - Level2EVChargers_v3_0 | AEG weighted the public, fleet, employee options.
School | Insulation - Ceiling | Cooling | sqft roof | 0.16421 | 0 | RTF Wkbk - ComWeatherizationSchool_v4_0 | The value shown is for eFAF; savings from RTF were split out by heating/cooling/ventilation and the heating savings were weighted by equipment type saturations from the market profile.
School | Insulation - Ceiling | Space Heating | sqft roof | 0.29062 | 0.78342 | RTF Wkbk - ComWeatherizationSchool_v4_0 | The value shown is for eFAF; savings from RTF were split out by heating/cooling/ventilation and the heating savings were weighted by equipment type saturations from the market profile.
School | Insulation - Ceiling | Ventilation | sqft roof | 0.20133 | 0 | RTF Wkbk - ComWeatherizationSchool_v4_0 | The value shown is for eFAF; savings from RTF were split out by heating/cooling/ventilation and the heating savings were weighted by equipment type saturations from the market profile.
School | Insulation - Wall Cavity | Cooling | sqft wall | 0.96029 | 0 | RTF Wkbk - ComWeatherizationSchool_v4_0 | The value shown is for eFAF; savings from RTF were split out by heating/cooling/ventilation and the heating savings were weighted by equipment type saturations from the market profile.
School | Insulation - Wall Cavity | Space Heating | sqft wall | 1.6995 | 4.5813 | RTF Wkbk - ComWeatherizationSchool_v4_0 | The value shown is for eFAF; savings from RTF were split out by heating/cooling/ventilation and the heating savings were weighted by equipment type saturations from the market profile.
School | Insulation - Wall Cavity | Ventilation | sqft wall | 1.1773 | 0 | RTF Wkbk - ComWeatherizationSchool_v4_0 | The value shown is for eFAF; savings from RTF were split out by heating/cooling/ventilation and the heating savings were weighted by equipment type saturations from the market profile.
School | Windows - High Efficiency Glazing | Cooling | sqft window | 2.9839 | 0 | RTF Wkbk - ComWeatherizationSchool_v4_0 | Savings from RTF were split out by heating/cooling/ventilation end uses based on the PAC market profile.
School | Windows - High Efficiency Glazing | Space Heating | sqft window | 5.2807 | 11.9229 | RTF Wkbk - ComWeatherizationSchool_v4_0 | Savings from RTF were split out by heating/cooling/ventilation end uses based on the PAC market profile.
School | Windows - High Efficiency Glazing | Ventilation | sqft window | 3.6583 | 0 | RTF Wkbk - ComWeatherizationSchool_v4_0 | Savings from RTF were split out by heating/cooling/ventilation end uses based on the PAC market profile.
Office | Windows - Secondary Glazing Systems | Cooling | sqft window | 18.21% | 18.21% | RTF Wkbk - ComSecondaryGlazingSystems_v3_0
Office | Windows - Secondary Glazing Systems | Space Heating | sqft window | 34.24% | 34.24% | RTF Wkbk - ComSecondaryGlazingSystems_v3_0
Office | Windows - Secondary Glazing Systems | Ventilation | sqft window | 30.69% | 30.69% | RTF Wkbk - ComSecondaryGlazingSystems_v3_0
All | Ductless Mini Split Heat Pump | Cooling | tonheat | 3.766% | 3.766% | RTF Wkbk - ComDHP_v2_0
All | Ductless Mini Split Heat Pump | Space Heating | tonheat | 11.47% | 11.47% | RTF Wkbk - ComDHP_v2_0
All | Connected Thermostat - ENERGY STAR (1.0) | Cooling | tonCool | 2% | 2% | RTF Wkbk - ComConnectedThermostats_v2_0
All | Connected Thermostat - ENERGY STAR (1.0) | Space Heating | tonCool | 10% | 10% | RTF Wkbk - ComConnectedThermostats_v2_0
All | Connected Thermostat - ENERGY STAR (1.0) | Ventilation | tonCool | 10% | 10% | RTF Wkbk - ComConnectedThermostats_v2_0
All | Water Heater - Thermostatic Shower Restriction Valve | Water Heating | showerhead | 46.8619 | 46.2779 | RTF Wkbk - ThermostaticShowerRestrictionValve_v5_0 | Adjusted to remove current practice baseline.
All | Water Heater - Pre-Rinse Spray Valve | Water Heating | PreRinse | 569.6734 | 549 | RTF Wkbk - ComCookingPreRinseSprayValve_v2_5 | Adjusted to remove current practice baseline.
All | Circulation Pump - Controls | Water Heating | perbldg | 580.4741 | 1471.815 | RTF Wkbk - ComResCirculatorPumps_3_0 | Savings were adjusted to separate the motor upgrade to ECM from the temperature control measure and remove the current practice baseline.
All | Circulation Pump - High Efficiency Motor | Miscellaneous | perbldg | 569.6788 | 1471.815 | RTF Wkbk - ComResCirculatorPumps_3_0 | Savings were adjusted to separate the motor upgrade to ECM from the temperature control measure and remove the current practice baseline.
All | Commercial Laundry - ENERGY STAR Washer | Water Heating | Washer | 127.9448 | 277.4203 | RTF Wkbk - ComClothesWashers_v7_0 | Weighted by front and top loading equipment & average of Multi-Family/Laundromat. AEG edited the v7.0 UES workbook to remove current practice baseline.
All | Commercial Laundry - ENERGY STAR Washer | Miscellaneous | Washer | 165.2076 | 277.4203 | RTF Wkbk - ComClothesWashers_v7_0 | Weighted by front and top loading equipment & average of Multi-Family/Laundromat. AEG edited the v7.0 UES workbook to remove current practice baseline.
All | Refrigeration - Door Gasket Replacement | Refrigeration | Freezer & Fridge Door | 261.5473 | 211 | RTF Wkbk - ComGroceryDoorGasketReplacement_v2_0 | Weighted average used where possible.
All | Refrigeration - High Efficiency Evaporator Fan Motors | Refrigeration | Evaporator Fan | 452.9609 | 509 | RTF Wkbk - ComGroceryDisplayCaseEvapFanMotorRetrofit_v6_0 | Used average of low/medium temp replacing shade pole for WA previously.
All | Refrigeration - Evaporator Fan Controls | Refrigeration | WalkIn Door | 471.2948 | 397 | RTF Wkbk - ComGroceryWalkinEvapFanECMController_v5_0 | Used average of 2 different wattage controls from RTF and fan/refrigerant savings
All | Refrigeration - Efficient Compressor Head Fan Motor | Refrigeration | Fridge Motor | 807.7612 | 807.7612 | RTF Wkbk - ComGroceryCompressorECM_v5_0
All | Refrigeration - Floating Head Pressure | Refrigeration | Fridge HP | 187.2026 | 147.5429 | RTF Wkbk - ComGroceryFHPCSingleCompressor_v3_0 | Used Median HP Deemed Savings
All | Refrigeration - Strip Curtain | Refrigeration | Walkin sqft | 80 | 80 | RTF Wkbk - ComGroceryStripCurtain_v3_0
All | Refrigeration - Air Curtain | Refrigeration | Walkin sqft | 55.05 | 27 | RTF Wkbk - WalkInAirCurtain_v2_0 | Weighted low and medium temp walk-ins.
All | Grocery - Display Case - Door Retrofit | Refrigeration | Fridge Feet Open | 447.4312 | 447.4312 | RTF Wkbk - RefCaseDoorRetrofit_v2_0
All | Grocery - On-Demand Overwrappers | Cooling | perBldg | 74.6493 | 74.6493 | RTF Wkbk - On-Demand_Overwrappers_v2_0
All | Grocery - On-Demand Overwrappers | Space Heating | perBldg | -833.2228 | -833.2228 | RTF Wkbk - On-Demand_Overwrappers_v2_0
All | Grocery - On-Demand Overwrappers | Miscellaneous | perBldg | 1509.0335 | 1509.0335 | RTF Wkbk - On-Demand_Overwrappers_v2_0
All | Office Equipment - Advanced Power Strips | Office Equipment | Smart Strip | 64.7954 | 64.7954 | RTF Wkbk- ComAdvancedPowerStrips_v4_1
All | Water Cooler - Timer | Miscellaneous | Wtr Cooler | 158.9807 | 158.9807 | RTF Wkbk - ComWaterCoolerTimer_v2_0
All | Engine Block Heater Controls | Miscellaneous | perheater | 1681.3561 | 1681.3561 | RTF Wkbk - EngineBlockHeaterControls_v2_0
All | Circulating Engine Block Heater | Miscellaneous | perheater | 2287.851 | 2780.3014 | RTF Wkbk - ComStandbyGeneratorBlockHeaters_v2_0 | Saturated % savings. Matched with middle value kWh from RTF
All | Desktop Computer | Office Equipment | 1 units | 18.6774 | 39.2381 | NWPCC 2021 Power Plan - Com-Computers-2021P_V4 | AEG calculated savings using WA State Code baseline value, but this was also calibrated to the market profile after post-processing
All | Laptop | Office Equipment | 1 units | 23.4135 | 15.0567 | NWPCC 2021 Power Plan - Com-Computers-2021P_V4 | AEG calculated savings using WA State Code baseline value, but this was also calibrated to the market profile after post-processing
All | Server | Office Equipment | 1 units | 1301.6194 | 1301.6194 | NWPCC 2021 Power Plan: Com-Servers&PowerSupply-2021P_V8
All | Monitor | Office Equipment | 1 units | 4.2488 | 4.2339 | NWPCC 2021 Power Plan - Res-Monitors-2021P_v2 | AEG calculated savings using WA State Code baseline value as opposed to the market average baseline used in main 2021P entry.
Office | Ventilation - Variable Speed Control | Ventilation | fans | 1430.7591 | 1430.7591 | NWPCC 2021 Power Plan: COM-Fans-2021P_V7
Office | HVAC - Dedicated Outdoor Air System (DOAS) | Cooling | sqft | 0.18554 | 0.12 | NWPCC 2021 Power Plan - 2021P_Com-VRF-DOAS-2021P_V2 | Simulation data in 2021 Plan used to develop % savings by end use. Savings applied to market profile UECs.
Office | HVAC - Dedicated Outdoor Air System (DOAS) | Space Heating | sqft | 0.31183 | 0.42 | NWPCC 2021 Power Plan - 2021P_Com-VRF-DOAS-2021P_V2 | Simulation data in 2021 Plan used to develop % savings by end use. Savings applied to market profile UECs.
Office | HVAC - Dedicated Outdoor Air System (DOAS) | Ventilation | sqft | 2.4707 | 3.37 | NWPCC 2021 Power Plan - 2021P_Com-VRF-DOAS-2021P_V2 | Simulation data in 2021 Plan used to develop % savings by end use. Savings applied to market profile UECs.
Lodging | RTU - Advanced Controls | Cooling | sqft | 0.10909 | 0.10909 | NWPCC 2021 Power Plan - 2021P_Com-ARC-2021P_V4
All | Water Heater - Low-Flow Showerheads | Water Heating | Showerhead | 79.1351 | 79.1351 | NWPCC 2021 Power Plan - Com-Showerheads-2021P_V2
All | Interior Lighting - Retrofit - Networked Lighting Controls | Interior Lighting | ILtg kW | 16% | 53% - 37% | NWPCC 2021 Power Plan - Com-LightingInterior-2021P_V20 | % Savings of Networked Fixture Controls from 2021P, with Embedded Fixture Controls subtracted. Embedded fixture controls savings included in controls EQ measure.
All | Interior Lighting - LED/LEC Exit Lighting | Interior Lighting | Exit Sign | 60 | 60 | NWPCC 2021 Power Plan: Com-ExitSign-2021P_V4
All | Refrigeration - High Efficiency Compressor | Refrigeration | Fridge HP | 475.0787 | 475.0787 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V11
All | Refrigeration - Defrost Controls | Refrigeration | Fridge Foot | 164.3129 | 164.3129 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Refrigeration - Automatic High Speed Doors | Refrigeration | WalkIn Door | 1472.5 | 1472.5 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Refrigeration - High Efficiency Condenser Coil | Refrigeration | Fridge HP | 75 | 75 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Refrigeration - Mechanical Subcooling | Refrigeration | Fridge HP | 270 | 270 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Refrigeration - Liquid-Suction Heat Exchange | Refrigeration | WalkIn Door | 351.8282 | 351.8282 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12 - LSHX_WIC-New
All | Refrigeration - Heat Recovery | Refrigeration | Fridge HP | 2900.2407 | 3472.58 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12 | Weighted electric resistance and heat pump systems
All | Refrigeration - Suction Line Insulation | Refrigeration | WalkIn Door | 452 | 452 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Refrigeration - Floating Suction Pressure | Refrigeration | Fridge HP | 124 | 124 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Grocery - Display Case - LED Lighting | Refrigeration | Fridge Ltg Ft | 103.1923 |  | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Grocery - Display Case - Motion Sensors | Refrigeration | Glass Door Display | 46.4832 | 46.4832 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Grocery - Open Display Case - Night Covers | Refrigeration | Open Display Foot | 134 | 134 | NWPCC 2021 Power Plan - Com-Refrigeration-2021P_V12
All | Water Cooler - ENERGY STAR (3.0) | Miscellaneous | Wtr Cooler | 277.59 | 262.8 | NWPCC 2021 Power Plan - Com-WaterCooler-2021P_V8 | AEG removed current practice baseline from 2021P calculations
All | Controlled Atmosphere - Refrigeration Retrofit | Refrigeration | kWh saved | 11.1% | 16% | NWPCC 2021 Power Plan: Industrial_Tool_2021P_v08
All | Improved Vertical Lift Technology | Miscellaneous | perbldg | 7470.8182 | 7470.8182 | NWPCC 2021 Power Plan - Com_Elevator-2021PLN-V1 | Col F is kWh/yr of Mid-Rise 9-24 floors (middle option). % comes from weighted average.
All | Strategic Energy Management | Cooling | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4
All | Strategic Energy Management | Space Heating | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4
All | Strategic Energy Management | Ventilation | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4
All | Strategic Energy Management | Water Heating | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4
All | Strategic Energy Management | Interior Lighting | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4
All | Strategic Energy Management | Exterior Lighting | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4
All | Strategic Energy Management | Refrigeration | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4
All | Strategic Energy Management | Office Equipment | sqft | 4.867% | 4.884% | NWPCC 2021 Power Plan: Com-EM-2021P_V4

## Industrial
Representative Segment | Measure Name | End Use | Unit Definition | Average Savings per Unit (Annual kWh @meter) | 2021 Plan/RTF Savings per Unit (Annual kWh @meter) | Reference | Notes
All | Insulation - Ceiling | Cooling | sqft | 0.16421 | 0.78342 | RTF Wkbk - ComWeatherizationSchool_v4_0 | These split out by heating/cooling/ventillation & ASHP/ER/WSHP weighted by equipment type.
All | Insulation - Ceiling | Space Heating | sqft | 0.29062 | 0.78342 | RTF Wkbk - ComWeatherizationSchool_v4_0 | These split out by heating/cooling/ventillation & ASHP/ER/WSHP weighted by equipment type.
All | Insulation - Ceiling | Ventilation | sqft | 0.20133 | 0.78342 | RTF Wkbk - ComWeatherizationSchool_v4_0 | These split out by heating/cooling/ventillation & ASHP/ER/WSHP weighted by equipment type.
All | Insulation - Wall Cavity | Cooling | sqft | 0.96029 | 4.5813 | RTF Wkbk - ComWeatherizationSchool_v4_0 | These split out by heating/cooling/ventillation & ASHP/ER/WSHP weighted by equipment type.
All | Insulation - Wall Cavity | Space Heating | sqft | 1.6995 | 4.5813 | RTF Wkbk - ComWeatherizationSchool_v4_0 | These split out by heating/cooling/ventillation & ASHP/ER/WSHP weighted by equipment type.
All | Insulation - Wall Cavity | Ventilation | sqft | 1.1773 | 4.5813 | RTF Wkbk - ComWeatherizationSchool_v4_0 | These split out by heating/cooling/ventillation & ASHP/ER/WSHP weighted by equipment type.
All | Connected Thermostat - ENERGY STAR (1.0) | Cooling | tonCool | 2% | 2% | RTF Wkbk - ComConnectedThermostats_v2_0 | %s in Col E are pulled from IL TRM
All | Connected Thermostat - ENERGY STAR (1.0) | Space Heating | tonCool | 10% | 10% | RTF Wkbk - ComConnectedThermostats_v2_0 | %s in Col E are pulled from IL TRM
All | Connected Thermostat - ENERGY STAR (1.0) | Ventilation | tonCool | 10% | 10% | RTF Wkbk - ComConnectedThermostats_v2_0 | %s in Col E are pulled from IL TRM
All | Motors - Green Rewind (<100 HP) | Motors | kWh saved | 0.9035% | 0.8854% | RTF Wkbk - Ind_and_Ag_GreenMotorRewind_v4_0 | Extracted % savings, averaged all options 100HP and below
All | Motors - Green Rewind (100 HP+) | Motors | kWh saved | 0.5274% | 0.5269% | RTF Wkbk - Ind_and_Ag_GreenMotorRewind_v4_0 | Extracted % savings, averaged all options 100HP and above
All | Engine Block Heater Controls | Miscellaneous | Facility | 1681.3561 | 1681.3561 | RTF Wkbk - EngineBlockHeaterControls_v2_0
All | Circulating Engine Block Heater | Miscellaneous | Facility | 2287.851 | 2287.851 | RTF Wkbk - ComStandbyGeneratorBlockHeaters_v2_0
All | Agriculture - Stock Tank De-Icer | Miscellaneous | StockTank | 6301.125 | 6301.125 | RTF Wkbk - AgStockTankDe-Icer_v2_0
All | Agriculture - Thermostatically Controlled Outlets | Miscellaneous | IrrPump | 149.25 | 149.25 | RTF Wkbks - AgThermostaticallyControlledOutlet_v2_0
All | RTU - Advanced Controls | Cooling | sqft | 17.28% | 17.28% | NWPCC 2021 Power Plan - 2021P_Com-ARC-2021P_V4
All | Interior Lighting - Retrofit - Networked Lighting Controls | Interior Lighting | sqft | 13% | 57% - 44% | NWPCC 2021 Power Plan - Com-LightingInterior-2021P_V20 | %Savings of Networked Fixture Controls (top) derived from 2021P, removed Embedded Fixture Controls (bottom) as baseline
All | Interior Lighting - LED/LEC Exit Lighting | Interior Lighting | sqft | 1.72% | 1.72% | NWPCC 2021 Power Plan - Com-LightingInterior-2021P_V20 | Matched
All | Refrigeration - System Optimization | Process | kWh Saved | 15% | 15% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Matched - Refrigeration Retrofit (med temp)
All | Refrigeration - System Upgrade | Process | kWh Saved | 10% | 15% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 and ENERGY350 Final-Food Products Segment Report | AEG Engineering Assumption - reduced from System Optimization and split out based on Food Products Segment Report
All | Refrigeration - System Maintenance | Process | kWh Saved | 10% | 15% | NWPCC 2021 Plan - Final-Food Products Segment Report | AEG Engineering Assumption - reduced from System Optimization and split out based on Food Products Segment Report
All | Pumping System - Equipment Upgrade | Motors | kWh Saved | 3.338% | 3.338% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Pumping System - System Optimization | Motors | kWh Saved | 9.694% | 9.694% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Pumping System - Variable Speed Drive | Motors | kWh Saved | 4.385% | 4.385% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Material Handling - Variable Speed Drive | Motors | kWh Saved | 5.313% | 5.313% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Fan System - Equipment Upgrade | Motors | kWh Saved | 21.69% | 21.57% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Fan System - Flow Optimization | Motors | kWh Saved | 9.882% | 9.828% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Fan System - Variable Speed Drive | Motors | kWh Saved | 7.094% | 7.055% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Compressed Air - Variable Speed Drive | Motors | kWh Saved | 8.261% | 8.261% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Compressed Air - Equipment Upgrade | Motors | kWh Saved | 13.37% | 13.37% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Compressed Air - End Use Optimization | Motors | kWh Saved | 10% | 10% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Air Compressor Demand Reduction
All | Compressed Air - System Controls | Motors | kWh Saved | 4.579% | 4.579% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Air Compressor (Large) System Optimization
All | Panel - Hydraulic Press | Motors | kWh Saved | 28% | 28% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Advanced Industrial Motors | Motors | kWh Saved | 5.3% | 5.313% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Paper - Process Efficiency | Process | kWh Saved | 7.5% | 7.5% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Paper - Efficient Pulp Screen | Process | kWh Saved | 15% | 15% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Paper - Effluent Treatment System | Process | kWh Saved | 15% | 15% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Paper - Efficient Agitator | Motors | kWh Saved | 50% | 50% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Kraft: Efficient Agitator
All | Paper - Vacuum Upgrades | Motors | kWh Saved | 20% | 20% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Mech Pulp - Refiner Plate Improvement | Motors | kWh Saved | 10% | 10% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Mech Pulp: Refiner Optimization
All | Mech Pulp - Refiner Optimization | Motors | kWh Saved | 10% | 10% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Mech Pulp: Refiner Optimization
All | Mech Pulp - Hydraulic Power Units | Motors | kWh Saved | 2.5% | 2.5% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Mech and Kraft: Hydraulic Power Units
All | Wood - Replace Pneumatic Conveyor | Motors | kWh Saved | 29% | 29% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Wood - Process Optimization | Process | kWh Saved | 10.63% | 10.63% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Metal - New Arc Furnace | Process | kWh Saved | 35% | 35% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Electronics - Chiller Plant Optimization | Process | kWh Saved | 40% | 40% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08 | Elec Chip Fab: Solidstate Chiller
All | Electronics - Exhaust Injection | Process | kWh Saved | 50% | 50% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
Wastewater | Municipal Water Treatment - UV-C LED Disinfection | Process | kWh Saved | 25% | 25% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
Wastewater | Municipal Sewage Treatment - Optimization | Motors | kWh Saved | 26.57% | 26.57% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
Wastewater | Municipal Water Supply Treatment - Optimization | Motors | kWh Saved | 9.753% | 9.753% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
Agriculture | Dairy - Milk Pre-Cooler | Process | Milk1000Gal | 33.1803 | 3.8582 | NWPCC 2021 Power Plan: Ag_Dairy_2021P_v2 | Converted from per 1000 lb to per 1000 gallons of milk
Agriculture | Dairy - Heat Recovery from Refrigeration | Process | Milk1000lbs | 4.2176 | 4.2176 | NWPCC 2021 Power Plan: Ag_Dairy_2021P_v2
Agriculture | Dairy - Variable Speed Milk Vacuum Pump | Motors | Milk1000lbs | 4.8886 | 4.8886 | NWPCC 2021 Power Plan: Ag_Dairy_2021P_v2
Agriculture | Dairy - Variable Speed Milk Transfer Pump | Motors | Milk1000Gal | 0.88203 | 0.88203 | NWPCC 2021 Power Plan - Ag-Dairy-2021P_v2
Agriculture | Dairy - Compressor Upgrade | Process | Milk1000Gal | 1.4352 | 1.4352 | NWPCC 2021 Power Plan - Ag-Dairy-2021P_v2
Agriculture | Agriculture - Efficient Stock Watering Tanks | Miscellaneous | StockTank | 64.8849 | 64.8849 | NWPCC 2021 Power Plan - Ag-StockTankEff-2021P_v2
Agriculture | Agriculture - Efficient Circulation Fan | Ventilation | AgFan | 147.6759 | 147.6759 | NWPCC 2021 Power Plan: Ag_Dairy_2021P_v2
All | Transformer - High Efficiency | Cooling | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Transformer - High Efficiency | Space Heating | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Transformer - High Efficiency | Ventilation | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Transformer - High Efficiency | Interior Lighting | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Transformer - High Efficiency | Exterior Lighting | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Transformer - High Efficiency | Motors | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Transformer - High Efficiency | Process | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Transformer - High Efficiency | Miscellaneous | kWh Saved | 0.5948% | 0.5948% | NWPCC 2021 Power Plan - DE-Distribution Efficiency-2021P_V7 | Energy Savings = CRVf * Base % dV = 0.60962*0.0098 = 0.59%
All | Strategic Energy Management | Cooling | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Strategic Energy Management | Space Heating | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Strategic Energy Management | Ventilation | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Strategic Energy Management | Interior Lighting | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Strategic Energy Management | Exterior Lighting | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Strategic Energy Management | Motors | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Strategic Energy Management | Process | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08
All | Strategic Energy Management | Miscellaneous | kWh Saved | 3% | 3% | NWPCC 2021 Plan - Industrial_Tool_2021P_v08

## Irrigation
Segment | Measure Name | End Use | Unit Definition | Average Savings per Unit (Annual kWh @meter) | 2021 Plan/RTF Savings per Unit (Annual kWh @meter) | Reference | Notes
Irrigation | Wheel/Hand - Nozzle Replacement | Motors | Acres | 36.8873 | 30.3318 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Wheel/Hand - Gasket Replacement | Motors | Acres | 22.9135 | 18.8415 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Wheel/Hand - Drain Replacement | Motors | Acres | 16.8265 | 13.8362 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Wheel/Hand - Leveler Maintenance | Motors | Acres | 6.2291 | 5.1221 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Wheel/Hand - New or Rebuilt Impact Sprinkler | Motors | Acres | 3.2663 | 2.6858 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Center Pivot/Linear - Sprinkler Package Replacement - High Pressure | Motors | Acres | 28.1753 | 69.0591 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Center Pivot/Linear - Sprinkler Package Replacement - MESA | Motors | Acres | 28.1753 | 34.5295 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Center Pivot/Linear - Sprinkler Package Replacement - LESA/LEPA/MDI | Motors | Acres | 28.1753 | 17.2648 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Center Pivot/Linear - Sprinkler Package Upgrade - High Pressure to MESA | Motors | Acres | 45.7596 | 61.3248 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Center Pivot/Linear - Sprinkler Package Upgrade - High Pressure to LESA/LEPA/MDI | Motors | Acres | 101.8976 | 64.5524 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Center Pivot/Linear - Sprinkler Package Upgrade - MESA to LESA/LEPA/MDI | Motors | Acres | 64.1577 | 38.7315 | RTF Wkbk - AgIrrigationHardwareMaintenance_v6_0 | Adapted to per Acre, implemented RMP Adjustments for WA state on average
Irrigation | Motors - Variable Frequency Drive | Motors | IrrPump | 13049.5471 | 39797.1451 | NWPCC 2021 Power Plan - Ag-Irr_Motor-2021P_v2 RTF Wkbk - ComAgIndPumps_v3_0 | Extracted % Savings and applied to our baseline; RTF - Variable Speed; All Pump Classes; Application: Agricultural Irrigation; 50 to 99.9 HP; 0.34 Change in PEICL - Washington
Irrigation | Motors - Green Rewind (<100 HP) | Motors | kWh saved | 204.6185 | 525.201 | RTF Wkbk - Ind_and_Ag_GreenMotorRewind_v4_0 | Removed current practice baseline, extracted a % savings
Irrigation | Motors - Green Rewind (100 HP+) | Motors | kWh saved | 2245.4834 | 2366.0222 | RTF Wkbk - Ind_and_Ag_GreenMotorRewind_v4_0 | Removed current practice baseline, extracted a % savings
Irrigation | Pump Equipment Upgrade (<100 HP) | Motors | kWh Saved | 4252.5949 | 326.3479 | RTF Wkbk - ComAgIndPumps_v3_0 | Extracted % Savings and applied to our baseline; RTF - Constant Speed; Pump Classes; Application: Agricultural Irrigation; 50 to 99.9 HP; 0.18 Change in PEI - Washington
Irrigation | Pump Equipment Upgrade (100 HP+) | Motors | kWh Saved | 79951.4212 | 340.0936 | RTF Wkbk - ComAgIndPumps_v3_0 | Extracted % Savings and applied to our baseline; RTF - Constant Speed; Pump Classes; Application: Agricultural Irrigation; 100 to 200 HP; 0.18 Change in PEI - Washington
Irrigation | Motors - Variable Frequency Drive | Motors | IrrPump | 13049.5471 | 39797.1451 | NWPCC 2021 Power Plan - Ag-Irr_Motor-2021P_v2 RTF Wkbk - ComAgIndPumps_v3_0 | Extracted % Savings and applied to our baseline; RTF - Variable Speed; All Pump Classes; Application: Agricultural Irrigation; 50 to 99.9 HP; 0.34 Change in PEICL - Washington
Irrigation | Motors - Variable Frequency Drive | Motors | IrrPump | 13049.5471 | 39797.1451 | NWPCC 2021 Power Plan - Ag-Irr_Motor-2021P_v2 RTF Wkbk - ComAgIndPumps_v3_0 | Extracted % Savings and applied to our baseline; RTF - Variable Speed; All Pump Classes; Application: Agricultural Irrigation; 50 to 99.9 HP; 0.34 Change in PEICL - Washington
Irrigation | Hand Line - Conversion to Low Pressure System | Motors | Acres | 89.3948 | 176.0815 | NWPCC 2021 Power Plan - Ag-Irr_Eff-2021P_v3 | Extracted % Savings and applied to our baseline
Irrigation | Wheel Line - Conversion to Low Pressure System | Motors | Acres | 89.3948 | 176.0815 | NWPCC 2021 Power Plan - Ag-Irr_Eff-2021P_v3 | Extracted % Savings and applied to our baseline
Irrigation | Variable Rate Irrigation | Motors | Acres | 44.3884 | 47.5922 | NWPCC 2021 Power Plan - Ag-Irr_Eff-2021P_v3 | Extracted % Savings and applied to our baseline
Irrigation | Hand Line - Conversion to Low Pressure System | Motors | Acres | 89.3948 | 176.0815 | NWPCC 2021 Power Plan - Ag-Irr_Eff-2021P_v3 | Extracted % Savings and applied to our baseline
Irrigation | Wheel Line - Conversion to Low Pressure System | Motors | Acres | 89.3948 | 176.0815 | NWPCC 2021 Power Plan - Ag-Irr_Eff-2021P_v3 | Extracted % Savings and applied to our baseline
Irrigation | Variable Rate Irrigation | Motors | Acres | 44.3884 | 47.5922 | NWPCC 2021 Power Plan - Ag-Irr_Eff-2021P_v3 | Extracted % Savings and applied to our baseline