## IRP Inputs
|  |  |  | Summer Events |  | Winter Events |  | Levelized Costs ($/kW) |  | Existing and Planned Resources |  | Summer Incremental Peak Reduction (MW @generator) | [19 empty] | Winter Incremental Peak Reduction (MW @generator)
State | Sector | Program Category | Program Option | Summer DR Event Hours | Maximum Summer Event Length | Winter DR Event Hours | Maximum Winter Event Length | Summer Levelized Costs ($/kW) | Winter Levelized Costs ($/kW) | Summer | Winter | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
CA | C&I | Curtailment | Third Party - Sustained | 20 | 4 | 20 | 4 | 30.6578 | 42.0412 | 0 | 0 | 0.10485 | 0.19975 | 0.38725 | 0.17321 | 0.070316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078079 | 0.14631 | 0.29124 | 0.11748 | 0.028979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010099 | 0 | 0.001564 | 0 | 0 | 0.0067163
ID | C&I | Curtailment | Third Party - Sustained | 20 | 4 | 20 | 4 | 40.0648 | 31.0415 | 0 | 0 | 0.19188 | 0.36528 | 0.7671 | 0.31413 | 0.098003 | 0 | 0 | 0 | 0.029665 | 0 | 0 | 0 | 0 | 0.23562 | 0 | 0 | 0 | 0 | 0 | 0.11189 | 0.25633 | 0.49058 | 0.92398 | 0.43589 | 0.14129 | 0 | 0 | 0 | 0 | 0 | 0.19517 | 0 | 0.0064514 | 0 | 0 | 0.037129 | 0.0018165 | 0.029365 | 0 | 0
OR | C&I | Curtailment | Third Party - Sustained | 20 | 4 | 20 | 4 | 30.5111 | 36.2965 | 40 | 20 | 1.1752 | 5.6493 | 4.5585 | 0.67082 | 2.9266 | 3.1081 | 2.4791 | 0 | 1.7813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.067916 | 0.089198 | 0.85131 | 13.2439 | 6.0263 | 3.9625 | 1.0925 | 3.128 | 3.4349 | 0.16153 | 0 | 1.1747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.032996
UT | C&I | Curtailment | Third Party - Sustained | 20 | 4 | 20 | 4 | 40.0826 | 41.3005 | 30 | 30 | 0.76664 | 5.2876 | 4.1225 | 0.22104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3023 | 3.6533 | 0.84854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WA | C&I | Curtailment | Third Party - Sustained | 20 | 4 | 20 | 4 | 27.5832 | 28.9875 | 15 | 8 | 2.6821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.057824 | 0.12533 | 0.097987 | 9.243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WY | C&I | Curtailment | Third Party - Sustained | 20 | 4 | 20 | 4 | 40.5929 | 40.5585 | 0 | 0 | 2.862 | 6.2204 | 12.2872 | 6.0045 | 2.7959 | 0.014553 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.088283 | 0.032166 | 0.022445 | 2.969 | 5.7615 | 12.6156 | 6.0575 | 3.1345 | 0 | 0 | 0 | 0.1933 | 0 | 0.043272 | 0 | 0 | 0 | 0.35486 | 0 | 0.15066 | 0 | 0 | 0.37298
CA | Residential | DLC (Conventional) | EV DLC | 18 | 6 | 18 | 6 | 374.674 | 374.674 | 0 | 0 | 9.5498e-05 | 0.00026264 | 0.00039721 | 0.00059671 | 0.0014125 | 0.0022022 | 0.0033601 | 0.0049696 | 0.0072697 | 0.0095062 | 0.012071 | 0.014957 | 0.018088 | 0.02948 | 0.035684 | 0.041964 | 0.048473 | 0.0556 | 0.06548 | 0.081187 | 9.5498e-05 | 0.00026264 | 0.00039721 | 0.00059671 | 0.0014125 | 0.0022022 | 0.0033601 | 0.0049696 | 0.0072697 | 0.0095062 | 0.012071 | 0.014957 | 0.018088 | 0.02948 | 0.035684 | 0.041964 | 0.048473 | 0.0556 | 0.06548 | 0.081187
ID | Residential | DLC (Conventional) | EV DLC | 18 | 6 | 18 | 6 | 358.1018 | 358.1018 | 0 | 0 | 0.00041615 | 0.0010828 | 0.0014247 | 0.0017829 | 0.0036682 | 0.0043938 | 0.005157 | 0.0059851 | 0.0068841 | 0.007837 | 0.0088314 | 0.0098604 | 0.010914 | 0.018862 | 0.021068 | 0.023399 | 0.025748 | 0.028264 | 0.030756 | 0.035765 | 0.00041615 | 0.0010828 | 0.0014247 | 0.0017829 | 0.0036682 | 0.0043938 | 0.005157 | 0.0059851 | 0.0068841 | 0.007837 | 0.0088314 | 0.0098604 | 0.010914 | 0.018862 | 0.021068 | 0.023399 | 0.025748 | 0.028264 | 0.030756 | 0.035765
OR | Residential | DLC (Conventional) | EV DLC | 18 | 6 | 18 | 6 | 384.526 | 384.526 | 0 | 0 | 0.01199 | 0.035317 | 0.054817 | 0.080433 | 0.20623 | 0.33295 | 0.51978 | 0.78237 | 1.1181 | 1.2944 | 1.6328 | 2.0185 | 2.4412 | 4.0188 | 4.8639 | 5.7327 | 5.9474 | 3.6013 | 3.6546 | 4.1322 | 0.01199 | 0.035317 | 0.054817 | 0.080433 | 0.20623 | 0.33295 | 0.51978 | 0.78237 | 1.1181 | 1.2944 | 1.6328 | 2.0185 | 2.4412 | 4.0188 | 4.8639 | 5.7327 | 5.9474 | 3.6013 | 3.6546 | 4.1322
UT | Residential | DLC (Conventional) | EV DLC | 18 | 6 | 18 | 6 | 408.1797 | 408.1797 | 0 | 0 | 0.026546 | 0.085299 | 0.14312 | 0.22012 | 0.51431 | 0.78129 | 1.149 | 1.63 | 2.1959 | 2.8658 | 3.6531 | 4.5607 | 5.5713 | 9.191 | 11.2393 | 9.4121 | 7.3156 | 7.5207 | 7.7258 | 8.7772 | 0.026546 | 0.085299 | 0.14312 | 0.22012 | 0.51431 | 0.78129 | 1.149 | 1.63 | 2.1959 | 2.8658 | 3.6531 | 4.5607 | 5.5713 | 9.191 | 11.2393 | 9.4121 | 7.3156 | 7.5207 | 7.7258 | 8.7772
WA | Residential | DLC (Conventional) | EV DLC | 18 | 6 | 18 | 6 | 344.1284 | 344.1284 | 0 | 0 | 0.00065841 | 0.0018245 | 0.002725 | 0.0041406 | 0.0097593 | 0.015167 | 0.023013 | 0.033858 | 0.047288 | 0.064083 | 0.084796 | 0.10971 | 0.13844 | 0.22455 | 0.27586 | 0.32856 | 0.38371 | 0.44458 | 0.52845 | 0.65997 | 0.00065841 | 0.0018245 | 0.002725 | 0.0041406 | 0.0097593 | 0.015167 | 0.023013 | 0.033858 | 0.047288 | 0.064083 | 0.084796 | 0.10971 | 0.13844 | 0.22455 | 0.27586 | 0.32856 | 0.38371 | 0.44458 | 0.52845 | 0.65997
WY | Residential | DLC (Conventional) | EV DLC | 18 | 6 | 18 | 6 | 368.6725 | 368.6725 | 0 | 0 | 0.00062557 | 0.0016559 | 0.0023057 | 0.0031672 | 0.0069903 | 0.0082596 | 0.0095141 | 0.011073 | 0.012727 | 0.01445 | 0.016226 | 0.018038 | 0.019847 | 0.034187 | 0.037879 | 0.041671 | 0.045427 | 0.049373 | 0.053148 | 0.061288 | 0.00062557 | 0.0016559 | 0.0023057 | 0.0031672 | 0.0069903 | 0.0082596 | 0.0095141 | 0.011073 | 0.012727 | 0.01445 | 0.016226 | 0.018038 | 0.019847 | 0.034187 | 0.037879 | 0.041671 | 0.045427 | 0.049373 | 0.053148 | 0.061288
CA | C&I | DLC (Conventional) | HVAC DLC | 100 | 4 | 18 | 4 | 35.7615 | 189.7393 | 0 | 0 | 0.18109 | 0.35226 | 0.66455 | 0.30835 | 0.14453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03491 | 0.066951 | 0.1266 | 0.055157 | 0.022104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0025623 | 0 | 0.0007237 | 0 | 0 | 0.0012639
ID | C&I | DLC (Conventional) | HVAC DLC | 100 | 4 | 18 | 4 | 54.207 | 236.025 | 0 | 0 | 0.23036 | 0.44843 | 0.92017 | 0.41819 | 0.18523 | 0 | 0 | 0 | 0.060574 | 0 | 0 | 0 | 0 | 0.28266 | 0 | 0 | 0 | 0.0018663 | 0.0084481 | 0.15738 | 0.055229 | 0.10762 | 0.20251 | 0.095508 | 0.038172 | 0 | 0 | 0 | 0 | 0 | 0.037486 | 0 | 0.0047707 | 0 | 0 | 0.010718 | 0.0052531 | 0.010063 | 0 | 0
OR | C&I | DLC (Conventional) | HVAC DLC | 100 | 4 | 18 | 4 | 32.6806 | 177.3386 | 0 | 0 | 1.8253 | 3.6617 | 7.2118 | 3.5778 | 1.851 | 0.12789 | 0.11035 | 0.059648 | 0.10692 | 0.06095 | 0.07433 | 0.074744 | 0.073889 | 0.070282 | 0.070935 | 0.06606 | 0.06679 | 0.0663 | 0.063716 | 0.072298 | 0.33938 | 0.67741 | 1.324 | 0.65783 | 0.33156 | 0.01287 | 0.013826 | 0.014668 | 0.01504 | 0.015405 | 0.01556 | 0.015675 | 0.015376 | 0.014763 | 0.014186 | 0.013691 | 0.0137 | 0.013038 | 0.012365 | 0.011972
UT | C&I | DLC (Conventional) | HVAC DLC | 100 | 4 | 18 | 4 | 26.18 | 209.8726 | 18 | 0 | 6.2629 | 0.24413 | 0.30352 | 0.42903 | 0.36785 | 0.32568 | 0.31264 | 0.29246 | 0.2879 | 0.28466 | 0.28384 | 0.27957 | 0.28172 | 0.27518 | 0.27429 | 0.27085 | 0.27113 | 0.27036 | 0.26832 | 0.26768 | 0.53859 | 1.0836 | 2.1573 | 1.1358 | 0.59178 | 0.064853 | 0.065198 | 0.041445 | 0.0478 | 0.04427 | 0.046738 | 0.045161 | 0.045763 | 0.038745 | 0.05004 | 0.04542 | 0.049645 | 0.044263 | 0.04409 | 0.049232
WA | C&I | DLC (Conventional) | HVAC DLC | 100 | 4 | 18 | 4 | 25.9144 | 161.5 | 0 | 0 | 0.53373 | 1.0655 | 2.0957 | 1.0417 | 0.52768 | 0.020505 | 0.0185 | 0.018594 | 0.023847 | 0.026293 | 0.026568 | 0.026835 | 0.021915 | 0.023382 | 0.021328 | 0.014601 | 0.015873 | 0.023978 | 0.026686 | 0.028879 | 0.086535 | 0.17204 | 0.33634 | 0.16543 | 0.078244 | 0.0026955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00028018 | 0 | 0
WY | C&I | DLC (Conventional) | HVAC DLC | 100 | 4 | 18 | 4 | 61.769 | 262.127 | 0 | 0 | 0.44067 | 0.91725 | 1.6563 | 0.77373 | 0.34264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10891 | 0.20697 | 0.39585 | 0.1777 | 0.084041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0020819 | 0 | 0 | 0 | 0 | 0.0057623
CA | Residential | DLC (Conventional) | HVAC DLC | 100 | 6 | 18 | 6 | 282.0192 | 58.0656 | 0 | 0 | 0.05512 | 0.1117 | 0.22667 | 0.11761 | 0.062786 | 0.0088177 | 0.021264 | 0.0079445 | 0.0089326 | 0.0075121 | 0.0088933 | 0.0096787 | 0.0090864 | 0.0086273 | 0.0083963 | 0.006784 | 0.0086701 | 0.0099984 | 0.010276 | 0.011255 | 0.26769 | 0.54385 | 1.0999 | 0.57052 | 0.30396 | 0.029763 | 0.029865 | 0.030122 | 0.03061 | 0.031486 | 0.034598 | 0.035435 | 0.03591 | 0.036079 | 0.03657 | 0.036899 | 0.037485 | 0.037995 | 0.038512 | 0.038861
ID | Residential | DLC (Conventional) | HVAC DLC | 100 | 6 | 18 | 6 | 153.0576 | 130.5329 | 0 | 0 | 0.32897 | 0.6703 | 1.4982 | 0.79823 | 0.46037 | 0 | 0.081631 | 0.098773 | 0.32049 | 0.11446 | 0 | 0.090866 | 0.091148 | 0.65682 | 0 | 0.10238 | 0 | 0.08136 | 0.091162 | 0.3717 | 0.39074 | 0.81731 | 1.6639 | 0.98482 | 0.56922 | 0.1606 | 0.15977 | 0.13487 | 0.11129 | 0 | 0.60279 | 0.19559 | 0.26997 | 0.097086 | 0.11237 | 0.33704 | 0.26419 | 0.3151 | 0.11929 | 0.048062
OR | Residential | DLC (Conventional) | HVAC DLC | 100 | 6 | 18 | 6 | 238.6921 | 68.7677 | 0 | 0 | 1.5143 | 3.0858 | 6.2647 | 3.2857 | 1.7815 | 0.22918 | 0.22099 | 0.25001 | 0.26569 | 0.29061 | 0.31743 | 0.32631 | 0.33155 | 0.3347 | 0.33793 | 0.34116 | 0.34514 | 0.34876 | 0.35262 | 0.35662 | 5.2942 | 10.7942 | 21.7479 | 11.2326 | 5.9424 | 0.55404 | 0.52042 | 0.61403 | 0.66112 | 0.73877 | 0.82182 | 0.84366 | 0.85302 | 0.85529 | 0.85774 | 0.86011 | 0.86486 | 0.86832 | 0.87249 | 0.87697
UT | Residential | DLC (Conventional) | HVAC DLC | 100 | 6 | 18 | 6 | 39.1336 | 266.0401 | 117 | 0 | 0.54457 | 0.95165 | 2.4946 | 2.4771 | 3.0467 | 3.4048 | 2.6271 | 4.3197 | 4.9168 | 5.1243 | 5.3953 | 5.7415 | 5.795 | 5.7633 | 6.1893 | 5.9278 | 5.9332 | 6.0147 | 6.3988 | 6.9649 | 2.6894 | 5.8066 | 12.45 | 7.6938 | 5.0425 | 2.1365 | 2.2141 | 2.495 | 3.0391 | 3.2617 | 3.6544 | 3.9841 | 4.2578 | 4.3744 | 5.2552 | 5.3529 | 5.8088 | 5.9766 | 6.3295 | 7.2593
WA | Residential | DLC (Conventional) | HVAC DLC | 100 | 6 | 18 | 6 | 228.9695 | 63.3658 | 0 | 0 | 0.42619 | 0.86864 | 1.7572 | 0.91494 | 0.49028 | 0.054973 | 0.052798 | 0.060157 | 0.06343 | 0.068964 | 0.075332 | 0.076637 | 0.077273 | 0.077384 | 0.077703 | 0.077891 | 0.077729 | 0.077971 | 0.078476 | 0.079711 | 1.5505 | 3.1604 | 6.3501 | 3.2606 | 1.7084 | 0.13588 | 0.12715 | 0.15242 | 0.16292 | 0.1813 | 0.20239 | 0.2055 | 0.20624 | 0.20517 | 0.20479 | 0.20398 | 0.20344 | 0.20318 | 0.20362 | 0.20666
WY | Residential | DLC (Conventional) | HVAC DLC | 100 | 6 | 18 | 6 | 154.8937 | 272.8327 | 0 | 0 | 0.38279 | 0.82292 | 1.5391 | 0.80876 | 0.42951 | 0.045321 | 0 | 0.037011 | 0.057755 | 0.011525 | 0.019937 | 0.038084 | 0.034572 | 0.041629 | 0.032321 | 0.019207 | 0.032936 | 0.050117 | 0.030585 | 0.033365 | 0.22862 | 0.44274 | 0.89746 | 0.44584 | 0.23896 | 0 | 0 | 0 | 0.023868 | 0 | 0.0022421 | 0.00453 | 0 | 0 | 0.01823 | 0 | 0.0077025 | 0 | 0 | 0.017604
CA | Irrigation | DLC (Conventional) | Irrigation DLC | 52 | 4 | 0 | 0 | 25.9628 | N/A | 0 | 0 | 0.13444 | 0.26537 | 0.5342 | 0.26158 | 0.12565 | 0 | 0.028753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0014968 | 0.011563 | 0.013255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ID | Irrigation | DLC (Conventional) | Irrigation DLC | 52 | 4 | 0 | 0 | 28.9601 | N/A | 170 | 0 | 0 | 0 | 8.0019 | 0 | 0 | 0 | 0 | 0 | 8.8915 | 0 | 0 | 0 | 0.12093 | 19.991 | 0 | 0 | 0 | 0 | 0.29829 | 8.9782 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OR | Irrigation | DLC (Conventional) | Irrigation DLC | 52 | 4 | 0 | 0 | 23.55 | N/A | 20 | 0 | 0 | 5.6234 | 6.7181 | 0.7973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UT | Irrigation | DLC (Conventional) | Irrigation DLC | 52 | 4 | 0 | 0 | 30.1808 | N/A | 20 | 0 | 0.90682 | 3.6129 | 2.8251 | 0.20224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WA | Irrigation | DLC (Conventional) | Irrigation DLC | 52 | 4 | 0 | 0 | 21.7142 | N/A | 6 | 0 | 0 | 2.6827 | 4.0024 | 1.319 | 0.67024 | 0 | 0.1109 | 0.038284 | 0.050228 | 0 | 0.098811 | 0.051121 | 0.011604 | 0.015196 | 0.056849 | 0 | 0 | 0 | 0.10518 | 0.094193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WY | Irrigation | DLC (Conventional) | Irrigation DLC | 52 | 4 | 0 | 0 | 31.6008 | N/A | 0 | 0 | 0.22636 | 0.48076 | 0.89087 | 0.44 | 0.20999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00016338 | 0 | 0 | 0 | 0.0019599 | 0.0027453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CA | Residential | DLC (Conventional) | Pool Pump DLC | 18 | 6 | 18 | 6 | 726.2281 | 1914.6014 | 0 | 0 | 0.0017177 | 0.0034462 | 0.0069119 | 0.0034876 | 0.0017732 | 4.5753e-05 | 4.765e-05 | 4.7903e-05 | 4.5545e-05 | 4.532e-05 | 4.2817e-05 | 4.0264e-05 | 4.0029e-05 | 3.8405e-05 | 3.8629e-05 | 3.7898e-05 | 3.857e-05 | 3.8746e-05 | 3.8895e-05 | 3.8124e-05 | 0.00065153 | 0.0013072 | 0.0026217 | 0.0013229 | 0.00067259 | 1.7354e-05 | 1.8074e-05 | 1.817e-05 | 1.7276e-05 | 1.719e-05 | 1.6241e-05 | 1.5272e-05 | 1.5183e-05 | 1.4567e-05 | 1.4652e-05 | 1.4375e-05 | 1.463e-05 | 1.4697e-05 | 1.4753e-05 | 1.4461e-05
ID | Residential | DLC (Conventional) | Pool Pump DLC | 18 | 6 | 18 | 6 | 792.437 | 2089.1521 | 0 | 0 | 0.0024903 | 0.0051239 | 0.01047 | 0.0055602 | 0.0030518 | 0.00042156 | 0.00041603 | 0.00040807 | 0.00040531 | 0.00040634 | 0.00039859 | 0.00037852 | 0.00037767 | 0.00037737 | 0.0003804 | 0.00038199 | 0.00037944 | 0.0003724 | 0.00036966 | 0.00036745 | 0.0009446 | 0.0019435 | 0.0039712 | 0.002109 | 0.0011576 | 0.0001599 | 0.0001578 | 0.00015479 | 0.00015374 | 0.00015413 | 0.00015119 | 0.00014358 | 0.00014325 | 0.00014314 | 0.00014429 | 0.00014489 | 0.00014393 | 0.00014126 | 0.00014022 | 0.00013938
OR | Residential | DLC (Conventional) | Pool Pump DLC | 18 | 6 | 18 | 6 | 735.903 | 1940.1078 | 0 | 0 | 0.024114 | 0.04897 | 0.09912 | 0.051319 | 0.027185 | 0.0023346 | 0.0022832 | 0.0022746 | 0.0022959 | 0.0023244 | 0.0023355 | 0.0023478 | 0.0023406 | 0.002319 | 0.0022978 | 0.0022764 | 0.0022652 | 0.0022481 | 0.0022335 | 0.0022188 | 0.0091465 | 0.018575 | 0.037597 | 0.019466 | 0.010312 | 0.00088554 | 0.00086605 | 0.00086277 | 0.00087087 | 0.00088167 | 0.00088589 | 0.00089054 | 0.00088781 | 0.00087962 | 0.00087156 | 0.00086348 | 0.00085921 | 0.00085272 | 0.00084718 | 0.00084161
UT | Residential | DLC (Conventional) | Pool Pump DLC | 18 | 6 | 18 | 6 | 814.6703 | 2147.7671 | 0 | 0 | 0.028795 | 0.059453 | 0.12197 | 0.065572 | 0.036728 | 0.0060228 | 0.005969 | 0.0058972 | 0.0058561 | 0.005829 | 0.0057749 | 0.0057051 | 0.0056571 | 0.0056012 | 0.0055454 | 0.0054922 | 0.0054393 | 0.0053887 | 0.0053339 | 0.0052786 | 0.010922 | 0.022551 | 0.046266 | 0.024872 | 0.013931 | 0.0022845 | 0.0022641 | 0.0022369 | 0.0022213 | 0.002211 | 0.0021905 | 0.002164 | 0.0021458 | 0.0021246 | 0.0021034 | 0.0020832 | 0.0020632 | 0.002044 | 0.0020232 | 0.0020022
WA | Residential | DLC (Conventional) | Pool Pump DLC | 18 | 6 | 18 | 6 | 671.0611 | 1769.1611 | 0 | 0 | 0.0076591 | 0.015559 | 0.031514 | 0.016348 | 0.0086835 | 0.00078421 | 0.00077771 | 0.00077101 | 0.00076456 | 0.00075565 | 0.00074824 | 0.00074074 | 0.00073318 | 0.00072226 | 0.0007147 | 0.00070516 | 0.00069699 | 0.00069022 | 0.00068685 | 0.00069561 | 0.0029052 | 0.0059015 | 0.011954 | 0.006201 | 0.0032938 | 0.00029746 | 0.000295 | 0.00029245 | 0.00029001 | 0.00028663 | 0.00028382 | 0.00028097 | 0.0002781 | 0.00027396 | 0.00027109 | 0.00026747 | 0.00026438 | 0.00026181 | 0.00026053 | 0.00026385
WY | Residential | DLC (Conventional) | Pool Pump DLC | 18 | 6 | 18 | 6 | 777.1782 | 2048.9242 | 0 | 0 | 0.00088351 | 0.0017816 | 0.0035861 | 0.0018283 | 0.00094574 | 4.8898e-05 | 4.8968e-05 | 4.9011e-05 | 4.675e-05 | 4.6355e-05 | 4.5694e-05 | 4.541e-05 | 4.5078e-05 | 4.4605e-05 | 4.4354e-05 | 4.4247e-05 | 4.4068e-05 | 4.3732e-05 | 4.3767e-05 | 4.3498e-05 | 0.00033512 | 0.00067577 | 0.0013602 | 0.00069349 | 0.00035873 | 1.8548e-05 | 1.8574e-05 | 1.859e-05 | 1.7733e-05 | 1.7583e-05 | 1.7332e-05 | 1.7225e-05 | 1.7099e-05 | 1.6919e-05 | 1.6824e-05 | 1.6783e-05 | 1.6716e-05 | 1.6588e-05 | 1.6601e-05 | 1.6499e-05
CA | C&I | DLC (Conventional) | Water Heater DLC | 100 | 4 | 100 | 4 | 178.0854 | 120.2271 | 0 | 0 | 0.038825 | 0.076948 | 0.15241 | 0.073697 | 0.033626 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.057558 | 0.11403 | 0.22578 | 0.10902 | 0.049527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ID | C&I | DLC (Conventional) | Water Heater DLC | 100 | 4 | 100 | 4 | 209.7641 | 141.7063 | 0 | 0 | 0.035191 | 0.070344 | 0.1376 | 0.068492 | 0.034595 | 0.0013478 | 0.0011202 | 0.0006291 | 0.0002423 | 0.00020257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.052143 | 0.10418 | 0.20369 | 0.10124 | 0.050957 | 0.0017172 | 0.0013766 | 0.00061887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OR | C&I | DLC (Conventional) | Water Heater DLC | 100 | 4 | 100 | 4 | 162.3019 | 109.4492 | 0 | 0 | 0.32939 | 0.59257 | 1.0708 | 0.36126 | 0.026945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48845 | 0.87872 | 1.5879 | 0.53572 | 0.039956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UT | C&I | DLC (Conventional) | Water Heater DLC | 100 | 4 | 100 | 4 | 215.7406 | 145.7194 | 0 | 0 | 0.32912 | 0.66523 | 1.3397 | 0.68256 | 0.34598 | 0.0065353 | 0.0045221 | 0.00089831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48773 | 0.9854 | 1.9835 | 1.0092 | 0.50981 | 0.0070044 | 0.0039603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WA | C&I | DLC (Conventional) | Water Heater DLC | 100 | 4 | 100 | 4 | 147.2519 | 99.3051 | 0 | 0 | 0.075336 | 0.13592 | 0.24581 | 0.083197 | 0.0065017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11171 | 0.20155 | 0.36449 | 0.12337 | 0.0096407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WY | C&I | DLC (Conventional) | Water Heater DLC | 100 | 4 | 100 | 4 | 204.2136 | 137.9102 | 0 | 0 | 0.082012 | 0.16127 | 0.31153 | 0.14894 | 0.070215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12153 | 0.2389 | 0.46132 | 0.22027 | 0.10349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CA | Residential | DLC (Conventional) | Water Heater DLC | 100 | 6 | 100 | 6 | 153.4164 | 102.7717 | 0 | 0 | 0.33786 | 0.68349 | 1.3802 | 0.70951 | 0.37118 | 0.024657 | 0.023954 | 0.023029 | 0.022523 | 0.02211 | 0.021395 | 0.020744 | 0.020628 | 0.020272 | 0.020341 | 0.020252 | 0.020483 | 0.020642 | 0.020821 | 0.02082 | 0.50435 | 1.0203 | 2.0604 | 1.0591 | 0.5541 | 0.036806 | 0.035757 | 0.034375 | 0.033619 | 0.033003 | 0.031936 | 0.030965 | 0.030792 | 0.03026 | 0.030364 | 0.030231 | 0.030576 | 0.030814 | 0.031082 | 0.03108
ID | Residential | DLC (Conventional) | Water Heater DLC | 100 | 6 | 100 | 6 | 172.7399 | 115.4761 | 0 | 0 | 0.34409 | 0.72586 | 1.5135 | 0.8494 | 0.50499 | 0.1248 | 0.12565 | 0.12612 | 0.12737 | 0.12923 | 0.13078 | 0.13041 | 0.13321 | 0.13619 | 0.13984 | 0.14243 | 0.13689 | 0.13867 | 0.14123 | 0.14392 | 0.51472 | 1.0858 | 2.264 | 1.2706 | 0.75541 | 0.18668 | 0.18796 | 0.18866 | 0.19052 | 0.19331 | 0.19563 | 0.19508 | 0.19926 | 0.20373 | 0.20918 | 0.21306 | 0.20476 | 0.20741 | 0.21124 | 0.21526
OR | Residential | DLC (Conventional) | Water Heater DLC | 100 | 6 | 100 | 6 | 137.8186 | 92.1784 | 3.5 | 5.2 | 0.0029537 | 6.0374 | 11.4792 | 4.2816 | 0.77366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.038119 | 9.0258 | 17.1628 | 6.4015 | 1.1567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UT | Residential | DLC (Conventional) | Water Heater DLC | 100 | 6 | 100 | 6 | 181.5479 | 121.3326 | 0 | 0 | 1.434 | 3.1861 | 6.9456 | 4.3737 | 3.0287 | 1.3299 | 1.4067 | 1.4868 | 1.5737 | 1.6668 | 1.7675 | 1.8729 | 1.9864 | 2.1056 | 2.2317 | 2.365 | 2.5059 | 2.6548 | 2.8115 | 2.9766 | 2.1456 | 4.7674 | 10.3926 | 6.5443 | 4.5318 | 1.9898 | 2.1048 | 2.2246 | 2.3546 | 2.494 | 2.6447 | 2.8025 | 2.9722 | 3.1506 | 3.3392 | 3.5387 | 3.7495 | 3.9723 | 4.2067 | 4.4539
WA | Residential | DLC (Conventional) | Water Heater DLC | 100 | 6 | 100 | 6 | 121.889 | 81.5346 | 1.7 | 2.6 | 0.024502 | 0.73782 | 2.9628 | 1.1051 | 0.19968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.103 | 4.4291 | 1.652 | 0.29851 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WY | Residential | DLC (Conventional) | Water Heater DLC | 100 | 6 | 100 | 6 | 165.3753 | 110.5286 | 0 | 0 | 0.45762 | 0.9168 | 1.8351 | 0.91897 | 0.45957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6847 | 1.3717 | 2.7457 | 1.375 | 0.68762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CA | Residential | DLC (Smart / Interactive) | DLC of Smart Home | 20 | 6 | 20 | 6 | 707.5802 | 358.2828 | 0 | 0 | 0.00040569 | 0.0011013 | 0.0025398 | 0.0021015 | 0.0019912 | 0.001768 | 0.001926 | 0.0019489 | 0.0018108 | 0.0015246 | 0.0011895 | 0.00076647 | 0.00041544 | 0.00016345 | 2.8222e-05 | 0 | 0 | 0 | 0 | 0 | 0.00080121 | 0.0021751 | 0.0050159 | 0.0041503 | 0.0039326 | 0.0034917 | 0.0038036 | 0.0038489 | 0.0035763 | 0.0030109 | 0.0023491 | 0.0015137 | 0.00082047 | 0.0003228 | 5.5737e-05 | 0 | 0 | 0 | 0 | 0
ID | Residential | DLC (Smart / Interactive) | DLC of Smart Home | 20 | 6 | 20 | 6 | 791.182 | 400.6146 | 0 | 0 | 0.00083303 | 0.002268 | 0.0053542 | 0.0045126 | 0.0043026 | 0.0037971 | 0.0041615 | 0.0042752 | 0.00402 | 0.0034373 | 0.0026626 | 0.0016671 | 0.00085945 | 0.00027057 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016452 | 0.0044791 | 0.010574 | 0.008912 | 0.0084973 | 0.007499 | 0.0082186 | 0.0084432 | 0.0079392 | 0.0067884 | 0.0052585 | 0.0032923 | 0.0016973 | 0.00053436 | 0 | 0 | 0 | 0 | 0 | 0
OR | Residential | DLC (Smart / Interactive) | DLC of Smart Home | 20 | 6 | 20 | 6 | 709.6622 | 359.337 | 0 | 0 | 0.0057585 | 0.015875 | 0.036373 | 0.029342 | 0.026858 | 0.023477 | 0.024934 | 0.024928 | 0.0226 | 0.018528 | 0.01384 | 0.0082048 | 0.003664 | 0.00048913 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011373 | 0.031352 | 0.071834 | 0.057947 | 0.053043 | 0.046366 | 0.049242 | 0.049232 | 0.044633 | 0.036591 | 0.027332 | 0.016204 | 0.0072362 | 0.000966 | 0 | 0 | 0 | 0 | 0 | 0
UT | Residential | DLC (Smart / Interactive) | DLC of Smart Home | 20 | 6 | 20 | 6 | 819.8517 | 415.1314 | 0 | 0 | 0.008915 | 0.025392 | 0.064755 | 0.057699 | 0.055355 | 0.046557 | 0.050619 | 0.051901 | 0.048431 | 0.041157 | 0.031574 | 0.01937 | 0.0093402 | 0.0018446 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017606 | 0.050147 | 0.12789 | 0.11395 | 0.10932 | 0.091946 | 0.099969 | 0.1025 | 0.095648 | 0.081282 | 0.062357 | 0.038255 | 0.018446 | 0.0036429 | 0 | 0 | 0 | 0 | 0 | 0
WA | Residential | DLC (Smart / Interactive) | DLC of Smart Home | 20 | 6 | 20 | 6 | 637.4249 | 322.7597 | 0 | 0 | 0.0011826 | 0.0032643 | 0.0069153 | 0.0051457 | 0.0045136 | 0.0040989 | 0.004279 | 0.0041968 | 0.0036939 | 0.0028989 | 0.0020651 | 0.0010808 | 0.0003081 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0023355 | 0.0064468 | 0.013657 | 0.010162 | 0.008914 | 0.0080951 | 0.0084506 | 0.0082884 | 0.0072951 | 0.0057252 | 0.0040784 | 0.0021345 | 0.00060847 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WY | Residential | DLC (Smart / Interactive) | DLC of Smart Home | 20 | 6 | 20 | 6 | 786.9525 | 398.4729 | 0 | 0 | 0.0013453 | 0.0037443 | 0.0091793 | 0.0079782 | 0.0076571 | 0.0065765 | 0.0071939 | 0.0073837 | 0.0069514 | 0.0059883 | 0.0046923 | 0.0030978 | 0.0017774 | 0.00082232 | 0.00030807 | 0 | 0 | 0 | 0 | 0 | 0.0026568 | 0.0073948 | 0.018128 | 0.015756 | 0.015122 | 0.012988 | 0.014207 | 0.014582 | 0.013728 | 0.011826 | 0.0092669 | 0.0061178 | 0.0035103 | 0.001624 | 0.00060841 | 0 | 0 | 0 | 0 | 0
CA | C&I | DLC (Smart / Interactive) | GIWH DLC | 100 | 4 | 100 | 4 | 105.4042 | 71.2729 | 0 | 0 | 2.1563e-05 | 9.5912e-05 | 0.00024849 | 0.00043917 | 0.00075486 | 0.0010774 | 0.0016677 | 0.0021831 | 0.0025744 | 0.0031904 | 0.0015278 | 0.0014322 | 0.0013685 | 0.0011664 | 0.0011441 | 0.0011006 | 0.0010741 | 0.0010487 | 0.001039 | 0.00096182 | 3.1819e-05 | 0.00014166 | 0.00036726 | 0.0006496 | 0.0011181 | 0.0015981 | 0.002475 | 0.0032425 | 0.0038299 | 0.0047513 | 0.002287 | 0.0021526 | 0.0020612 | 0.001783 | 0.0017483 | 0.0016854 | 0.0016457 | 0.0016081 | 0.0015915 | 0.001485
ID | C&I | DLC (Smart / Interactive) | GIWH DLC | 100 | 4 | 100 | 4 | 162.7332 | 109.7144 | 0 | 0 | 1.4123e-05 | 6.5204e-05 | 0.00017139 | 0.00031355 | 0.00055725 | 0.0008295 | 0.0013156 | 0.0017633 | 0.0022658 | 0.0030381 | 0.0017566 | 0.0017477 | 0.0017449 | 0.0017043 | 0.0016911 | 0.001667 | 0.0016599 | 0.0015596 | 0.0015873 | 0.0015352 | 2.089e-05 | 9.6559e-05 | 0.00025408 | 0.0004652 | 0.00082771 | 0.0012333 | 0.0019571 | 0.0026254 | 0.0033765 | 0.0045295 | 0.0026269 | 0.0026191 | 0.0026185 | 0.0025665 | 0.0025512 | 0.0025213 | 0.0025136 | 0.0023794 | 0.0024182 | 0.0023475
OR | C&I | DLC (Smart / Interactive) | GIWH DLC | 100 | 4 | 100 | 4 | 91.8809 | 61.9987 | 0 | 0 | 0.0628 | 0.22746 | 0.6294 | 0.5778 | 0.50926 | 0.33657 | 0.33381 | 0.32931 | 0.32394 | 0.31845 | 0.26218 | 0.21103 | 0.17339 | 0.1311 | 0.10323 | 0.080781 | 0.064577 | 0.033815 | 0.029576 | 0.011278 | 0.092838 | 0.33672 | 0.93244 | 0.85701 | 0.75722 | 0.50222 | 0.4982 | 0.49196 | 0.48446 | 0.47647 | 0.39351 | 0.31868 | 0.2629 | 0.20152 | 0.16031 | 0.12697 | 0.10258 | 0.058881 | 0.05135 | 0.025134
UT | C&I | DLC (Smart / Interactive) | GIWH DLC | 100 | 4 | 100 | 4 | 167.0534 | 112.6388 | 0 | 0 | 0.0001302 | 0.00059988 | 0.0016171 | 0.0029847 | 0.0053218 | 0.0078799 | 0.012506 | 0.016794 | 0.021607 | 0.028954 | 0.016747 | 0.016579 | 0.016506 | 0.016056 | 0.01582 | 0.015534 | 0.015379 | 0.014322 | 0.014553 | 0.014017 | 0.0001926 | 0.00088831 | 0.002397 | 0.0044275 | 0.0079036 | 0.011715 | 0.018602 | 0.025002 | 0.032194 | 0.043162 | 0.025042 | 0.02485 | 0.024777 | 0.024185 | 0.023878 | 0.0235 | 0.023299 | 0.021876 | 0.022196 | 0.02148
WA | C&I | DLC (Smart / Interactive) | GIWH DLC | 100 | 4 | 100 | 4 | 83.1971 | 56.1425 | 0 | 0 | 0.014414 | 0.052313 | 0.1448 | 0.13289 | 0.11731 | 0.077562 | 0.076532 | 0.075446 | 0.074846 | 0.074141 | 0.061198 | 0.049759 | 0.041288 | 0.031164 | 0.024586 | 0.018872 | 0.014722 | 0.0075489 | 0.006838 | 0.0034319 | 0.021304 | 0.077431 | 0.2145 | 0.19712 | 0.17444 | 0.11574 | 0.11423 | 0.11272 | 0.11195 | 0.11094 | 0.091859 | 0.075118 | 0.06257 | 0.047863 | 0.038146 | 0.029666 | 0.023421 | 0.013238 | 0.011891 | 0.0070613
WY | C&I | DLC (Smart / Interactive) | GIWH DLC | 100 | 4 | 100 | 4 | 159.6351 | 107.7136 | 0 | 0 | 2.7464e-05 | 0.0001276 | 0.00033793 | 0.0006217 | 0.0011094 | 0.0016563 | 0.0026333 | 0.0035421 | 0.0045622 | 0.0061137 | 0.00351 | 0.0034347 | 0.003378 | 0.0032375 | 0.0031465 | 0.0030458 | 0.0029745 | 0.0027335 | 0.0027213 | 0.002561 | 4.0602e-05 | 0.00018882 | 0.00050054 | 0.00092157 | 0.0016465 | 0.0024609 | 0.0039146 | 0.0052703 | 0.0067937 | 0.0091085 | 0.005245 | 0.0051443 | 0.0050666 | 0.0048741 | 0.0047479 | 0.0046075 | 0.0045065 | 0.0041767 | 0.0041557 | 0.0039355
CA | Residential | DLC (Smart / Interactive) | GIWH DLC | 100 | 6 | 100 | 6 | 89.8244 | 61.6386 | 0 | 0 | 9.8993e-05 | 0.00048071 | 0.0013448 | 0.0025633 | 0.0047281 | 0.0072436 | 0.01179 | 0.016355 | 0.02089 | 0.027545 | 0.016731 | 0.017365 | 0.017932 | 0.018409 | 0.018846 | 0.01922 | 0.019573 | 0.019887 | 0.020176 | 0.020428 | 0.00014425 | 0.00070051 | 0.0019597 | 0.0037355 | 0.0068903 | 0.010556 | 0.017182 | 0.023836 | 0.030445 | 0.040144 | 0.024385 | 0.02531 | 0.026138 | 0.026833 | 0.027471 | 0.028017 | 0.028532 | 0.02899 | 0.029411 | 0.029779
ID | Residential | DLC (Smart / Interactive) | GIWH DLC | 100 | 6 | 100 | 6 | 126.4996 | 87.0458 | 0 | 0 | 0.00014492 | 0.00071404 | 0.0020014 | 0.0038162 | 0.007034 | 0.010784 | 0.017553 | 0.024343 | 0.032361 | 0.044523 | 0.0286 | 0.02991 | 0.031265 | 0.032597 | 0.033962 | 0.035271 | 0.036015 | 0.037235 | 0.038544 | 0.039907 | 0.00021061 | 0.0010377 | 0.0029085 | 0.0055458 | 0.010222 | 0.015672 | 0.025508 | 0.035377 | 0.047029 | 0.064703 | 0.041563 | 0.043467 | 0.045436 | 0.047372 | 0.049356 | 0.051259 | 0.052341 | 0.054114 | 0.056017 | 0.057998
OR | Residential | DLC (Smart / Interactive) | GIWH DLC | 100 | 6 | 100 | 6 | 72.7633 | 50.0304 | 0.3 | 0.8 | 0.57471 | 1.9075 | 6.2982 | 6.1166 | 5.7967 | 4.274 | 4.4122 | 4.541 | 4.6585 | 4.7624 | 4.2375 | 3.7903 | 3.404 | 3.0706 | 2.7856 | 2.5364 | 2.2818 | 2.1021 | 1.9503 | 1.8136 | 0.47217 | 2.7742 | 9.16 | 8.8959 | 8.4306 | 6.2161 | 6.4171 | 6.6043 | 6.7752 | 6.9264 | 6.1629 | 5.5125 | 4.9508 | 4.4658 | 4.0513 | 3.6889 | 3.3189 | 3.0575 | 2.8367 | 2.6381
UT | Residential | DLC (Smart / Interactive) | GIWH DLC | 100 | 6 | 100 | 6 | 129.3091 | 89.0139 | 0 | 0 | 0.00089138 | 0.0043511 | 0.012256 | 0.023606 | 0.044024 | 0.068371 | 0.11269 | 0.15883 | 0.21473 | 0.30003 | 0.20717 | 0.22828 | 0.25086 | 0.27504 | 0.30107 | 0.32919 | 0.3596 | 0.39254 | 0.42818 | 0.46675 | 0.0012949 | 0.0063208 | 0.017805 | 0.034292 | 0.063952 | 0.099322 | 0.16371 | 0.23073 | 0.31193 | 0.43584 | 0.30096 | 0.33163 | 0.36443 | 0.39955 | 0.43736 | 0.47821 | 0.52239 | 0.57024 | 0.62201 | 0.67804
WA | Residential | DLC (Smart / Interactive) | GIWH DLC | 100 | 6 | 100 | 6 | 88.0492 | 59.1152 | 0.1 | 0.4 | 0.15139 | 0.35489 | 1.3898 | 1.3685 | 1.3093 | 0.97716 | 1.011 | 1.0407 | 1.0646 | 1.0847 | 0.9447 | 0.82439 | 0.72156 | 0.63309 | 0.55753 | 0.49256 | 0.43695 | 0.38939 | 0.34895 | 0.31553 | 0 | 0.52925 | 2.071 | 2.0358 | 1.9448 | 1.4487 | 1.4979 | 1.5409 | 1.5756 | 1.6047 | 1.4009 | 1.2258 | 1.0761 | 0.94713 | 0.8371 | 0.74239 | 0.66135 | 0.59205 | 0.53319 | 0.48491
WY | Residential | DLC (Smart / Interactive) | GIWH DLC | 100 | 6 | 100 | 6 | 124.7332 | 85.8612 | 0 | 0 | 0.00012248 | 0.00060944 | 0.001728 | 0.0033245 | 0.0061578 | 0.0094544 | 0.015372 | 0.021272 | 0.028132 | 0.038441 | 0.023524 | 0.023629 | 0.023598 | 0.023463 | 0.023265 | 0.023025 | 0.022756 | 0.022467 | 0.022188 | 0.021902 | 0.00017793 | 0.00088535 | 0.0025103 | 0.0048297 | 0.0089457 | 0.013735 | 0.022332 | 0.030903 | 0.04087 | 0.055846 | 0.034175 | 0.034327 | 0.034283 | 0.034087 | 0.033799 | 0.033451 | 0.033059 | 0.03264 | 0.032234 | 0.031818
CA | C&I | DLC (Smart / Interactive) | Smart Thermostats | 60 | 4 | 60 | 4 | 21.0009 | 21.0761 | 0 | 0 | 0.033025 | 0.071785 | 0.15045 | 0.089191 | 0.057813 | 0.019188 | 0.015334 | 0.012255 | 0.0097937 | 0.0078264 | 0.0062552 | 0.0045023 | 0.0035887 | 0.0028596 | 0.0022824 | 0.0018208 | 8.7001e-06 | 4.6429e-06 | 0 | 0 | 0.033007 | 0.071729 | 0.15034 | 0.088854 | 0.054834 | 0.016378 | 0.013698 | 0.006584 | 0.010606 | 0 | 0.001937 | 0 | 0.0038584 | 0 | 0.0071137 | 0 | 0.0017358 | 0 | 0 | 0.0026618
ID | C&I | DLC (Smart / Interactive) | Smart Thermostats | 60 | 4 | 60 | 4 | 32.2645 | 31.493 | 0 | 0 | 0.034132 | 0.072887 | 0.1485 | 0.085179 | 0.053675 | 0.0023263 | 0.0025888 | 0 | 0.013505 | 0 | 0 | 0 | 0 | 0.035465 | 0 | 0 | 0 | 0 | 0 | 0.015903 | 0.034784 | 0.074606 | 0.15127 | 0.087946 | 0.057701 | 0.019431 | 0.013979 | 0.0062841 | 0 | 0 | 0.031073 | 0 | 0.003067 | 0 | 0 | 0.0057533 | 0 | 0.0033816 | 0 | 0
OR | C&I | DLC (Smart / Interactive) | Smart Thermostats | 60 | 4 | 60 | 4 | 21.3918 | 21.3918 | 0 | 0 | 0.2717 | 0.59146 | 1.2643 | 0.77294 | 0.50678 | 0.15256 | 0.12497 | 0.10032 | 0.077176 | 0.059316 | 0.043356 | 0.033912 | 0.026447 | 0.022008 | 0.017811 | 0.012756 | 0.00023312 | 0.00031203 | 0 | 0 | 0.2717 | 0.59146 | 1.2643 | 0.77294 | 0.50678 | 0.15256 | 0.12497 | 0.10032 | 0.077176 | 0.059316 | 0.043356 | 0.033912 | 0.026447 | 0.022008 | 0.017811 | 0.012756 | 0.00023312 | 0.00031203 | 0 | 0
UT | C&I | DLC (Smart / Interactive) | Smart Thermostats | 60 | 4 | 60 | 4 | 32.5461 | 32.5461 | 0 | 0 | 0.30396 | 0.66343 | 1.4166 | 0.87562 | 0.5812 | 0.18228 | 0.1476 | 0.11962 | 0.0968 | 0.078317 | 0.058739 | 0.048263 | 0.039477 | 0.032165 | 0.026114 | 0.017794 | 0 | 0 | 0 | 0 | 0.30396 | 0.66343 | 1.4166 | 0.87562 | 0.5812 | 0.18228 | 0.1476 | 0.11962 | 0.0968 | 0.078317 | 0.058739 | 0.048263 | 0.039477 | 0.032165 | 0.026114 | 0.017794 | 0 | 0 | 0 | 0
WA | C&I | DLC (Smart / Interactive) | Smart Thermostats | 60 | 4 | 60 | 4 | 19.3857 | 19.3857 | 0 | 0 | 0.060692 | 0.1321 | 0.28353 | 0.17361 | 0.11417 | 0.034574 | 0.027795 | 0.022348 | 0.017919 | 0.0143 | 0.010598 | 0.00866 | 0.0070392 | 0.0057617 | 0.0046535 | 0.0030448 | 0 | 6.3056e-05 | 9.5284e-05 | 7.5775e-05 | 0.060692 | 0.1321 | 0.28353 | 0.17361 | 0.11417 | 0.034574 | 0.027795 | 0.022348 | 0.017984 | 0.014479 | 0.010744 | 0.0087994 | 0.0070718 | 0.00099294 | 0 | 0 | 0 | 0 | 0 | 0
WY | C&I | DLC (Smart / Interactive) | Smart Thermostats | 60 | 4 | 60 | 4 | 34.3234 | 32.2076 | 0 | 0 | 0.078042 | 0.17249 | 0.33251 | 0.18607 | 0.11408 | 0.028822 | 0.0062824 | 0.011875 | 0.010047 | 0.0011705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084852 | 0.17711 | 0.35906 | 0.19864 | 0.12587 | 0.023426 | 0.013993 | 0.0068815 | 0.015478 | 0.0018801 | 0.0013547 | 0 | 0 | 0 | 0.0041509 | 0 | 0 | 0 | 0 | 0.002921
CA | Residential | DLC (Smart / Interactive) | Smart Thermostats | 60 | 6 | 60 | 6 | 12.394 | 14.5141 | 0 | 0 | 0.018734 | 0.049163 | 0.12413 | 0.10532 | 0.097389 | 0.075715 | 0.083597 | 0.085954 | 0.081523 | 0.070525 | 0.015936 | 0.0014139 | 0.00016219 | 1.9984e-15 | 0 | 1.9984e-15 | 0 | 1.9984e-15 | 0 | 0 | 0.015998 | 0.041982 | 0.10599 | 0.089934 | 0.083163 | 0.064655 | 0.071386 | 0.073399 | 0.069615 | 0.060224 | 0.013608 | 0.0012074 | 0.0001385 | 0 | 0 | 0 | 0 | 1.9984e-15 | 0 | 9.992e-16
ID | Residential | DLC (Smart / Interactive) | Smart Thermostats | 60 | 6 | 60 | 6 | 17.2927 | 20.2507 | 0 | 0 | 0.076398 | 0.19542 | 0.47632 | 0.39721 | 0.37151 | 0.30261 | 0.33991 | 0.24017 | 0.19817 | 0.11962 | 0.024423 | 0.0022519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065239 | 0.16687 | 0.40674 | 0.33919 | 0.31724 | 0.25841 | 0.29026 | 0.20509 | 0.16922 | 0.10215 | 0.020855 | 0.001923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OR | Residential | DLC (Smart / Interactive) | Smart Thermostats | 60 | 6 | 60 | 6 | 12.4581 | 14.5891 | 1 | 0 | 0.12006 | 1.7976 | 5.3598 | 4.5934 | 4.3005 | 3.4096 | 3.7976 | 2.5875 | 2.0915 | 1.2048 | 0.21155 | 0.054986 | 0.0060711 | 0.0073023 | 0.0073844 | 0.0081627 | 0.0095873 | 0.009893 | 0.0093473 | 0.0047614 | 0.95646 | 1.535 | 4.5769 | 3.9225 | 3.6724 | 2.9116 | 3.2429 | 2.2096 | 1.786 | 1.0288 | 0.18065 | 0.046954 | 0.0051843 | 0.0062356 | 0.0063058 | 0.0069704 | 0.0081869 | 0.0084479 | 0.007982 | 0.0040659
UT | Residential | DLC (Smart / Interactive) | Smart Thermostats | 60 | 6 | 60 | 6 | 17.8556 | 20.9099 | 0 | 0 | 1.5068 | 3.9783 | 10.1364 | 8.7978 | 8.3603 | 6.783 | 7.6379 | 5.4561 | 4.5243 | 2.7566 | 0.58789 | 0.022286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2867 | 3.3972 | 8.6558 | 7.5127 | 7.1391 | 5.7923 | 6.5222 | 4.6591 | 3.8634 | 2.3539 | 0.50202 | 0.019031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WA | Residential | DLC (Smart / Interactive) | Smart Thermostats | 60 | 6 | 60 | 6 | 11.1265 | 13.0297 | 0.5 | 0 | 0.023625 | 0.11008 | 1.1145 | 0.97133 | 0.91025 | 0.7228 | 0.80604 | 0.55025 | 0.44473 | 0.25586 | 0.044731 | 0.010719 | 0 | 1.954e-14 | 0 | 0 | 1.0658e-14 | 0 | 3.0198e-14 | 0 | 0.44714 | 0.094001 | 0.95172 | 0.82945 | 0.77729 | 0.61722 | 0.6883 | 0.46987 | 0.37977 | 0.21849 | 0.038197 | 0.0091534 | 0 | 0 | 9.77e-15 | 9.77e-15 | 0 | 0 | 9.77e-15 | 0
WY | Residential | DLC (Smart / Interactive) | Smart Thermostats | 60 | 6 | 60 | 6 | 17.0959 | 20.0202 | 0 | 0 | 0.10699 | 0.27492 | 0.67261 | 0.55935 | 0.5182 | 0.41394 | 0.46087 | 0.31184 | 0.25111 | 0.14264 | 0.014169 | 0.0022873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.091363 | 0.23476 | 0.57437 | 0.47765 | 0.44251 | 0.35348 | 0.39355 | 0.26629 | 0.21443 | 0.1218 | 0.012099 | 0.0019532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CA | C&I | Energy Storage | Battery DLC | 35 | 4 | 30 | 4 | 33.1385 | 38.7121 | 0 | 0 | 0.00086337 | 0.0024474 | 0.0055315 | 0.0037572 | 0.0034563 | 0.0024852 | 0.0028682 | 0.0025356 | 0.0024189 | 0.0022732 | 0.0025193 | 0.002484 | 0.0025371 | 0.002433 | 0.00246 | 0.0024826 | 0.0027705 | 0.0028532 | 0.0028042 | 0.0028265 | 0.0007511 | 0.0021063 | 0.0048331 | 0.0031397 | 0.0026845 | 0.0018911 | 0.0020556 | 0.0018977 | 0.0022317 | 0.0014267 | 0.002072 | 0.0019219 | 0.0023154 | 0.0015902 | 0.0026738 | 0.0014877 | 0.0024454 | 0.0022493 | 0.0021194 | 0.0026741
ID | C&I | Energy Storage | Battery DLC | 35 | 4 | 30 | 4 | 35.6151 | 34.0049 | 0.07 | 0.07 | 0 | 0.029569 | 0.060462 | 0.024666 | 0.011798 | 0.0048731 | 0.008139 | 0.0087769 | 0.019207 | 0.00037803 | 0 | 0.0021948 | 0.0036061 | 0.040745 | 0 | 0.0050649 | 0 | 0.0058677 | 0.0065524 | 0.02673 | 0 | 0.032846 | 0.058948 | 0.025733 | 0.010512 | 0.010749 | 0.0093641 | 0.0078307 | 0.0035989 | 0 | 0.030697 | 0.0039849 | 0.0095845 | 0 | 0 | 0.012608 | 0.0086373 | 0.012159 | 9.6584e-05 | 0
OR | C&I | Energy Storage | Battery DLC | 35 | 4 | 30 | 4 | 31.171 | 32.2221 | 0 | 0 | 0.011196 | 0.028737 | 0.060904 | 0.036342 | 0.033094 | 0.022148 | 0.019763 | 0.010242 | 0.019934 | 0.0087818 | 0.01219 | 0.012673 | 0.013502 | 0.014055 | 0.015789 | 0.015922 | 0.016963 | 0.018795 | 0.020093 | 0.02514 | 0.010467 | 0.027809 | 0.058435 | 0.036067 | 0.033722 | 0.023789 | 0.013193 | 0.0084038 | 0.017842 | 0.0087538 | 0.010522 | 0.010933 | 0.011367 | 0.013151 | 0.013423 | 0.013267 | 0.014796 | 0.01598 | 0.017038 | 0.019043
UT | C&I | Energy Storage | Battery DLC | 35 | 4 | 30 | 4 | 32.962 | 39.2649 | 0.4 | 0.4 | 0 | 0.017265 | 0.021424 | 0.023698 | 0.02278 | 0.024767 | 0.024971 | 0.01859 | 0.019684 | 0.019301 | 0.018763 | 0.0191 | 0.02088 | 0.021229 | 0.022898 | 0.024115 | 0.026202 | 0.028069 | 0.029719 | 0.031709 | 0 | 0.014405 | 0.018551 | 0.021994 | 0.020117 | 0.022257 | 0.0239 | 0.016971 | 0.019465 | 0.019094 | 0.019207 | 0.019856 | 0.021216 | 0.020965 | 0.025005 | 0.025483 | 0.02808 | 0.028428 | 0.03018 | 0.033658
WA | C&I | Energy Storage | Battery DLC | 35 | 4 | 30 | 4 | 29.751 | 29.262 | 0 | 0 | 0.00082437 | 0.0018256 | 0.0038125 | 0.0024466 | 0.0020339 | 0.0015968 | 0.0015732 | 0.0022366 | 0.0023393 | 0.0024073 | 0.0021384 | 0.001948 | 0.0018861 | 0.0018562 | 0.0017908 | 0.0016189 | 0.001575 | 0.0016903 | 0.0017723 | 0.0019214 | 0.00085595 | 0.0018863 | 0.0038908 | 0.0024396 | 0.0018851 | 0.0015998 | 0.001436 | 0.0020598 | 0.0020761 | 0.0021623 | 0.0018617 | 0.0016432 | 0.0016152 | 0.0015229 | 0.0014176 | 0.0013852 | 0.0013644 | 0.0013938 | 0.0014041 | 0.0013936
WY | C&I | Energy Storage | Battery DLC | 35 | 4 | 30 | 4 | 42.6311 | 40.606 | 0 | 0 | 0.00011192 | 0.00044045 | 0.0012745 | 0.0012101 | 0.0014744 | 0.0014995 | 0.0014499 | 0.0019739 | 0.0019671 | 0.0024428 | 0.0023048 | 0.0017288 | 0.0017233 | 0.0017162 | 0.001696 | 0.0016784 | 0.0017134 | 0.0017729 | 0.001728 | 0.0017462 | 0.00012056 | 0.00045021 | 0.0013484 | 0.0012656 | 0.0015607 | 0.0015369 | 0.0015624 | 0.0020265 | 0.0021031 | 0.0025683 | 0.0024419 | 0.0018098 | 0.0016738 | 0.0016702 | 0.0018923 | 0.0017299 | 0.0018343 | 0.0015703 | 0.0016307 | 0.0019493
CA | Residential | Energy Storage | Battery DLC | 35 | 6 | 30 | 6 | 35.2936 | 31.5594 | 0 | 0 | 0.002704 | 0.008141 | 0.01995 | 0.015667 | 0.015388 | 0.012955 | 0.01345 | 0.012457 | 0.018476 | 0.017493 | 0.018545 | 0.019562 | 0.020329 | 0.021029 | 0.021872 | 0.022217 | 0.023875 | 0.025542 | 0.02692 | 0.028626 | 0.003037 | 0.0091031 | 0.02292 | 0.017276 | 0.015692 | 0.013085 | 0.012397 | 0.011675 | 0.020958 | 0.014544 | 0.01862 | 0.018443 | 0.021375 | 0.016742 | 0.026606 | 0.015939 | 0.024172 | 0.023342 | 0.023259 | 0.030489
ID | Residential | Energy Storage | Battery DLC | 35 | 6 | 30 | 6 | 34.8994 | 25.1479 | 0.93 | 0.93 | 0 | 0 | 0.039107 | 0 | 6.267e-05 | 0 | 0 | 0.0015549 | 0.052576 | 0.0032067 | 0 | 0.11225 | 0.11777 | 0.28861 | 0.057446 | 0.14733 | 0.086188 | 0.14957 | 0.16063 | 0.29053 | 0.40733 | 0 | 0 | 0.008696 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14773 | 0.14591 | 0.1748 | 0.12392 | 0.13088 | 0.21906 | 0.20042 | 0.22963 | 0.1528 | 0.12249
OR | Residential | Energy Storage | Battery DLC | 35 | 6 | 30 | 6 | 34.0214 | 27.5054 | 0 | 0 | 0.050517 | 0.10181 | 0.20453 | 0.11385 | 0.072112 | 0.049074 | 0.11208 | 0.12643 | 0.13899 | 0.12032 | 0.13262 | 0.14397 | 0.15449 | 0.16898 | 0.1806 | 0.19358 | 0.20929 | 0.22916 | 0.23907 | 0.30026 | 0.061099 | 0.12832 | 0.25125 | 0.14178 | 0.090104 | 0.061317 | 0.097163 | 0.13139 | 0.14189 | 0.12596 | 0.12828 | 0.13769 | 0.144 | 0.1682 | 0.17056 | 0.17369 | 0.19657 | 0.17993 | 0.2142 | 0.25743
UT | Residential | Energy Storage | Battery DLC | 35 | 6 | 30 | 6 | 32.6391 | 52.9934 | 9.6 | 9.6 | 0 | 0.50381 | 0.65702 | 0.79209 | 1.0277 | 1.3358 | 1.4146 | 2.0672 | 2.6272 | 3.042 | 3.4122 | 3.8527 | 4.346 | 4.8162 | 5.402 | 5.8493 | 6.3641 | 6.9254 | 7.627 | 8.4653 | 0 | 0.33016 | 0.46432 | 0.60435 | 0.69137 | 0.90973 | 1.0289 | 1.3686 | 1.822 | 2.1 | 2.3934 | 2.7218 | 3.0369 | 3.2957 | 3.9464 | 4.2326 | 4.7162 | 5.0502 | 5.4997 | 6.3367
WA | Residential | Energy Storage | Battery DLC | 35 | 6 | 30 | 6 | 28.7404 | 28.3213 | 0 | 0 | 0.0069428 | 0.016292 | 0.032885 | 0.020557 | 0.016555 | 0.012853 | 0.01851 | 0.020083 | 0.025093 | 0.027493 | 0.030493 | 0.033423 | 0.035557 | 0.039752 | 0.042311 | 0.043694 | 0.046162 | 0.048663 | 0.051117 | 0.052985 | 0.0073403 | 0.017067 | 0.033613 | 0.020001 | 0.013758 | 0.012571 | 0.01577 | 0.016586 | 0.019867 | 0.022202 | 0.023959 | 0.025528 | 0.027396 | 0.029412 | 0.030038 | 0.033265 | 0.03548 | 0.035393 | 0.035415 | 0.032625
WY | Residential | Energy Storage | Battery DLC | 35 | 6 | 30 | 6 | 42.1412 | 37.5217 | 0 | 0 | 0.0078717 | 0.020242 | 0.043527 | 0.039923 | 0.031302 | 0.027466 | 0.027789 | 0.033972 | 0.056163 | 0.045747 | 0.045468 | 0.043953 | 0.043434 | 0.043952 | 0.042568 | 0.040467 | 0.041952 | 0.04445 | 0.041345 | 0.041672 | 0.0091575 | 0.02119 | 0.049931 | 0.044913 | 0.036671 | 0.029483 | 0.034458 | 0.036597 | 0.065766 | 0.052344 | 0.052487 | 0.049421 | 0.042572 | 0.043387 | 0.052511 | 0.043742 | 0.048316 | 0.037535 | 0.03759 | 0.052306
Note on I2: Note: Costs should be doubled if running the program during a single season only (except for Irrigation DLC)