## Wind
Appendix A-9 Wind: Product Data - Equipment Supply Matrix
Please provide information for the equipment that is included in the proposed wind project and attach equipment datasheets.
Line | Wind Turbine Generators (WTG) | Responses | Units
1 | Attach datasheets
2 | Manufacturer
3 | Model Number
4 | Turbine Nameplate for MW
5 | Turbine Nameplate for Power Factor
6 | Turbine Nameplate for MVA
7 | Rated Power |  | MW
8 | Wind Regime Classification
9 | Cut-in Wind Speed |  | m/s
10 | Cut-Out Wind Speed |  | m/s
11 | Survivial Wind Speed |  | m/s
12 | Standard Operating Temperature Range
13 | Cold Weather Package Temperature Range
14 | Hub Height |  | m
15 | Rotor Diameter |  | m
16 | Rotor Swept Area |  | m²
17 | Gearbox or Direct Drive
18 | Gearbox Manufacturer
19 | Gearbox Model
20 | Generator Manufacturer
21 | Generator Model
22 | Blade Manufacturer
23 | Blade Model
24 | Plant Control Platform / System
25 | SCADA Operating Platform
26 | WTG transformer location (up tower, down tower, pad mount)
27 | Can the Gearbox be replaced without removing the blades? |  | y/n
28 | Can the Generator be replaced without removing the blades? |  | y/n
29 | How often does the WTG require regular maintenance?
30 | Warranty for WTG Performance
31 | Warranty for Gearbox (years) |  | yrs
32 | Warranty for Generator (years) |  | yrs
33 | Warranty for Blades (years) |  | yrs
34 | Warranty for Tower (years) |  | yrs
35 | Warranty for Other Parts |  | yrs
36 | How many of these WTG Models are operational in the USA?
37 | How many years has this WTG model been operational in the USA?
38 | Please confirm the WTGs meet each of the following conditions:
39 | Curtailment Control |  | y/n
40 | Voltage Control |  | y/n
41 | Voltage Droop Control |  | y/n
42 | Power Factor Controls |  | y/n
43 | Frequency Controls |  | y/n
44 | Integrated Control of Capacitor and Inductor Banks |  | y/n
45 | Reactive Power Production During Zero Real Power Production |  | y/n
46 | Mechanical Loads Analysis |  | y/n
47 | Zero Voltage Ride-Through |  | y/n
48 | Special Installation Tools Included |  | y/n
49 | Wind Farm Control Management System |  | y/n
50 | Which of the following WTG options are included in this Proposal:
51 | Vibration Monitoring System |  | y/n
52 | Weather Condition Monitoring System |  | y/n
53 | 24/7 Offsite Monitoring (if yes, how many years) |  | y/n
54 | Cold Weather Performance Package |  | y/n
55 | Icing Detection System |  | y/n
| Step Up Transformer | Responses
56 | Attach datasheets
57 | Manufacturer
58 | Rating (cooling) ONAN/ONAF/ONAF |  | MVA
59 | Core Construction Type (core or shell form)
60 | Impedance
61 | Primary voltage |  | kV
62 | Secondary voltage |  | kV
63 | Winding insulation ratings
64 | Are fused disconnect switches on high voltage side included?
65 | Oil Preservation System (conservator or nitrogen blanket)
66 | Is a spill containment system included in the substation design? (yes or no) |  | y/n
| WTG Transformer | Responses
67 | Attach datasheets
68 | Manufacturer
69 | Model Number
70 | WTG transformer location (up tower, down tower, pad mount)
71 | Rating / Cooling |  | kVA
72 | Impedance
73 | Primary voltage |  | Volts
74 | Secondary voltage |  | Volts
75 | Winding insulation ratings
76 | Are fused disconnect switches on high voltage side included? |  | y/n
77 | Is the transformer Dry-type or oil insulated? |  | y/n
78 | If wet, what tis the oil quantity?
79 | Liquid level gauge |  | y/n
80 | Are the gauges, alarm switches and sample port located where they can be used without de-energizing the transformer? |  | y/n
81 | Does the Transformer have the following (Yes or No):
82 | Pressure/vacuum gauge |  | y/n
83 | Dial-type thermometer with SPDT alarm contacts |  | y/n
84 | Pressure relief valve |  | y/n
85 | Drain valve with sampler |  | y/n
86 | Copper windings |  | y/n
87 | Line, coil and tap switches |  | y/n
88 | Spill containment system |  | y/n
| Wind Monitoring Stations | Responses
89 | Type of System to be Used (Met Towers, LIDAR, etc.)
90 | Attach datasheets
91 | Number of towers or LIDAR installations
92 | Tower or LIDAR Manufacturer
93 | Tower or LIDAR Model
94 | Wind Sensor (Anemometer and Wind Vane) Manufacturer
95 | Wind Sensor Model
96 | Ambient Temperature Manufacturer
97 | Ambient Temperature Model
98 | Barometric Pressure Sensor Manufacturer
99 | Barometric Pressure Sensor Model
100 | Data Recorder Manufacturer
101 | Data Recorder Model
102 | Are icing sensors included? |  | y/n
103 | Are humidity sensors included? |  | y/n
104 | Are the same Wind Sensors used on the turbines and the met towers? |  | y/n
105 | Do the wind monitoring stations meet all the monitoring requirements of the WTG manufacturer? |  | y/n
106 | What wind heights (i.e. 40m, 60m & 80m) or range of heights will be measured?
107 | Are met towers guyed or free standing? |  | y/n
108 | Are the monitoring systems linked to the project data system? |  | y/n
109 | Are the monitoring systems powered by the project's electrical system? |  | y/n

## Battery Storage
Appendix A-9: Product Data - Equipment Supply Matrix
BESS Inputs
Battery chemistry offered?
Battery Modules Minimum Component Life (years)
Battery Supplier
Model of Battery
Model of Control System for Battery
Power Conversion System supplier
Model of Inverters
Inverter Nameplate (BESS)
Number of BESS Inverters
Inverter Minimum Design Life (years)
BMS supplier
EMS supplier
PCS Minimum Design Life (years)
BESS Minimum Design Life (years)
Power Factor range (leading to lagging)
Output Voltage Range (pu)
Output Frequency Range (Hz)
Charging Method
Discharging Method | Constant Power (CP)
Rated Continuous Charge Power (MW)
Maximum Charge Power (MW)
Expected number of daily full charge / discharge cycles
Maximum Inactive Period
Battery Modules Minimum Component Life (years)
PCS Minimum Design Life (years)
BESS Minimum Design Life (years)
Minimum Availability (%)
Maximum Annual Average State of Charge (SOC) (%)
When not actively charging or discharging for more than a period of [__] hours, the SOC of the Storage Facility shall be maintained in a required Resting State of Charge (SOC) range.
The required Resting State of Charge (SOC) range for the Storage Facility [__]%-[__]% when not actively charging or discharging for more than a the hours listed above
Operational State of Charge (SOC) Limits: [__]%-[___]%
Maximum number of allowed full charges (or equivalent) cycles per year
Maximum number of allowed full charges (or equivalent) cycles per day
Is there required rest time during cycling? If so, describe it.
Constant power charge and range (e.g. CP from 0.9 to 1.1)
Discharge rate and range (e.g. CP from 0.5 to 1.2)
Operating temperature
Average recommended depth of discharge
Maximum allowed depth of discharge
Pad-mount transformer supplier
34.5-kV disconnect switch supplier
34.5-kV circuit breaker supplier
Cable supplier
Junction box supplier
Grounding rod supplier
Cable splice supplier
Fault indicator supplier
Compression connection supplier
BATTERY PERFORMANCE CURVE
Life expectancy and rated capacity for un-augmented system | MW Capacity - Charge | Max Rate of Charge (CP) | MW Capacity - Discharge | Max Rate of Discharge (CP) | Duration | Average State of Charge | Annual Number of Full Cycles | Depth of Discharge | Operating Temperature - Max | Operating Temperature - Min | Operating Temperature - Average | RTE | Degradation
End of Year 1
End of Year 2
End of Year 3
End of Year 4
End of Year 5
End of Year 6
End of Year 7
End of Year 8
End of Year 9
End of Year 10
End of Year 11
End of Year 12
End of Year 13
End of Year 14
End of Year 15
End of Year 16
End of Year 17
End of Year 18
End of Year 19
End of Year 20
End of Year 21
End of Year 22
End of Year 23
End of Year 24
End of Year 25
End of Year 26
End of Year 27
End of Year 28
End of Year 29
End of Year 30

## PV Modules
Appendix A-9: Product Data - Equipment Supply Matrix
Page 1: PV Modules
PV Modules (flat-plate)
Attach datasheets
Manufacturer
Model number
PowerMAX rating (watts DC @ STC) - module type I
Number of modules, type I, per site,
PowerMAX rating (watts DC @ STC) - module type II (if applicable)
Number of modules, type II, per site (if applicable)
Number of modules per string
Expected low temperature used for string sizing (°C)
Module output tolerance (+ %)
Module output tolerance (- %)
Efficiency (@ STC) (%)
Maximum system design voltage (VDC)
Module warranty - performance guarantee rating (@ year 1)
Module warranty - performance guarantee rating (@ year 10)
Module warranty - performance guarantee rating (@ year 25)
List any quality & environmental certifications that the proposed module manufacturer has received (e.g. ISO 9001, ISO 140001, or other certifying bodies)
List and attach any outdoor reliability testing, or accelerated long-term testing (beyond IEC standards for modules) that the proposed module has completed (e.g., TŰV Long-Term Sequential Testing, Thresher Test, or other reliability program)
List and attach module manufacturer bankability reports
List and attach module .PAN file

## Mounting
Appendix A-9: Product Data - Equipment Supply Matrix
Page 2: Mounting
Mounting
Attach datasheets
Manufacturer
Model number
Fixed tilt, single-axis tracking, or dual-axis tracking?
# of MW deployed in the USA with proposed racking/tracking system
Proposed module orientation (landscape, portrait)
Proposed module layout (# modules wide X # modules high)
Tilt angle (if fixed)
Azimuth
Pitch (row spacing)
Row width
Row length
Max/min rotation (if tracking)
Ground coverage ratio
Maximum allowable wind design speed for racking structure
If tracking :
Stow wind speed
Wind stow required to meet design wind speed?
Type and # of control systems used and sources of information source for tracking (e.g. GPS, Sun Sensor, tilt sensor, inclinometer, equation of time, etc.)
Power consumption requirements for motor controller (estimated daily kWh)

## Inverter
Appendix A-9: Product Data - Equipment Supply Matrix
Page 3: Inverters
Inverters
Attach datasheets
Manufacturer
Model number
Rating (maximum continuous AC output) | kW
V
Number of Inverters
Certification listing if applicable (e.g. UL 1741, ETL or other) | Y/N
NEMA rating and enclosure details
Proposed DC:AC design ratio for site
Maximum DC input voltage
Total harmonic distortion | %
Power factor at full power rating
Efficiency at full power rating | %
Total installed capacity of the selected inverter (US and world wide) | kW
Describe List any quality & environmental certifications that the proposed inverter's manufacturing facility has received (e.g. ISO 9001, ISO 140001, or other certifying bodies)
List and attach inverter manufacturer bankability reports
List and attach inverter .OND file

## Transformers
Appendix A-9: Product Data - Equipment Supply Matrix
Page 4: Transformers
Step-Up Transformers
Attach datasheets including efficiency curve and loss curve
1 | Manufacturer & Model #
2 | Rating | kVA
3 | Impedance
7 | Primary voltage | Volts
8 | Secondary voltage | Volts
9 | Winding insulation ratings | o C rise over
10 |  | o C average ambient
11 | Includes fused disconnect switch on high voltage side | Y/N
12 | Type (check one) | Dry-type
13 |  | Less-flammable oil insulating fluid
14 | Accessories included (check all that apply): | Liquid level gauge
15 |  | Pressure/vacuum gauage
16 |  | dial-type thermoment with SPDT alarm contacts
17 |  | Pressure relief valve
18 |  | Drain valve with sampler

## Switchgear
Appendix A-9: Product Data - Equipment Supply Matrix
Page 5: Switchgear
Switchgear
Attach datasheets
1 | Manufacturer
2 | Ratings | kV
A
k AIC
kV BIL minimum
Phase
3 | Description of metering components
4 | Relay Manufacturer (if applicable)

## Wiring & Comb Boxes
Appendix A-9: Product Data - Equipment Supply Matrix
Page 6: Wiring and Combiner Boxes
DC Combiner Boxes
Attach datasheets
Manufacturer
Model number
Rating (Maximum DC input - voltage, current) | V
A
Certifications
NEMA rating
Number of circuits per combiner box
Combiner box material (painted steel, fiberglass, stainless steel)
Number of smart (string level monitoring) combiner boxes proposed?
Disconnect type
Features: Lightning protection, etc.
DC Wiring - Array to Combiner Box
Attach datasheets
Manufacturer
Type
DC wiring voltage insulation design capability (600V, 1000V or higher)
DC Wiring - Combiner Box to Inverter
Attach datasheets
Manufacturer
Type
DC wiring voltage insulation design capability (600V, 1000V or higher)