## Appendix C-3.2 Solar Inputs
Appendix C-3.2: Energy Yield Input Data
Solar Inputs into Yield Assessment
Facility information |  | Comments/Description
Bidder Name | [bidder name]
Facility name | [facility name]
COD Actual / Expected | yyyy
Site details |  | Comments/Description
Location | [City, State]
Latitude | xx.xxxxxx
Longitude | -xx.xxxxxx
Altitude (m) | xxx
System information |  | Comments/Description
DC capacity (MWdc) | [xx.xx]
AC capacity (MWac) | [xx.xx]
DC/AC Ratio check | calculated cell
Metering location | [describe]
POI AC capacity (MWac) | [xx.xx]
Module manufacturer | [mfg]
Module model | [module]
Is the module bifacial? | Select
Number of modules | [xxxxxx]
Modules per string | [xx]
Number of strings check (should be whole) | calculated cell
Inverter manufacturer | [mfg]
Inverter model | [model]
Number of inverters | [xx]
Mounting/Tracking information |  | Comments/Description | Geometry
Mounting/Tracker manufacturer | [mfg]
Mounting/Tracker model | [model]
Mounting type | Select...
Table or racking configuration | [description]
Tilt (if fixed) | -
Tracking range(min/max rotation) if tracking | + or - [xx]
Distance from lower edge of array to ground (m) | [x.x]
Module orientation | Portrait
Pitch (m) | [x.xx]
Width of sensitive area (m) | [x.xxx]
(if tracking) Backtracking? | Yes
Electrical System Information |  | Comments/Description
Pad mount Transformer (PMT) Rating (MVA) | [x.x]
PMT Voltage (kV) | [x.x]
PMT No-load loss (%) | [x.x]
PMT Load loss at rated power (%) | [x.x]
Is night disconnect used? | Select
Is Generator Step-Up transformer (GSU) on facility side of POI? | Select
GSU Rating (MVA) | [x.x]
GSU Voltage (kV) | [x.x]
GSU No-load loss (%) | [x.x]
GSU Load loss at rated power (%) | [x.x]
Is night disconnect used? | Select
Is High Voltage Transmission Line (HVTL) incorporated? | Select
HVTL rating (kV) | [x.x]
HVTL length (miles) | [x.x]
Estimated HV transmission line loss (%) | [x.x]
Measurements |  | Comments/Description
Is irradiance data collected at site? | Select
Describe irradiance station | [description]
Dates of irradiance data collection | [start date] to [end date]
Is albedo data collected at site? | Select
Describe albedo station | [description]
Dates of irradiance data collection | [start date] to [end date]
Miscellaneous Information |  | Comments/Description
Cleaning frequency (per year) | 0
Are there any external controls or non-standard factors that must be modeled? | [describe]
Data to provide |  | Comments/Description
Module .pan file and datasheet | [list provided files]
Other Module documentation such as test reports | [list zip archive file that contains]
Inverter .ond file and datasheet | [list provided files]
Tracker datasheet and documentation | [list provided files]
Backtracking description | [list provided files]
Irradiance station documentation (commissioning, photos & maintenance) | [list zip archive file that contains]
Irradiance data(raw) | [list zip archive file that contains]
Albedo station documentation (commissioning, photos & maintenance) | [list zip archive file that contains]
Albedo data(raw) | [list zip archive file that contains]
Facility map including all facilities | [list provided file]
Information relevant for shadow analysis (e.g. details of TL towers, trees or other shadow causing objects within or near facility boundary) | [list provided file]
Single line drawing | [list provided file]
Facility layout in digital form | [list provided file]
Any electrical loss studies | [list provided file]
Any grid injection/curtailment studies | [list provided file]