## Wind
PacifiCorp 2022AS RFP |  | Competed By:
Appendix A-9 Wind: Product Data - Equipment Supply Matrix
Please provide information for the equipment that is included in the proposed wind project and attach equipment datasheets.
Line | Wind Turbine Generators (WTG) | Responses | Units | Go/No-go
1 | Attach datasheets
2 | Manufacturer
3 | Model Number
4 | Turbine Nameplate for MW |  | MW
5 | Turbine Nameplate for Power Factor
6 | Turbine Nameplate for MVA |  | MVA
7 | Rated Power (attach limited temperature and altitude derate charts) |  | MW
8 | Wind Regime Classification
9 | Cut-in Wind Speed |  | m/s
10 | Cut-Out Wind Speed |  | m/s
11 | Survivial Wind Speed |  | m/s
12 | Standard Operating Temperature Range
13 | Cold Weather Package Temperature Range
14 | WTG Capability curve/D Curve provided by OEM
15 | Hub Height |  | m
16 | Rotor Diameter |  | m
17 | Rotor Swept Area |  | m²
18 | Gearbox or Direct Drive
19 | Gearbox Manufacturer
20 | Gearbox Model
21 | Generator Manufacturer
22 | Generator Model
23 | Blade Manufacturer
24 | Blade Model
25 | Plant Control Platform / System
26 | Switchgear model (vacuum or gas filled if equipped)
27 | Is turbines under any wind sector control for limited operation?
28 | Climb assist in turbines and model
29 | SCADA Operating System
30 | WTG transformer location (up tower, down tower, pad mount)
31 | Can the Gearbox be replaced without removing the blades? |  | y/n
32 | Can the Generator be replaced without removing the blades? |  | y/n
33 | How often does the WTG require regular maintenance?
34 | Warranty for WTG Performance
35 | Warranty for Gearbox (years) |  | yrs
36 | Warranty for Generator (years) |  | yrs
37 | Warranty for Blades (years) |  | yrs
38 | Warranty for Tower (years) |  | yrs
39 | Warranty for Other Parts |  | yrs
40 | How many of these WTG Models are operational in the USA?
41 | How many years has this WTG model been operational in the USA?
42 | Please confirm the WTGs meet each of the following conditions:
43 | Curtailment Control (Active Power) |  | y/n
44 | Voltage Control |  | y/n | x
45 | Voltage Droop Control |  | y/n | x
46 | Power Factor Controls |  | y/n | x
47 | Frequency Controls |  | y/n | x
48 | Integrated Control of Capacitor and Inductor Banks |  | y/n
49 | Reactive Power Production During Zero Real Power Production |  | y/n | x
50 | Mechanical Loads Analysis |  | y/n
51 | Zero Voltage Ride-Through |  | y/n
52 | Special Installation Tools Included |  | y/n
53 | Wind Farm Control Management System |  | y/n
54 | Which of the following WTG options are included in this Proposal:
55 | Vibration Monitoring System |  | y/n
56 | Weather Condition Monitoring System |  | y/n
57 | 24/7 Offsite Monitoring (if yes, how many years) |  | y/n
58 | Cold Weather Performance Package |  | y/n
59 | Icing Detection System |  | y/n
60 | Physical layer interfacing details for SCADA, control and monitoring (RS-232,RS-485, RJ45, Fiber, other) Include any and all that apply
61 | Protocol interfacing capabilities for SCADA, control and monitoring (Modbus, DNP3, OPC, other) Include any and all that apply
62 | WECC approved Generic model available for WTG and Plant controller representation by manufacturer (Y/N) |  | y/n | x
63 | PSCAD model available for WTG and Plant controller representation by manufacturer (Y/N) |  | y/n | x
64 | Test functions/capabilities for customer ability to perform Voltage/VAR/PF Step tests per NERC MOD-26 validation requirements within OEM SCADA (Y/N) |  | y/n | x
65 | Test functions/capabilities for customer ability to perform Frequency Step tests per NERC MOD-27 validation requirements within OEM SCADA (Y/N) |  | y/n | x
| Main Step Up Transformer | Responses
66 | Attach datasheets
67 | Manufacturer
68 | Rating (cooling) ONAN/ONAF/ONAF |  | MVA
69 | Core Construction Type (core or shell form)
70 | KVA rating |  | kVA
71 | Impedance
72 | Primary voltage |  | kV
73 | Secondary voltage |  | kV
74 | Winding insulation ratings
75 | High Side bushing model
76 | Low side bushing model
77 | Are fused disconnect switches on high voltage side included?
78 | Oil Preservation System (conservator or nitrogen blanket)
79 | Is a spill containment system included in the substation design? |  | y/n
80 | If pad mount transformer, is an LV Breaker included? |  | y/n | x
| WTG Transformer | Responses
81 | Attach datasheets
82 | Manufacturer
83 | Model Number
84 | WTG transformer location (up tower, down tower, pad mount)
85 | Rating / Cooling |  | kVA
86 | Impedance
87 | Primary voltage |  | Volts
88 | Secondary voltage |  | Volts
89 | Windings aluminum or copper?
90 | Winding insulation ratings
91 | Are fused disconnect switches on high voltage side included? |  | y/n
92 | Low Side Breaker model #
93 | Is the transformer Dry-type or oil insulated? |  | y/n
94 | If wet, what tis the oil quantity?
95 | Liquid level gauge |  | y/n
96 | Are the gauges, alarm switches and sample port located where they can be used without de-energizing the transformer? |  | y/n
97 | Does the Transformer have the following (Yes or No):
98 | Pressure/vacuum gauge |  | y/n
99 | Dial-type thermometer with SPDT alarm contacts |  | y/n
100 | Pressure relief valve |  | y/n
101 | Drain valve with sampler (Is valve inside or outside of transformer?) |  | y/n (in/out))
102 | Copper windings |  | y/n
103 | Line, coil and tap switches |  | y/n
104 | Spill containment system |  | y/n
105 | Pad mounts type: fiberglass or concrete pad?
106 | Pad mounts size of vault
| Wind Monitoring Stations | Responses
107 | Type of System to be Used (Met Towers, LIDAR, etc.)
108 | Attach datasheets
109 | Number of towers or LIDAR installations
110 | Tower or LIDAR Manufacturer
111 | Tower or LIDAR Model
112 | Wind Sensor (Anemometer and Wind Vane) Manufacturer
113 | Wind Sensor Model
114 | Ambient Temperature Manufacturer
115 | Ambient Temperature Model
116 | Barometric Pressure Sensor Manufacturer
117 | Barometric Pressure Sensor Model
118 | Data Recorder Manufacturer
119 | Data Recorder Model
120 | Are icing sensors included? |  | y/n
121 | Are humidity sensors included? |  | y/n
122 | Are the same Wind Sensors used on the turbines and the met towers? |  | y/n
123 | Do the wind monitoring stations meet all the monitoring requirements of the WTG manufacturer? |  | y/n
124 | What wind heights (i.e. 40m, 60m & 80m) or range of heights will be measured?
125 | Are met towers guyed or free standing? |  | y/n | x
126 | Are the monitoring systems linked to the project data system? |  | y/n
127 | Are the monitoring systems powered by the project's electrical system? |  | y/n
128 | MET Tower Integration possible within OEM SCADA? |  | y/n | x
| Collection System | Responses
129 | Cables types
130 | Cable sizes
131 | Splices types
132 | Junction Box types
133 | Are there one breaker per circuit?
134 | Maximum run length between junction boxes or above ground connection |  | meters
135 | Cable bury depth |  | meters
136 | Fiber Optic Cable model, is it run in conduit
137 | Are crossings marked such as roads, pipelines, or other utilities? |  | y/n
138 | PD testing being done on all runs |  | y/n
139 | Are all runs GPS mapped |  | y/n

## Battery Storage
PacifiCorp 2022AS RFP |  | Competed By:
Appendix A-9: Product Data - Equipment Supply Matrix
BESS Inputs
Battery chemistry offered? |  | Go/No-go
Battery Modules Minimum Component Life (years)
Battery Supplier
Model of Battery
Model of Control System for Battery
Power Conversion System supplier
Model of Inverters
Inverter Nameplate (BESS)
Number of BESS Inverters
Inverter Minimum Design Life (years)
BMS supplier
EMS supplier
PCS Minimum Design Life (years)
BESS Minimum Design Life (years)
Power Factor range (leading to lagging)
Output Voltage Range (pu)
Output Frequency Range (Hz)
Charging Method
Discharging Method | Constant Power (CP)
Rated Continuous Charge Power (MW)
Maximum Charge Power (MW)
Expected number of daily full charge / discharge cycles
Maximum Inactive Period
Battery Modules Minimum Component Life (years)
PCS Minimum Design Life (years)
BESS Minimum Design Life (years)
Minimum Availability (%)
Maximum Annual Average State of Charge (SOC) (%)
When not actively charging or discharging for more than a period of [__] hours, the SOC of the Storage Facility shall be maintained in a required Resting State of Charge (SOC) range.
The required Resting State of Charge (SOC) range for the Storage Facility [__]%-[__]% when not actively charging or discharging for more than a the hours listed above
Operational State of Charge (SOC) Limits: [__]%-[___]%
Maximum number of allowed full charges (or equivalent) cycles per year
Maximum number of allowed full charges (or equivalent) cycles per day
Is there required rest time during cycling? If so, describe it.
Constant power charge and range (e.g. CP from 0.9 to 1.1)
Discharge rate and range (e.g. CP from 0.5 to 1.2)
Operating temperature
Average recommended depth of discharge
Maximum allowed depth of discharge
Pad-mount transformer supplier
34.5-kV disconnect switch supplier
34.5-kV circuit breaker supplier
Cable supplier
Junction box supplier
Grounding rod supplier
Cable splice supplier
Fault indicator supplier
Compression connection supplier
Physical layer interfacing details for SCADA, control and monitoring (RS-232,RS-485, RJ45, Fiber, other) Include any and all that apply
Protocol interfacing capabilities for SCADA, control and monitoring (Modbus, DNP3, OPC, other) Include any and all that apply
BESS system control capabilities
Active Power Control (Y/N) |  | x
Voltage Control (Y/N) |  | x
Voltage Droop Control (Y/N) |  | x
Power Factor Control (Y/N) |  | x
Frequency Control (Y/N) |  | x
Reactive Power Production During Zero Real Power Production (Y/N) |  | x
WECC approved Generic model available for BESS representation by manufacturer (Y/N) |  | x
PSCAD model available for BESS representation by manufacturer (Y/N) |  | x
Test functions/capabilities for customer ability to perform Voltage/VAR/PF Step tests per NERC MOD-26 validation requirements within OEM SCADA (Y/N) |  | x
Test functions/capabilities for customer ability to perform Frequency Step tests per NERC MOD-27 validation requirements within OEM SCADA (Y/N) |  | x
Fire suppression system offered
Type of fire suppression system
Manufacturer of fire suppression system
Fire suppression design life (years)
Warranty for fire suppression system (years)
Warranty for battery models (years)
Warranty for inverters (years)
Warranty for BESS including BMS / EMS & PCS (years)
BATTERY PERFORMANCE CURVE
Life expectancy and rated capacity for un-augmented system | MW Capacity - Charge | Max Rate of Charge (CP) | MW Capacity - Discharge | Max Rate of Discharge (CP) | Duration | Average State of Charge | Annual Number of Full Cycles | Depth of Discharge | Operating Temperature - Max | Operating Temperature - Min | Operating Temperature - Average | RTE | Degradation
End of Year 1
End of Year 2
End of Year 3
End of Year 4
End of Year 5
End of Year 6
End of Year 7
End of Year 8
End of Year 9
End of Year 10
End of Year 11
End of Year 12
End of Year 13
End of Year 14
End of Year 15
End of Year 16
End of Year 17
End of Year 18
End of Year 19
End of Year 20
End of Year 21
End of Year 22
End of Year 23
End of Year 24
End of Year 25
End of Year 26
End of Year 27
End of Year 28
End of Year 29
End of Year 30

## PV Modules
PacifiCorp 2022AS RFP | Competed By:
Appendix A-9: Product Data - Equipment Supply Matrix
Page 1: PV Modules
PV Modules (flat-plate)
Attach datasheets
Manufacturer
Model number
PowerMAX rating (watts DC @ STC) - module type I
Number of modules, type I, per site,
PowerMAX rating (watts DC @ STC) - module type II (if applicable)
Number of modules, type II, per site (if applicable)
Number of modules per string
Expected low temperature used for string sizing (°C)
Module output tolerance (+ %)
Module output tolerance (- %)
Efficiency (@ STC) (%)
Maximum system design voltage (VDC)
Module warranty - performance guarantee rating (@ year 1)
Module warranty - performance guarantee rating (@ year 10)
Module warranty - performance guarantee rating (@ year 25)
List any quality & environmental certifications that the proposed module manufacturer has received (e.g. ISO 9001, ISO 140001, or other certifying bodies)
List and attach any outdoor reliability testing, or accelerated long-term testing (beyond IEC standards for modules) that the proposed module has completed (e.g., TŰV Long-Term Sequential Testing, Thresher Test, or other reliability program)
List and attach module manufacturer bankability reports
List and attach module .PAN file

## Mounting
PacifiCorp 2022AS RFP | Competed By:
Appendix A-9: Product Data - Equipment Supply Matrix
Page 2: Mounting
Mounting
Attach datasheets
Manufacturer
Model number
Fixed tilt, single-axis tracking, or dual-axis tracking?
# of MW deployed in the USA with proposed racking/tracking system
Proposed module orientation (landscape, portrait)
Proposed module layout (# modules wide X # modules high)
Tilt angle (if fixed)
Azimuth
Pitch (row spacing)
Row width
Row length
Max/min rotation (if tracking)
Ground coverage ratio
Maximum allowable wind design speed for racking structure
If tracking :
Stow wind speed
Wind stow required to meet design wind speed?
Type and # of control systems used and sources of information source for tracking (e.g. GPS, Sun Sensor, tilt sensor, inclinometer, equation of time, etc.)
Power consumption requirements for motor controller (estimated daily kWh)

## Inverter
PacifiCorp 2022AS RFP | Competed By:
Appendix A-9: Product Data - Equipment Supply Matrix
Page 3: Inverters
Inverters |  | Go/No-go
Attach datasheets
Manufacturer
Model number
Rating (maximum continuous AC output) | kW
V
Number of Inverters
Certification listing if applicable (e.g. UL 1741, ETL or other) | Y/N
NEMA rating and enclosure details
Proposed DC:AC design ratio for site
Maximum DC input voltage
Total harmonic distortion | %
Power factor at full power rating
Efficiency at full power rating | %
Total installed capacity of the selected inverter (US and world wide) | kW
Describe List any quality & environmental certifications that the proposed inverter's manufacturing facility has received (e.g. ISO 9001, ISO 140001, or other certifying bodies)
List and attach inverter manufacturer bankability reports
List and attach inverter .OND file
Physical layer interfacing details for SCADA, control and monitoring (RS-232,RS-485, RJ45, Fiber, other) Include any and all that apply
Protocol interfacing capabilities for SCADA, control and monitoring (Modbus, DNP3, OPC, other) Include any and all that apply
Inverter system control capabilities:
Active Power Control | Y/N | x
Voltage Control | Y/N | x
Voltage Droop Control | Y/N | x
Power Factor Control | Y/N | x
Frequency Control | Y/N | x
Reactive Power Production During Zero Real Power Production | Y/N | x
WECC approved Generic model available for Inverter representation by manufacturer | Y/N | x
PSCAD model available for Inverter representation by manufacturer | Y/N | x
Test functions/capabilities for customer ability to perform Voltage/VAR/PF Step tests per NERC MOD-26 validation requirements within OEM SCADA | Y/N | x
Test functions/capabilities for customer ability to perform Frequency Step tests per NERC MOD-27 validation requirements within OEM SCADA | Y/N | x

## Transformers
PacifiCorp 2022AS RFP |  | Competed By:
Appendix A-9: Product Data - Equipment Supply Matrix
Page 4: Transformers
Step-Up Transformers
Attach datasheets including efficiency curve and loss curve
1 | Manufacturer & Model #
2 | Rating |  | kVA
3 | Impedance
7 | Primary voltage |  | Volts
8 | Secondary voltage |  | Volts
9 | Winding insulation ratings |  | o C rise over
10 |  |  | o C average ambient
11 | Includes fused disconnect switch on high voltage side |  | Y/N
12 | Type (check one) |  | Dry-type
13 |  |  | Less-flammable oil insulating fluid
14 | Accessories included (check all that apply): |  | Liquid level gauge
15 |  |  | Pressure/vacuum gauage
16 |  |  | dial-type thermoment with SPDT alarm contacts
17 |  |  | Pressure relief valve
18 |  |  | Drain valve with sampler

## Switchgear
PacifiCorp 2022AS RFP |  | Competed By:
Appendix A-9: Product Data - Equipment Supply Matrix
Page 5: Switchgear
Switchgear
Attach datasheets
1 | Manufacturer
2 | Ratings |  | kV
A
k AIC
kV BIL minimum
Phase
3 | Description of metering components
4 | Relay Manufacturer (if applicable)

## Wiring & Comb Boxes
PacifiCorp 2022AS RFP | Competed By:
Appendix A-9: Product Data - Equipment Supply Matrix
Page 6: Wiring and Combiner Boxes
DC Combiner Boxes
Attach datasheets
Manufacturer
Model number
Rating (Maximum DC input - voltage, current) | V
A
Certifications
NEMA rating
Number of circuits per combiner box
Combiner box material (painted steel, fiberglass, stainless steel)
Number of smart (string level monitoring) combiner boxes proposed?
Disconnect type
Features: Lightning protection, etc.
DC Wiring - Array to Combiner Box
Attach datasheets
Manufacturer
Type
DC wiring voltage insulation design capability (600V, 1000V or higher)
DC Wiring - Combiner Box to Inverter
Attach datasheets
Manufacturer
Type
DC wiring voltage insulation design capability (600V, 1000V or higher)