## Asset Template - Points
UtilityID | AssetType | AssetAGUG | AssetID | UniqueID | HFTDClass | LastInspectionDate | LastMaintenanceDate | InstallationDate | EstimatedAge | ExemptionStatus | MaintenancePrioritization | IgnitionProbability | FailureProbability | AssetLatitude | AssetLongitude | FeatureClass
PG&E | Substation | Aboveground | 12039 | PG&E_Substation_12039 | Tier 2 | 2019-12-01 | 2019-01-01 | 2010-01-01 | 10 | Not exempt | 0.6 | 0.08 | 0.05 | 38.5804 | -121.4818 | Point
PG&E | Pole | Aboveground | P1223 | PG&E_Pole_P1223 | Tier 2 | 2018-02-01 | 2017-05-11 | 2015-05-12 | 5 | Exempt | 0.01 | 0.01 | 0.01 | 37.7695 | -122.486 | Point
PG&E | Pole | Aboveground | P1224 | PG&E_Pole_P1224 | Outside | 2018-02-02 | 2017-05-10 | 2015-05-13 | 5 | Exempt | 0.01 | 0.01 | 0.01 | 37.7798 | -122.5119 | Point

## Asset Data Dictionary - Points
Asset Spatial File | Category | Field Name Shapefile | Field Name Long Form | Field Description | Field Type | Priority
Points | Unique Identifier | UtilityID | UtilityID | A standardized identification name of the utility - ["PG&E", "SDG&E", "SCE"] | String | Highest
Points | Unique Identifier | AssetType | AssetType | Type of point asset - ["Substation", "Weather station", "Capacitor bank", "Conductor", "Pole"] | String | Highest
Points | Unique Identifier | AssetAGUG | AssetAGUG | Whether the asset is aboveground, or underground - ["Aboveground", "Underground"] | String | Highest
Points | Unique Identifier | AssetID | AssetID | The Unique ID for that specific point asset - should be traceable stable ID within that specific asset class | String | Highest
Points | Unique Identifier | UniqueID | UniqueID | An underscore delimited, concatenation of "UtilityID"+"_"+"AssetType"+"_"+"AssetID" - should be unique to this dataset | String | Highest
Points | Unique Identifier | HFTDClass | HFTDClass | The highest threat category the event includes - ["Zone 1", "Tier 2", "Tier 3", "Outside"] | String | Highest
Points | Asset Status and Risk | LastInspec | LastInspectionDate | The date of the last inspection, in isodate format: "YYYY-MM-DD" - https://en.wikipedia.org/wiki/ISO_8601#Calendar_dates | String | High
Points | Asset Status and Risk | LastMaint | LastMaintenanceDate | The date of the last maintenance, in isodate format: "YYYY-MM-DD" - https://en.wikipedia.org/wiki/ISO_8601#Calendar_dates | String | High
Points | Asset Status and Risk | InstalDate | InstallationDate | The date of asset installation, in isodate format: "YYYY-MM-DD" - https://en.wikipedia.org/wiki/ISO_8601#Calendar_dates | String | High
Points | Asset Status and Risk | EstAge | EstimatedAge | The age of the Asset, in years | String | Highest
Points | Asset Status and Risk | ExemptStat | ExemptionStatus | Whether the asset is exempt - ["Exempt", or "Not exempt"] | String | Highest
Points | Asset Status and Risk | MntncePrio | MaintenancePrioritization | Prioritization of maintenance service - by percentile | Float/Decimal | Highest
Points | Asset Status and Risk | IgnitProb | IgnitionProbability | Probability of Ignition, modeled likelihood within 1 year | Float/Decimal | Highest
Points | Asset Status and Risk | FailProp | FailureProbability | Probability of Failure, modeled likelihood within 1 year | Float/Decimal | Highest
Points | Location | AssetLat | AssetLatitude | Latitude Coordinate of Asset - in decimal degrees | Float/Decimal | Highest
Points | Location | AssetLon | AssetLongitude | Longitude Coordinate of Asset - in decimal degrees | Float/Decimal | Highest
Points | Spatial Mapping |  | FeatureClass | Point FeatureClass representing the coordinate pair of AssetLatitude and AssetLongitude | Point | Highest

## Asset Template - Lines
UtilityID | AssetType | AssetAGUG | AssetID | UniqueID | HFTDClass | LastInspectionDate | LastMaintenanceDate | InstallationDate | EstimatedAge | ExemptionStatus | MaintenancePrioritization | IgnitionProbability | FailureProbability | FeatureClass
PG&E | Transmission line | Aboveground | 10043 | PG&E_Transmission_line_10043 | Outside | 2019-12-01 | 2019-01-01 | 2010-01-01 | 10 | Not exempt | 0.6 | 0.08 | 0.05 | Line
PG&E | Distribution line | Underground | D123 | PG&E_Distribution_line_D123 | Tier 2 | 2018-02-01 | 2017-05-11 | 2015-05-12 | 5 | Exempt | 0.01 | 0.01 | 0.01 | Line
PG&E | Distribution line | Aboveground | D234 | PG&E_Distribution_line_D234 | Outside | 2018-02-02 | 2017-05-10 | 2015-05-13 | 5 | Exempt | 0.6 | 0.01 | 0.01 | Line

## Asset Data Dictionary - Lines
Asset Spatial File | Category | Field Name Shapefile | Field Name Long Form | Field Description | Field Type | Priority
Lines | Unique Identifier | UtilityID | UtilityID | A standardized identification name of the utility - ["PG&E", "SDG&E", "SCE"] | String | Highest
Lines | Unique Identifier | AssetType | AssetType | Type of line asset - ["Distribution lines", "Transmission lines"] | String | Highest
Lines | Unique Identifier | AssetAGUG | AssetAGUG | Whether the asset is aboveground, or underground - ["Aboveground", "Underground"] | String | Highest
Lines | Unique Identifier | AssetID | AssetID | The Unique ID for that specific line asset - should be traceable stable ID within that specific asset class | String | Highest
Lines | Unique Identifier | UniqueID | UniqueID | An underscore delimited, concatenation of "UtilityID"+"_"+"AssetType"+"_"+"AssetID" - should be unique to this dataset | String | Highest
Lines | Unique Identifier | HFTDClass | HFTDClass | The highest threat category the event includes - ["Zone 1", "Tier 2", "Tier 3", "Outside"] | String | Highest
Lines | Asset Status and Risk | LastInspec | LastInspectionDate | The date of the last inspection, in isodate format: "YYYY-MM-DD" - https://en.wikipedia.org/wiki/ISO_8601#Calendar_dates | String | High
Lines | Asset Status and Risk | LastMaint | LastMaintenanceDate | The date of the last maintenance, in isodate format: "YYYY-MM-DD" - https://en.wikipedia.org/wiki/ISO_8601#Calendar_dates | String | High
Lines | Asset Status and Risk | InstalDate | InstallationDate | The date of asset installation, in isodate format: "YYYY-MM-DD" - https://en.wikipedia.org/wiki/ISO_8601#Calendar_dates | String | High
Lines | Asset Status and Risk | EstAge | EstimatedAge | The age of the Asset, in years | Integer | Highest
Lines | Asset Status and Risk | ExemptStat | ExemptionStatus | Whether the asset is exempt - ["Exempt", or "Not exempt"] | String | Highest
Lines | Asset Status and Risk | MntncePrio | MaintenancePrioritization | Prioritization of maintenance service - by percentile | Float/Decimal | Highest
Lines | Asset Status and Risk | IgnitProb | IgnitionProbability | Probability of Ignition, modeled likelihood within 1 year | Float/Decimal | Highest
Lines | Asset Status and Risk | FailProp | FailureProbability | Probability of Failure, modeled likelihood within 1 year | Float/Decimal | Highest
Lines | Spatial Mapping |  | FeatureClass | Line FeatureClass representing the geometry of the line asset | Line | Highest