1. Within PC’s 2021 WMP Update, there are multiple instances of unfinished sentences and/or sentences lacking a final punctuation mark. For each of the following, please provide the remainder of the sentence, paragraph, and/or section.
2. **“Additional elements of this annual training, which include a focus on wildfire mitigation and continuous improvement, are included in 7.3.4.14”** (from Section 5.4.3 Target Role: Asset Inspections, WMP p. 101)
3. **“To ensure a complete data set could be provided, the 2019 values were submitted for all years 2015-2018”** (from Section 6.8.1 Current Baseline State of Service Territory and Utility Equipment, WMP p. 111)
4. **“Currently, the scope of this program includes 68 projects throughout the HFTD over four years, with completion of”** (from Section 7.3.3.9 Installation of System Automation Equipment, WMP p. 136)
5. **“In the event of a wildfire emergency, PacifiCorp may suspend disconnection for non-payment and associated fees, and eliminate reporting to credit reporting agencies or any collection services for unpaid”** (from Section 7.3.9.3 Customer Support in Emergencies, WMP p. 182)
6. **“In 2021,”** (from Section 7.3.10.1 Community Engagement, WMP p. 187)
7. **“Regional business managers are the primary contact for local leadership and critical customers in their area of responsibility”** (from Section 7.3.10.3 Cooperation with Suppression Agencies, WMP p. 192)
8. The table below summarizes PacifiCorp’s covered conductor installation for 2020 actual, 2021 planned, and 2022 planned.

|  |  |  |  |
| --- | --- | --- | --- |
| Year | Total Cost (Millions) | Miles Treated | Cost per mile (Millions) |
| 2020 Actual | $4.3M | 1.4 miles | $3.07M |
| 2021 Planned | $15M | 81.2 miles | $.185M |
| 2022 Planned | $11.6M | 50 miles | $.2M |

1. PacifiCorp shall provide the reason for the drastic decrease of covered conductor installation cost per mile from 2020 to 2021.
2. PacifiCorp’s planned covered conductor installation cost for 2021 and 2022 is approximately $200k per mile, which is significantly less compared to the large IOUs. PacifiCorp shall breakdown the cost of covered conductor installation as granularly as possible and present the findings in a table format.