In response 4, sub-part 2 of “PacifiCorp Data Request\_27apr2021\_Response”, PacifiCorp provided a representative material quantity list titled “5.3.21 Question 4.2.xlsx” for a 2.5-mile covered conductor project. However, the utility failed to report the cost per individual material.

1. PacifiCorp shall revise the representative material quantity list to include a range of cost per individual material.