## Sheet1
A. Item Index [For CPUC tracking purposes. Please reference this item index with the response provided.] | B. Request Type | C. Relevant section of WMP (if applicable) | D. Relevant question in Maturity Survey (if applicable) | E. Relevant meeting or call (if applicable) | F. Specific Data request | PacifiCorp Response
PC-43895-E-396 | Request for additional specificity or clarification regarding information submitted in WMP or maturity survey | 5.3.9 Emergency Planning and Preparedness | NA | NA | “As part of these events, individuals identified with primary or secondary responsibility within the command center structure complete an annual review of the overall disaster response and recovery plan. These individuals are required to contribute to post-crisis and emergency reporting, outlining any issues or concerns regarding their role and responsibilities”. (p304-5 & 307) Describe how PacifiCorp accesses the success of these annual trainings specifically has the annual refresher training deemed adequate? | Training requirements are identified through the Remedial Action Program which identifies areas for improvement after any incident or event which requires a response. Surveys are provided to all participants and plans are revised or developed based on input from the surveys.
PC-43895-E-397 | Request for additional specificity or clarification regarding information submitted in WMP or maturity survey | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide the number of emergency planning meetings and trainings PacifiCorp attends, include community based organizational meetings. | PacifiCorp regularly attends several meetings annually, such as: Annual or as needed county emergency managers meetings, public outreach meetings in local areas, semi-annual regional mutual assistance meetings along with meetings at the Public Utilities Commission and other trainings. Although the number of meetings vary annually the minimum PacifiCorp would expect to attend in a year within the California service territory is six. This number is normally higher.
PC-43895-E-398 | Request for additional specificity or clarification regarding information submitted in WMP or maturity survey | 5.3.9 Emergency Planning and Preparedness | NA | NA | Detail an example where PacifiCorp has incorporated “existing customer service processes and local leaders:” feedback in the 2020 WMP 2020 California Wildfire Mitigation Plan. | PacifiCorp references “leveraging existing customer service processes and local leaders to capture feedback and improve communications, including the accessibility and content of the company’s website” in both Section 5.3.9.2 and Section 5.3.9.2 to address PacifiCorp’s plans regarding community outreach, public awareness, and communication efforts and customer support in emergencies respectively. PacifiCorp leverages these existing customer service processes and local leaders to capture feedback and improve communications, including the accessibility and content of the company’s website as a method to improve the dissemination of timely, accurate, accessible, and actionable information as a part of the company’s incident management system. Specific examples of this include: - Incorporation of feedback from local leaders such as city and county planning members, into the development and design of PSPS zones as well as elements of the company’s PSPS plans to ensure PSPS communication is effective and that local communities are properly informed; - Engagement with local community leaders to evaluate the priority for covered conductor installation, specifically as it related to staging portions of the proactive de-energization zones; - Changes and improvements to website material as a result of feedback from town hall meetings and Regional Business Managers who maintain company relationships with local government jurisdictions and community organizations and are the primary contact for local leadership and critical customers in their area of responsibility, which applies to all of PacifiCorp’s service territory in CA; and - Incorporation of existing outage communication tools into wildfire emergency planning. These existing tools and processes are currently used to identify and communicate not only outages but major events or storms to customers and the public including location of potential outages and restoration efforts.
PC-43895-E-399 | Request for additional specificity or clarification regarding information submitted in WMP or maturity survey | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide an updated Table 29 which contains the missing column heading titled “Total per initiative spend”. | Table 29 has been updated.
PC-43895-E-400 | Request for additional specificity or clarification regarding information submitted in WMP or maturity survey | 5.3.9 Emergency Planning and Preparedness | NA | NA | Provide additional details on “information provided to customers regarding wildfire prevention and response to customers” (page 300). Specify topics addressed. For example, if PacifiCorp address wildfire resilience and awareness with their customers? | Pacific Power's website has dedicated webpage assisting customers with wildfire safety. The web page offers information on how the company is mitigating wildfire risks, how customers can make their homes more fire resilient, how to create an emergency plan, information on public safety power shut off customer communications, how to update contact information, identification of deactivation zones in our service territory, and links to other resources within the community to assist with emergency preparedness and awareness. Please see link: https://www.pacificpower.net/outages-safety/wildfire-safety.html Pacific Power also provides handouts to customers at community events. See Attachment PC-43895-E-400 for an example.