## Table 25
CA 2020 WMP
Section | 5.3.5 | Detailed WMP programs
Table | 25 | Vegetation management and inspections
| Initiative activity | year | Line miles to be treated | Spend/treated line mile | Ignition probability drivers targeted | Risk reduction | risk-spend efficiency | Other risk drivers addressed | Existing/new | Existing: What proceeding has reviewed program | If new: Memorandum account | In/exceeding compliance with regulations | Cite associated rule | Comments
| 1. Additional efforts to manage community and environmental impacts | 2019 plan | While collaboration such as this is critical to the overall reduction of wildfire risk in the state of CA, PacifiCorp, at this time, does not have a specific program dedicated to this effort. Instead, these efforts are on an as-needed basis and incorporate additional efforts to manage community environments within other programs, such as those included in Section 5.3.9 and Section 5.3.10.
2019 actual
2020
2021
2022
2020-2022 plan total
| 2. Detailed inspection of vegetation around distribution electric lines and equipment | 2019 plan | N/A | N/A | Contact from object | N/A | N/A | Reduces escalation should an ignition event occur through removal of fuel | Existing | 2018 GRC & 2019 WMP | N/A | In Compliance with Regulation | GO95 | Program incorporated new requirements in 2019
|  | 2019 actual | 825 | 1984.5567
|  | 2020 | 825 | 1724.5964
|  | 2021 | 825 | 1724.5964
|  | 2022 | 825 | 1724.5964
|  | 2020-2022 plan total | 2475 | 1724.5964
| 3. Detailed inspection of vegetation around transmission electric lines and equipment | 2019 plan | N/A | N/A | Contact from object | N/A | N/A | Reduces escalation should an ignition event occur through removal of fuel | Existing | 2018 GRC & 2019 WMP | N/A | In Compliance with Regulation | GO95 | Program incorporated new requirements in 2019
|  | 2019 actual | 345 | 3338.71
|  | 2020 | 345 | 2098.2522
|  | 2021 | 345 | 2098.2522
|  | 2022 | 345 | 2098.2522
|  | 2020-2022 plan total | 1035 | 2098.2522
| 4. Emergency response vegetation management due to red flag warning or other urgent conditions | 2019 plan | As these vegetation management specific components are critical to the success of PacifiCorp’s emergency response programs and grid operations and protocols, the emergency response vegetation management due to red flag warning or other urgent conditions is a subset and component of both the company’s general emergency response plans and the company’s grid operations and protocols wildfire mitigation program focused on personnel work procedures and training conditions of elevation fire risk. Therefore, PacifiCorp does not at this time have a specific vegetation management and inspections wildfire mitigation program focused on Emergency response vegetation management due to red flag warning or other urgent conditions. See Section 5.3.6.3 and Section 5.3.9.
2019 actual
2020
2021
2022
2020-2022 plan total
| 5. Fuel management and reduction of "slash: from vegetation management activities | 2019 plan | While critical to the success of PacifiCorp’s overall vegetation management and inspections wildfire mitigation strategy, the Fuel management and reduction of “slash” from vegetation management activities is a component of the company’s vegetation management to achieve clearances around electric lines and equipment. See Section 5.3.5.20.
2019 actual
2020
2021
2022
2020-2022 plan total
| 6. Improvement of inspections | 2019 plan | N/A - Elements already captured in other relevant programs | N/A - Elements already captured in other relevant programs | Contact from object | N/A | N/A | Reduces escalation should an ignition event occur through removal of fuel | Existing | 2018 GRC & 2019 WMP | N/A | In Compliance with Regulation | GO95 | Program incorporated new requirements in 2019
2019 actual
2020
2021
2022
2020-2022 plan total
| 7. LiDAR inspections of vegetation around distribution electric lines and equipment | 2019 plan | PacifiCorp does not have a specific vegetation management and inspections wildfire mitigation program focused on LiDAR inspections of vegetation around distribution electric lines and equipment. Instead, PacifiCorp incorporates, as a component, LiDAR inspections of vegetation around distribution lines and equipment in its LiDAR inspections of distribution electric lines and equipment program. See Section 5.3.4.7.
2019 actual
2020
2021
2022
2020-2022 plan total
| 8. LiDAR inspections of transmission electric lines and equipment | 2019 plan | PacifiCorp does not have a specific vegetation management and inspections wildfire mitigation program focused on LiDAR inspections of vegetation around transmission electric lines and equipment. Instead, PacifiCorp incorporates, as a component, LiDAR inspections of vegetation around transmission lines and equipment in its LiDAR inspections of transmission electric lines and equipment program. See Section 5.3.4.8.
2019 actual
2020
2021
2022
2020-2022 plan total
| 9. Other discretionary inspection of vegetation around distribution electric lines and equipment, beyond inspections mandated by rules and regulations | 2019 plan | At this time, PacifiCorp does not have any other discretionary inspection of vegetation around transmission electric lines and equipment, beyond inspections mandated by rules and regulations, and other described programs.
2019 actual
2020
2021
2022
2020-2022 plan total
| 10. Other discretionary inspection of vegetation around transmission electric lines and equipment, beyond inspections mandated by rules and regulations | 2019 plan | At this time, PacifiCorp does not have any other discretionary inspection of vegetation around transmission electric lines and equipment, beyond inspections mandated by rules and regulations, and other described programs.
2019 actual
2020
2021
2022
2020-2022 plan total
| 11. Patrol inspections of vegetation around transmission electric lines and equipment | 2019 plan | PacifiCorp’s description of patrol inspections of vegetation around distribution electric lines and equipment is included in the company’s description of detailed inspections of vegetation around distribution lines and equipment. See Section 5.3.5.2
2019 actual
2020
2021
2022
2020-2022 plan total
| 12. Patrol inspections of vegetation around transmission electric lines and equipment | 2019 plan | PacifiCorp’s description of patrol inspections of vegetation around transmission electric lines and equipment is included in the company’s description of detailed inspections of vegetation around transmission lines and equipment. See Section 5.3.5.3
2019 actual
2020
2021
2022
2020-2022 plan total
| 13. Quality assurance/ quality control of inspections | 2019 plan | N/A - Elements already captured in other relevant programs | N/A - Elements already captured in other relevant programs | Contact from object | N/A | N/A | Reduces escalation should an ignition event occur through removal of fuel | Existing | N/A | N/A | N/A | N/A | General program and best practices applied to an accounted for in other relevant programs
2019 actual
2020
2021
2022
2020-2022 plan total
| 14. Recruiting and training of vegetation management personnel | 2019 plan | PacifiCorp’s general approach to recruiting and training of vegetation management personnel can be found in chapter 1 of the company’s Transmission and Distribution Vegetation Management Program Standard Operating Procedures manual. In general, PacifiCorp takes advantage of training that is provided by the company and arboriculture industry and issues materials as needed, such as a High Risk Tree Identification presentation created in 2019 to educate inspectors on proper identification of defective trees that have the potential to strike the facilities. PacifiCorp at this time does not have a vegetation management and inspections wildfire mitigation program focused on recruiting and training of vegetation management personnel.
2019 actual
2020
2021
2022
2020-2022 plan total
| 15. Remediation of at-risk species | 2019 plan | Remediation of at-risk species is a subset to the company’s vegetation management to achieve clearances around electric lines and equipment program as it contains, as an element, the company’s practices procedures, and funding to remediate at-risk species. See Section 5.3.5.18.
2019 actual
2020
2021
2022
2020-2022 plan total
| 16. Removal and remediation of trees with strike potential to electric lines and equipment | 2019 plan | Removal and remediation of trees with strike potential to electric lines and equipment is a subset to the company’s vegetation management to achieve clearances around electric lines and equipment program as it contains, as an element, the company’s practices procedures, and funding to remove and remediate trees with strike potential to electric lines and equipment. See Section 5.3.5.18.
2019 actual
2020
2021
2022
2020-2022 plan total
| 17. Substation vegetation inspections | 2019 plan | PacifiCorp’s vegetation detailed inspection and correction program included in Sections 5.3.5.2 and 5.3.5.3, discretionary inspection included in 5.3.5.9, and overall management activities to achieve proper clearances in Section 5.3.5.20, include work in and around substations. Therefore, PacifiCorp does not have a specific vegetation management and inspections program focused on substation inspection. See Sections 5.3.5.2, 5.3.5.3, 5.3.5.9, and 5.3.5.20.
2019 actual
2020
2021
2022
2020-2022 plan total
| 18. Substation vegetation management | 2019 plan | PacifiCorp’s vegetation detailed inspection and correction program included in Sections 5.3.5.2 and 5.3.5.3, discretionary inspection included in 5.3.5.9, and overall management activities to achieve proper clearances in Section 5.3.5.20, include work in and around substations. Therefore, PacifiCorp does not have a specific vegetation management and inspections program focused on substation inspection. See Sections 5.3.5.2, 5.3.5.3, 5.3.5.9, and 5.3.5.20.
2019 actual
2020
2021
2022
2020-2022 plan total
| 19. Vegetation inventory system | 2019 plan | PacifiCorp recognizes the importance and value of creating and maintaining a vegetation inventory system. Such a system can help to assess risk, customize vegetation management programs, and optimize task assignment and execution. PacifiCorp does not have a defined vegetation inventory system program at this time. However, the company is currently evaluating required steps, funding, and technology requirements to develop, implement, and incorporate a new tree density inventory system targeted initially within the HFTD to inform risk assessment and prioritization of efforts. PacifiCorp is prioritizing this task, intends to evaluate in 2019, and provide an update and further program details in the next annual update.
2019 actual
2020
2021
2022
2020-2022 plan total
| 20. Vegetation management to achieve clearances around electric lines and equipment | 2019 plan | N/A | N/A | Contact from object | N/A | N/A | Reduces escalation should an ignition event occur through removal of fuel | Existing | 2018 GRC & 2019 WMP | N/A | In Compliance with Regulation | GO95 | Program incorporated new requirements in 2019
|  | 2019 actual | 3195 | 1195.9004
|  | 2020 | 3195 | 1029.4138
|  | 2021 | 3195 | 1029.4138
|  | 2022 | 3195 | 1029.4138
|  | 2020-2022 plan total | 9585 | 1029.4138
| 16.Other/not listed - Radial Pole Clearing | 2019 plan | N/A | N/A | All Types of Equipment/Facility Failure | N/A | N/A | Reduces escalation should an ignition event occur through removal of fuel | Existing | 2018 GRC & 2019 WMP | N/A | In Compliance with Regulation | GO95 | Similar to substation inspections, units are reported on a per pole basis
|  | 2019 actual | 14132 | 125.2579
|  | 2020 | 15060 | 117.5394
|  | 2021 | 15060 | 117.5394
|  | 2022 | 15060 | 117.5394
|  | 2020-2022 plan total | 45180 | 117.5394