**CalAdvocates Data Request 4.1**

According to PacifiCorp’s “2025\_WMP\_Update\_EFR\_Outage\_Summary\_2023\_Data.xlsx,” the following circuits had 10 or more outages in 2023:

* 5G83
* 6G25
* 5G79
* 5G21
* 4G1

For each of these circuits, please provide an explanation of the high frequency of outages.

**Response to CalAdvocates Data Request 4.1**

These circuits experienced a high frequency of outages due to Elevated Fire Risk (EFR) settings and being placed in tagged position for Wildfire Mitigation Plan Grid Hardening projects.