**CalAdvocates Data Request 5.1**

Please provide a description of PacifiCorp’s review process for EFR settings after an EFR outage. Please include at the minimum:

(1) How long after an EFR outage the review takes place.

(2) Whether PacifiCorp checks if customer load caused the EFR settings to trip.

**Response to CalAdvocates Data Request 5.1**

1. PacifiCorp reviews elevated fire risk (EFR) outages based on specific causes that could result in higher wildfire risk or reliability impacts if not addressed. For example, if a specific protective device has a high number of operations or a suspected mis-operation, it would be reviewed to determine the root cause so that it can be addressed. The time required for these reviews varies based on the necessary data and information required to complete the review. In most instances, the review of an EFR outage may be completed immediately or up to two weeks depending on the urgency. Note: some reviews may take longer due to complexity.
2. Yes. PacifiCorp checks if customer load caused the EFR settings to trip.