**CalAdvocates Data Request 5.2**

For PacifiCorp’s substation circuit breakers that operate at primary distribution voltages (less than 35 kV nominal) in California, please provide:

1. The number of circuit breakers that have only electromechanical relays.
2. The percentage of circuit breakers that have only electromechanical relays.

**Response to CalAdvocates Data Request 5.2**

1. 11.
2. 14 percent.