**OEIS Data Request 1.5**

**Initiative additions in the 2023-2025 Base WMP Redline:**

1. In the paragraph above the unnamed table on pp. 136-141 of its 2023-2025 Base WMP Redline, PacifiCorp states, “Additional mitigation measures have been added to the table to reflect the full suite of mitigations Pacific Power may consider”.

For each redlined initiative, indicate if the initiative is currently implemented, new, being considered, pilot, etc.

* 1. If not yet implemented (e.g., new, being considered, pilot, etc.), provide:

		1. A potential implementation date.
		2. Why PacifiCorp added the potential initiative to the table at this time.
1. If a redlined initiative if currently implemented, indicate why said initiative was not in PacifiCorp’s 2023-2025 Base WMP.
2. Under what allowable 2025 WMP Update is each redlined initiative in the table being updated?

**Response to OEIS Data Request 1.5**

1. Please refer to Attachment OEIS 1.5 which provides a summary of the initiatives added and their status:
	1. Please refer to the Company’s responses below:

		1. GH-12, Microgrids: As discussed on page 161, the feasibility studies will be undertaken in 2024 and 2025. No implementation dates have been contemplated for initiatives not being done at this time.
		2. Initiatives were added to the table in the interest of completeness and alignment with other filings such as the Quarterly Data Report (QDR).
2. As referenced in Attachment OEIS 1.5 at the applicable page, initiatives were in the 2023-2025 Base Wildfire Mitigation Plan (WMP), it was an oversight that they were omitted from the table.
3. None specifically identified. As noted in the Company’s response to subpart (a) above, initiatives underway were included the 2023-2025 Base WMP, it was an oversight that they were omitted from the table. As discussed in the Company’s response to subpart (a)(i)(2) above, initiatives not currently being done were added to the table in the interest of completeness and alignment with other filings such as the QDR.