OEIS Data Request 9.1

Regarding changes in Maturity Survey responses between 2023 and 2024 surveys –

Section 1.1 Statistical Weather, Climate, and Wildfire Modeling

- In its 2023 survey responses to questions 1.1.2 Q9 and 1.1.2 Q10, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same questions, PacifiCorp responded “No” for 2025.

  - Explain why PacifiCorp changed its responses to these questions from “Yes” in the 2023 survey to “No” in the 2024 survey.

  - List the outputs and inputs of the weather, climate, and wildfire models currently used by PacifiCorp.

- In its 2023 survey responses to questions 1.1.3 Q1, 1.1.3 Q2, 1.1.3 Q3, 1.1.3 Q4 and 1.1.3 Q5, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same questions, PacifiCorp responded “No” for 2025.

  - Explain why PacifiCorp changed each of its responses to these questions from “Yes” in the 2023 survey to “No” in the 2024 survey.

  - Does PacifiCorp have or plan to create a database to house version-controlled risk model outputs provided by its third-party vendor?

    - Discuss why or why not.

    - If it does plan to create a database to house version-controlled risk model outputs provided by its third-party vendor, provide an estimated completion date for creating the database.

  - Does PacifiCorp provide any model inputs to its third-party vendor’s risk model(s)?

  - Is PacifiCorp informed of model inputs used in its third-party vendor’s risk model(s)?

    - If PacifiCorp is not informed of model inputs in its third-party vendor risk models, will the information be provided upon PacifiCorp’s request?

- In its 2023 survey responses to questions 1.1.4 Q1, 1.1.4 Q2, and 1.1.4 Q4, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same questions, PacifiCorp responded “No” for 2025.

  - Explain why PacifiCorp changed each of its responses to these questions from “Yes” in the 2023 survey to “No” in the 2024 survey.

- In its 2023 survey responses to questions 1.1.5 Q8 and 1.1.5 Q9, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same questions, PacifiCorp responded “No” for 2025.

  - Explain why PacifiCorp changed each of its responses to these questions from

“Yes” in the 2023 survey to “No” in the 2024 survey.

- In its 2023 survey responses to questions 1.1.7 Q7, and 1.1.7 Q8, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same questions, PacifiCorp responded “No” for 2025.

  - Explain why PacifiCorp changed each of its responses to these questions from “Yes” in the 2023 survey to “No” in the 2024 survey.

  - Explain PacifiCorp’s plan to validate changes to its modeling assumptions?

- In its 2023 survey responses to questions 1.1.8 Q5, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same question, PacifiCorp responded “No” for 2025.

  - Explain why PacifiCorp changed its response to this question from “Yes” in the 2023 survey to “No” in the 2024 survey.

- In its 2023 survey responses to questions 1.1.9 Q1, 1.1.9 Q2, 1.1.9 Q3, and 1.1.9 Q7, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same questions, PacifiCorp responded “No” for 2025.

  - Explain why PacifiCorp changed each of its responses to these questions from “Yes” in the 2023 survey to “No” in the 2024 survey.

- In its 2023 survey responses to questions 1.1.10 Q2, 1.1.10 Q3, 1.1.10 Q5, 1.1.10 Q6,

1.1.10 Q7, 1.1.10 Q8, and 1.1.10 Q9, PacifiCorp responded “Yes” for 2025. In its 2024 responses to the same questions, PacifiCorp responded “No” for 2025.

i.	Explain why PacifiCorp changed each of its responses to these questions from “Yes” in the 2023 survey to “No” in the 2024 survey.

Response to OEIS Data Request 9.1

- Please refer to the Company’s responses to subparts i. and ii. below:

  - 1.1.2 Q9: PacifiCorp’s 2024 response reflects to reflect availability this specific modeling capability in vendor provided product. Responses will be updated with each subsequent maturity survey response as additional capabilities are deployed or otherwise added to vendor product roadmap. 

1.1.2 Q10: PacifiCorp’s 2024 response reflects to reflect availability this specific modeling capability in vendor provided product. Responses will be updated with each subsequent maturity survey response as additional capabilities are deployed or otherwise added to vendor product roadmap.

  - Inputs of the weather, climate, and wildfire models currently used by PacifiCorp are in Table B-5 on pages 394-396 in the Revised 2023-2025 Base Wildfire Mitigation Plan (WMP) – Revision 5 - Clean and presented in the below table:

| Dataset | Spatial Resolution (Meters) | Start of Dataset | Dataset Update Frequency | Source |
| --- | --- | --- | --- | --- |
| Landscape Characteristics |  |  |  |  |
| Terrain | 10 |  | Yearly | United States Geological Survey (USGS) |
| Surface Fuels | 30/10 | 2020 | Pre-Fire Season, Monthly Update in Fire Season, End of Fire Season | Technosylva |
| Wildland Urban Interface (WUI) and Non-Forest Fuels Land Use | 30/10 | 2020 | Twice A Year | Technosylva |
| Canopy Fuels (CBD, CH, CC, CBH) | 30/10 | 2020 | Pre-Fire Season, Monthly Update in Fire Season, End of Fire Season | Technosylva |
| Roads Network | 30 |  | Yearly | USGS |
| Hydrography | 30 |  | Yearly | USGS |
| Croplands | 30 | 1997 | Yearly | USDA |
| Weather And Atmospheric Data |  |  |  |  |
| Wind Speed | 2000 | 1990 | Hourly / 96 Hour Forecast | Atmospheric Data Solutions (ADS) |
| Wind Direction | 2000 | 1990 | Hourly /96 Hour Forecast | ADS |
| Wind Gust | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS |
| Air Temperature | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS |
| Surface Pressure | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS |
| Relative Humidity | 2000 | 1990 | Hourly / 96 Hour Forecast | Technosylva |
| Precipitation | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS |
| Radiation | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS |
| Water Vapor Mixing Ratio 2 meter | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS |
| Snow Accumulated – Observed | 1000 | 2008 | Daily | National Oceanic and Atmospheric Administration (NOAA) |
| Precipitation Accumulated - Observed | 4000 | 2008 | Daily | NOAA |
| Burn Scars | 10 | 2000 | 5 Days | National Aeronautics and Space Administration (NASA)/ European Space Agency (ESA) |
| Weather Observations Data | Points | 1990 | 10 Min | Synoptic |
| Fuel Moisture |  |  |  |  |
| Herbaceous Live Fuel Moisture | 250 | 2000 | Daily / 5-Day Forecast | Technosylva |
| Woody Live Fuel Moisture | 250 | 2000 | Daily / 5-Day Forecast | Technosylva / ADS |
| 1-Hour Dead Fuel Moisture | 2000 | 1990 | Hourly / 124 Hour Forecast | Technosylva / ADS |
| 10-Hour Dead Fuel Moisture | 2000 | 1990 | Hourly / 124 Hour Forecast | Technosylva / ADS |
| 100-Hour Dead Fuel Moisture | 2000 | 1990 | Hourly / 124 Hour Forecast | Technosylva / ADS |
| Values at Risk |  |  |  |  |
| Buildings | Polygon Footprints | 2020-21 | Yearly | Microsoft/Technosylva |
| Damage Inspection (DINS) | Points | 2014-21 | Yearly | Cal Fire |
| Population | 90 | 2019 | Yearly | LANDSCAN, Oak Ridge National Laboratory (ONRL) |
| Roads | Vector Lines | 2021 | Yearly | Caltrans |
| Social Vulnerability | Plexels | 2021 | Yearly | Esri Geoenrichment Service |
| Fire Stations | Points | 2021 | Yearly | Esri, USGS |
| Building Loss Factor | Building Footprints | 2022 | Yearly | Technosylva |
| Critical Facilities | Points | 2021 | Yearly | Fire Resource Assessment Program (FRAP), Cal Fire |
| Potential Ignition Locations |  |  |  |  |
| Distribution & Transmission Lines | Linear Segments | 2022 | Updated Quarterly | PacifiCorp |
| Poles & Equipment | Points | 2022 | Updated Quarterly | PacifiCorp |
| Outage History | Points | 1989 | Annual | PacifiCorp |
| Ignition History | Points | 2020 | Annual | PacifiCorp |
| Fire Activity |  |  |  |  |
| Hotspots MODIS | 1000 | 2000 | Twice A Day | NASA |
| Hotspots VIIRS | 375 | 2014 | Twice A Day | NASA |
| Hotspots GOES 16/17 | 3000 | 2019 | 10 Minute | NASA |
| Fireguard | Polygons | 2020 | 15 Minute | National Guard |
| Fire Season Perimeters | Polygons | 2021 | Daily | National Incident Feature Service (NIFS) |
| Historic Fire Perimeters | Polygons | 1900 | Yearly | Cal Fire |
| Alert Wildfire Cameras | Live Feeds | Real Time | 1 Minute | Alert Wildfire Consortium |
| Lighting Strikes | 1000 | Real Time | 1 Minute | Earth Networks / Others |

Outputs of the models are also shown in Figure B-6 on page 358 of the Revised 2023-2025 Base WMP – Revision 5 – Clean. Figure B-6 is presented below:

- Please refer to the Company’s responses to subparts i. through iv. below:

  - PacifiCorp’s 2024 response reflects use of vendor models not developed or maintained by the electrical corporation and thus subject to vendor managed controls and not directly linked to PacifiCorp systems of record.

  - Yes.

    - This database will be created to maintain version control of risk model outputs provided by the vendor to continue progression along risk modeling maturity milestones.

    - Estimated date of completion is December 31, 2026.

  - Yes. Please refer to the table provided in the Company’s response to subpart (a) ii. above.

  - Yes.

    - Not applicable.

- PacifiCorp’s 2024 responses reflect current state of project planning and program development to meet these maturity survey milestones.

- Upon further review of the related vendor documentation PacifiCorp updated its response to 1.1.5 Q8 and Q9 to more accurately align with the vendor model.

- Please refer to the Company’s responses to subparts i. and ii. below:

  - PacifiCorp’s 2024 response reflects to reflect availability this specific modeling capability in vendor provided product. Responses will be updated with each subsequent maturity survey response as additional capabilities are deployed or otherwise added to vendor product roadmap.

  - PacifiCorp will continue to work with its modeling vendor to review and discuss changes to modeling assumptions as part of future product enhancements or modifications documented in the vendor product roadmap.

- PacifiCorp reinterpreted the question in 2024 and as a practice does not currently make the non-spatial risk data public, but it is available through data request which is why the Company changed its answer.

- PacifiCorp’s 2024 response reflects to reflect availability this specific modeling capability in vendor provided product. Responses will be updated with each subsequent maturity survey response as additional capabilities are deployed or otherwise added to vendor product roadmap.

- The FireSight risk model that PacifiCorp uses is owned and operated by a third-party vendor, who is responsible for validation and version control of the model. As the model is owned by a third party, the source code is proprietary. PacifiCorp updated its response to 1.1.10 Q8 and Q9 based on more current information.